**List of Medical Equipments**

**Lady Hardinge Medical College & Smt. S. K. Hospital New Delhi**

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Sr. No** | **Department** | **Details of Equipment**  | **Date of Purchase** | **Date of Installation** | **Cost**  | **Warrantee & AMC/CMC**  | **AMC/CMC Details**  |
|  | Accident & Emergency | Minor OT Light | 2008 | 30/06/2008 | Euro 11345 | -- | -- |
|  | Accident & Emergency | Portable VentilatorsModel: Elises-150Make: ResmedSupplier: M/s Instromedix India Pvt. Ltd.Qty:  | Received from HSCC in 2009 as Aid | 2009 | Rs. 395641.00 | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC (Per Unit)1st 100002nd 100003rd 100004th 100005th 10000 |
|  | Accident & Emergency  | NIBP monitor with integrated cuff with arms (4) | 28/05/2009 | 09/03/2010 | USD 18400 | 2 Year Warranty 5 Year AMC | -- |
|  | Accident & Emergency  | Bed side monitor central monitoring system ( 5+1 ) | -- | -- | -- | -- | -- |
|  | Accident & Emergency  | Emergency 6270 Trolley Trolley Bed (2) | 22/07/2011 | 09/09/2011 | 730000 | 2 Year Warranty 5 Year AMC | -- |
|  | Accident & Emergency  | Bed side monitor-ZD 120EQty: 5 nos | 112 dated 30.4.13 | 20.8.13 | 102000.00 | Warranty 3 years AMC 7 years | -- |
|  | Accident & Emergency  | NIBP Monitor-PC-900NQty: 5 nos | 20 dated 12.4.14 | 12.6.14 | 104500.00 | Warranty 2 years CMC 5 years | -- |
|  | Accident & Emergency  | Portable Transport VentilatorQty: 10 nos | 128 dated 23.5.14 | 20.6.14 | 344880.00 | Warranty 1 years CMC 5 years | -- |
|  | Accident & Emergency  | Suction machineQty: 1no | 501 dated 12.8.14 | 19.8.14 | 182160.00 | Warranty 5 years AMC 5 years | -- |
|  | Accident & Emergency  | Emergency Patient TrolleyModel : BT-500 Qty-10 | 214 Dated 11/06/2014 | 20/09/2014 | 298000/- Per Unit | Warranty 2 years CMC 5 years | -- |
|  | Accident & Emergency  | Three Channel ECG MachineModel: 6208Make: BPLQty: 01 | 715/15/CMO/SKH/A&E/2015-16/446 Dated: 24/08/2015 | 27/08/2015 | 49000.00 Including VAT as per bill | -- | -- |
|  | Accident & Emergency | Three Channel ECG MachineModel: 6208Make: BPLQty: 01 | Stores/LHMC/A/E/ECG/2016/139 Dated: 19/09/2015 | 20/05/2016 | 47530.00 + 5% VAT | -- | -- |
|  | Accident & Emergency  | Reusable Patient Warming System with Blanket Model: MEWWARM (W-500D), IM 190BMfg: M/s Istanbul Medikat Sti TurkeySupplier: M/s Devyog Impex Pvt. Ltd. Qty: 02 Nos. | No. 32-90/Stores/LHMC/A&E/2017-18/602 Dated : 28/08/2017 | 29/09/2017 | Rs. 580000.00 + Tax(Per Unit) | Warranty: 2 years from the date of installation + 5 years CMC | 5 years CMC (Per Unit)1st 200002nd 200003rd 200004th 200005th 20000 |
|  | Accident & Emergency  | Transport VentilatorModel: Elisee 150Mfg: M/s ResmedSupplier: M/s D. V. EnterprisesQty: 10 Nos. | No. 32-11/Stores/LHMC/A&E/2016-17/656 & 657 Dated : 12/09/2017 | 14/10/2017 | Rs. 579900.00 + Tax(Per Unit) | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC (Per Unit)1st 105002nd 105003rd 105004th 105005th 10500 |
|  | Accident & Emergency | Three Channel ECG MachineModel: 6208Make: BPLQty: 06 | GeM Contract No. [GEMC33000-56](https://gem.gov.in/dashboard/index/viewSummary/99goHHWYEaD3NGAoLnNn2S2tVbPOOd7eSb3p3u1Y7lQ) Dated 10/11/2017 | 06/12/2017 | Rs. 51000.00  | Warranty 1 years | No Provision  |
|  | Accident & Emergency | Aid for Patient TransferModel: Maxi SlideMake: M/s Arjo Huntleigh Singapore Supplier: M/s Kailash Lifesciences Pvt. Ltd.Qty: 10 Nos. | No. 32-16/Stores/LHMC/A&E/2016-17/813: 03/10/2017 | 23/11/2017 | Rs. 58000.00 + Tax(Per Unit) | Warranty: 01 year from the date of installation + 0 years AMC/CMC | AMC/CMC Not Asked for |
|  | Accident & Emergency  | ICU BedsModel: Elegent 9990Make: M/s Monarch Surgical Industries Supplier: M/s D. V. EnterprisesQty: 10 Nos. | No. 32-92/Stores/LHMC/A&E/2017-18/626 Dated : 04/09/2017 | 31/01/2018 | Rs. 295900.00 + Tax(Per Unit) | Warranty: 2 years from the date of installation + 5 years CMC | 5 years CMC (Per Unit)1st 22502nd 22503rd 22504th 22505th 2250 |
|  | Accident & Emergency | [Suction Machine](https://org.gem.gov.in/cart/cart_global/describe_items/226694) (Alsa Apparechhi Medicali Srl)Model | Supersuction 4t ExpMANAV ELECTRONICS 16, Road No 1, Punjabi Bagh Bagh Extension, New Delhi, Delhi - 110026Qty: 10 Nos. | GeM Contract No: GEMC33000-126Contract Date: 15-01-2018 | 31/01/2018 | Rs. 175,000.00 Including Taxes | Warranty 1 years | No Provision  |
|  | Accident & Emergency | Vital Sign MonitorModel: Monet-512Make: Vital Sign MedidevicesSupplier: M/s D.V. EnterprisesQty.: 10 Nos.  | No.32-56/Stores/LHMC/2016-17/1324 dated 22-01-2018 | 20/04/2018 | Rs. 229900/- + GST (Each unit) | Warranty 02 Years | 4 years CMC (Per Unit)1st 20002nd 20003rd 20004th 2000 |
|  | Accident & Emergency | ICU BedsModel: Elegante 9990Make: Monarch Surgical IndustriesSupplier: M/s D.V. EnterprisesQty: 03 Nos. | 32-92/Stores/LHMC/A&E/2017-18/383 Dated 02-07-2018 | 27-10-2018 | Rs. 295900 + GST | Warranty: 2 years from the date of installation + 5 years CMC | 5 years CMC (Per Unit)1st 22502nd 22503rd 22504th 22505th 2250 |
|  | Accident & Emergency | Blood & Infusion WarmerModel: QW618Make: Keewell Medical Technology, ChinaSupplier: M/s D.V. EnterprisesQty: 03 Nos. | 32-242/Stores/LHMC/A&E/2018-19/551 Dated 09-08-2018 | 27-10-2018 | Rs. 119000 + GST | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC (Per Unit)1st 25002nd 25003rd 25004th 25005th 2500 |
|  | Accident & Emergency | Hot Air OvenModel: PSO 451Supplier: M/s Medallia Qty: 02 Nos. | 32-280/Stores/LHMC/2018-19/883 Dated 31-10-2018 | 27-12-2018 | Rs. 97500.00 + GST Per Unit | Warranty: 2 years from the date of installation  | -- |
|  | Accident & Emergency | Breath Analyser with Inbuilt PrinterModel: PT 240 PSupplier: M/s Medallia Qty: 02 Nos. | 31-189/Stores/LHMC/2018/1106 Dated 28-12-2018 | 22-03-2019 | Rs. 99500.00 + GST Per Unit | Warranty: 2 years from the date of installation  | -- |
|  | Anatomy | Microtome (2) | July/2008 | 15/9/08 | 2.77.120/- each | -- | -- |
|  | Anatomy | Deep Freezer, Model: DF- 8517S, Capacity:484 Ltr. Temperature range: -86°CQty: 01 Nos.(Out of 02 units) | Stores/LHMC/13-14/College/Deep Freezer/1040 Dt. 23.12.2013 | Anatomy09/09/2014Microbiology10/06/2014 | US$ 6800.00Per unit | Warranty: 3 years from the date of installation + 5 years AMC  | AMC1st 120002nd 130003rd 140004th 150005th 16000 |
|  | Anatomy | Embalming Machine (Cadaverous Injector)Model: YSI 170 | Stores/LHMC/ Embalming Machine/2014/348 Dated 22/07/2014 | 14/11/2014 | Rs. 65000.00 + VAT Extra | Warranty: 1 years from the date of installation | -- |
|  | Anatomy | Trinocular Advance Research Microscope Model: Ni-U for Bright fieldManf: Nikon Corporation JapanQty: 01 | Stores/LHMC/13-14/College/ Advance Binocular Microscope/298 Dated 02/07/2014 | 27/03/2015 | J. Yen. 1638590.00 (Per Unit) | Warranty: 2 years from the date of installation + 5 years AMC | 5 years AMC1st 200002nd 200003rd 200004th 200005th 20000 |
|  | Anatomy | Embalming Machine (Cadaverous Injector)Model: YSI 170M/s York Scientific Industries Pvt. Ltd.  | Stores/LHMC/ LP/Anatomy/29/6/15/731 Dated 27/11/2015 | \_\_ | Rs. 72000.00 + VAT Extra | Warranty: 1 years from the date of installation+ 5 years ACMC | 5 years ACMC1st 50002nd 50003rd 50004th 50005th 5000 |
|  | Anatomy | Autopsy sawSupplier: M/s Jolly TechnocratsQty: 01 Nos.  | 32-184/Stores/LHMC/2017-18/498 Dated 27-07-2018 | 28-08-2018 | Rs. 87500 + GST extra | Warranty 05 years + 5 years CMC | 5 years CMC1st 25002nd 25003rd 25004th 25005th 2500 |
|  | Anatomy | Tissue Embedding StationModel: TES 500Make: Unimeditrek Supplier: M/s M/s Unimeditrek Pvt. Ltd.Qty: 01 Nos. (Pathology, Anatomy)) | 32-183/Stores/LHMC/2017-18/720 Dated 28-09-2018 | 06-12-2018 | Rs. 5.75.000 + GST extra Per Unit | Warranty 05 years + 5 years CMC | 5 years CMC1st 50002nd 50003rd 50004th 50005th 5000 |
|  | Anesthesia | Anaesthesia Work Station Penlon Prima SP2 (1) | 2007 | 2007 | GBP 19,166/- |  |  |
|  | Anesthesia | Fiberoptic Bronchoscope(Qty 3) | 2005, 2008 | 2005, 2008 | - |  |  |
|  | Anesthesia | Monitor Truescope II (2) | 2008 | 2008 | 1,19,000/- per unit |  |  |
|  | Anesthesia | Anaesthesia Work Station Penlon Prima SP2 (2) | 2009 | 2009 | GBP 21,634.20/- |  |  |
|  | Anesthesia | Patient warming system (4)2 in Main OT2 in C.O. T | 2009 | 2009 | Euro 5,177/- per unit |  |  |
|  | Anesthesia | Monitors Colin BP 608 (1) | 2009 | 2009 | US $25,679/- per unit |  |  |
|  | Anesthesia | Suction Machine Ardo Master 45 (7)2 in ENT3 in ICU1 in main OT1 in COT | 2009 | 2009 | Euro 3375/- per unit |  |  |
|  | Anesthesia | Univent Ventilator | 2009 | 2009 | 5,04,920/- per unit |  |  |
|  | Anesthesia | NIBP monitor with integrated cuffColin BP 203(Qty 1) | 2009 | 2009 | US $ 4600/-Per unit |  |  |
|  | Anesthesia | Infusion Pump (4) | 2010 | 2010 | 46,200/- per unit |  |  |
|  | Anesthesia | Ambumatic Transport Ventilator (ICU) | 2011 | 2011 | 1,55,000/- per unit |  |  |
|  | Anesthesia | Ambumatic Transport Ventilator (O.T.) | 2011 | 2011 | 1,55,000/- per unit |  |  |
|  | Anesthesia | DefibrillatorsJ12C037/038(Qty 2) | 2012 |  |  |  |  |
|  | Anesthesia | O.T. TableModel: OP 1700)05 Nos.  | 2007 | 2007 | Euro 19800 Per Unit  | -- | -- |
|  | Anesthesia | Active Pressure Relieving Mattress (4 Nos.) | 26.06.2012 | -- | 190000.00 Each | -- | -- |
|  | Anesthesia | Horizontal Rectangular High Pressure Steam Sterilizer ISI Marked(2 Nos) | 31.10.2012 | -- | 992000.00 | -- | -- |
|  | Anesthesia | ECG Machine 12 Channel Model Cardio Touch 3000 Make Bionet Korea Qty:01 | 4-26/ECG/ 2012/756 Dated 16/11/2012 | -- | Rs 89500.00 + VAT | Warranty 2 years from the date of installation | -- |
|  | Anesthesia | Model Multi Parameter Monitor with Accessories Model: BENEVIEW-T8 with integrated 17” Colour TFT Screen Display Make: Shenzhen MindrayQty: 04 Nos | 4-26/M.P.Monitor/Stores/2012/753 Dated 16/11/2012 | 02/08/2013 | USD 5994 Per Unit | Warranty: 2 years from the date of installation + 5 years CMC | -- |
|  | Anesthesia | Anesthesia Machine Model Prima SP-2(2 Nos) | 6.8.2009/2010 | -- | GBP 21634 | -- | -- |
|  | Anesthesia | Horizontal cylindrical High Pressure High Speed Steam Sterilizer02 Nos. | 21.10.2009 | 2009 | 687440.00 | -- | -- |
|  | Anesthesia | Mobile OT Light- Meriluz X3 FM operation lampQty: 2 nos. | 113 dated 30.4.13 | 30.9.13 | EURO 6720 | Warranty 3 years from the date of installation. | AMC 5 years |
|  | Anesthesia | Patient warming system(OT)- MedwarmQty\_ 4 nos | Stores/LHMC/13-14/ME/Hosp/Sch75/129 dated 23.5.14 | 19.6.14 | Rs. 381000.00 Per Unit + VAT | Warranty 2 years from the date of installation. | CMC 5 years |
|  | Anesthesia | Operation Theatre Light: Model: Steris Harmony v LED part No(LK06) | 4-26/OT Light/Stores/754 Dt.16.11.2012 | Not receivedApp. March2013 | US$ 22100 | Warranty: 2 years from the date of installation + 5 years CMC  | -- |
|  | Anesthesia | Operation TableModel: Steris Surginox part No.(ST-4080/B 202) | 4-26/OT Table/Stores/755Dt.16.11.2012 | Not receivedApp. March2013 | US$ 15220.00 | Warranty: 2 years from the date of installation + 5 years CMC  | -- |
|  | Anesthesia | Ventilator High End ICU with Accessories Model: Puritan Bennett PB840 ventilator Make: CovidienQty. 2 Nos. | 852Dt.18.12.2012 | 27.11.2013 | USD 38400.00Rs.2520000.00 | Warranty: 2 years from the date of installation + 5 years CMC order | -- |
|  | Anesthesia | Suction Machine Qty-10 Model-Suction Unit Victoria LIPOS 11-1140 | Stores/LHMC/13-14/ME/Hosp/Sch14/515 Dt. 21/08/2014 | 25/09/2014 | 160000/- Per Unit | Warranty: 2 years from the date of installation + 5 years CAMC | -- |
|  | Anesthesia | Laryngoscope LED Rechargeable Model AL1098 Manf. Alvis International Sialkot, PakistanQty: 08 Nos  | Stores/LHMC/13-14/ME/Hosp/Sch57/131 Dated 23/05/2014 | 20/08/2014 | Rs. 29079.00 Per Unit VAT Inclusive  | Warranty: 5 years from the date of installation + 5 years CMC | -- |
|  | Anesthesia | Patient Warming System (ICU)Model MEDW ARMManf. Istanbul Medical Ltd Sti,Qty : 4 Nos | Stores/LHMC/13-14/ME/Hosp/Sch51/372 Dated 30/07/2014 | 25/09/2014 | Rs. 294500.00 + VAT | Warranty: 2 years from the date of installation + 5 years CMC | -- |
|  | Anesthesia | ICU Beds Enterprises 5000X-APManuf. Arjo Huntleiggh Singapur Pvt. LtdQty : 4 Nos. | Stores/LHMC/13-14/ME/Hosp/Sch13/63 dt : 1/5/2014 | 28/10/2014 | GBP 2534 | Warranty: 5 years from the date of installation + 5 years CMC | -- |
|  | Anesthesia | Syringe Infusion PumpsQty 25 Nos | Stores/LHMC/13-14/ME/Hosp/Sch17/502 dt : 13/8/2014 | 14/10/2014 | Rs. 647500+ VAT for Qty 25 Nos | Warranty: 2 years from the date of installation + 5 years CMC | -- |
|  | Anesthesia | High Pressure High Speed Instrument SterilizerModel: Manf. Net Steel Equipments20HS/E/StdQty: 02 Nos. | Stores/LHMC/LT/Steam Sterilizer/23/5/14/774 Dt: 29/10/2014 | 11/02/2015 | Rs. 890300.00 Per unit + VAT | Warranty: 5 years from the date of installation + 5 years CMC | -- |
|  | Anesthesia | Mediana D500 Defibrillator with MonitorQty: 08 (Out of 17) | Stores/LHMC/13-14/ME/Hosp/Sch1/1250 dt : 26/03/2015 | Anaesthesia09/05/2015Gynae09/06/2015Medicine05/05/2015Psychiatry01/05/2015 | Rs. 458600.00 + VAT (Per Unit) | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC1st 102002nd 102003rd 102004th 102005th 10200 |
|  | Anesthesia | Multi Para MonitorModel: MS26679 SHP OEM Vista 120 invas/EtCO2Mgf: M/s Drager Medical GmBH Germany Qty: 08  | Stores/LHMC/13-14/ME/Hosp/Sch-5/1292 dt : 30/03/2015 | 17/03/2016 | EURO 8400 (Per Unit) | Warranty: 2 years from the date of installation + 5 years CMC | 5 years CMC1st EURO 198= Rs. 15749.572nd EURO 198= Rs. 15749.573rd EURO 198= Rs. 15749.574th EURO 198= Rs. 15749.575th EURO 198= Rs. 15749.57 |
|  | Anesthesia | Anesthesia Work Station with Monitor& Ventilator Model: PRIMUS and INFINITY OMEGAS Mgf: M/s Draegerwerk AG &Co KGaA Germany Qty: 05  | 20-6/Stores/LHMC/HLL//Anesthesia/2015/730dt : 27/11/2015 | 17/03/2016 | EURO 33055 (Per Unit) | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC(Per Unit)1st EURO 8252nd EURO 8603rd EURO 9004th EURO 9405th EURO 1000 |
|  | Anesthesia | Flexible Fiberoptic Bronchoscope (Adult)Model: FB-15VMake: Pentex Qty: 02Flexible Fiberoptic Bronchoscope (Paed)Model: FB-10VMake: Pentex Qty: 02 | 25-55/LHMC/Stores/AT/Bronchoscope/2016/968dt : 30/11/2016 | 20/03/2017 | Rs. 567000.0&Rs. 596000.0 + VAT (Per Unit) | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC for each1st 365402nd 426303rd 426304th 487205th 54810 |
|  | Anesthesia | Air Compressor -30 HP (Scroll/Screw)Make: Hitachi Qty: 01 | 4-26/Repair/Medicine/Store/2013-14dt : 04/02/2017 | 23/03/2017 | Rs. 1255000.00+ Tax | Warranty: 2 years from the date of installation + 5 years CMC | 5 years CMC for each10% of Purchase Value in the 1st year with annual increment of 10% |
|  | Anesthesia | ICU VentilatorsModel: Newport E360TMake: Covidien Qty: 04Supplier: M/s Covidien Healthcare India Pvt. Ltd.  | 32-59/Store/LHMC/2016-17/1460dt : 31/03/2017 | 31/03/2017 | Rs. 1125000.0+ VAT (Per Unit) | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC Per Unit1st 377002nd 396003rd 415004th 436005th 45800 |
|  | Anesthesia | High Pressure Noiseless Suction MachineModel: Vaculine MaxiMake: BicakcilarSupplier: M/s Rahul InternationalQty: 02 No.  | 32-1 /Stores/LHMC/Anaesh/2016-17/58 Dated : 20/04/2017 | 23/05/2017 | Rs. 159000.00 + VAT | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC1st 47702nd 47703rd 47704th 47705th 4770 |
|  | Anesthesia | Pulmonary Function Test (PFT) MachineSupplier: M/s Aman Enterprises Qty: 01 No.  | 32-119 /Stores/LHMC/Anaesh/2017-18/711 Dated : 15/09/2017 | 29/09/2017 | Rs. 68500.00 + VAT | Warranty: 1 year from the date of installation  | Not Asked |
|  | Anesthesia | OT TableModel: PSI Legend GS Multipurpose Motorized Surgical Table Make: Palakkad Surgical Industries Pvt. Ltd.Qty: 01 No. Supplier: M/s Jolly Technocrats  | 32-3 /Stores/LHMC/ ENT/2016-17/869 Dated : 09/10/2017 | 16/02/2018 | Rs. 380000.00 + GST | Warranty: 3 years from the date of installation + 5 years CMC | 5 years CMC1st 152002nd 171003rd 190004th 209005th 228006th 427007th 26600 |
|  | Anesthesia | Steam SterilizerModel: AMSCO 250LMake: SterisQty: 02 Nos.Supplier: M/s Steris India Pvt. Ltd. | 20-54/LHMC/Store/AT/Steam Sterilizer/2016/665 Dated: 24/09/2016 | 06/10/2017 |  $ 35150.00 (including Carriage, Insurance & Freight) + Tax (including Cost of Indian Article) (Per unit) | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC1st 400002nd 400003rd 400004th 400005th 40000 |
|  | Anesthesia | Peripheral Nerve StimulatorModel: Multistim SensorMfd: Pajunk GMBH, GermanyQty: 02 Nos.Supplier: M/s Hospimedica International Ltd. | 31-64/Store/SQ/Peripheral Nerve Stimulator/2018/1395 Dated: 16-02-2018 | 07/03/2018 | Rs. 111500.00 + Tax (Per Unit) | Warranty: 01 year | Not asked |
|  | Anesthesia | Penlon McCoy LaryngoscopeMade in UKQty: 03 Nos.Supplier: M/s MGM Associates | 32-138/Stores/LHMC/Anaes/2017-18/1202 Dated 28/12/2017 | 17/04/2018 | Rs. 59000.00 + 12% GST (Per Unit) | Warranty: 01 year | Not asked |
|  | Anesthesia | DVT PumpModel: DVT 2600Mfg: M/s Daesung Maref Co. Ltd. KoreaQty: 06 Nos.Supplier: M/s Devyog Impex Pvt. Ltd. | 32-201/Stores/DVT/2018-19/312 dated 18-06-2018 | 10/08/2018 | Rs. 62000.00 + GST extra (Per unit) | Warranty: 03 year | 2 year CMC1st 3002nd 300 |
|  | Anesthesia | Fluid Warmer Model: FT 2800Make: M/s Keewell Medical Technology Co. Ltd. ChinaQty: 01 Nos.Supplier: M/s Jolly Technocrats | 32-293/Stores/LHMC/Anaes/2018-19/116 dated 06-05-2019 | 20/06/2019 | Rs. 93100.00 + GST extra (Per unit) | Warranty: 05 year | 5 years CMC1st 25982nd 25983rd 25984th 25985th 2598 |
|  | Anesthesia | High Vacuum Noiseless Suction Machine (ALSA) Model | ALSA, MODEL # SUPERSUCTION 4/T EXPQty: 11 Nos. (Common)COT: 3ENT: 5Nursery: 2CB-II: 1Supplier: M/s Manav Electronics | GEMC-511687744964457 dt. 07-03-2019 | 09/03/2019 | Rs. 220500.00 + GST extra (Per unit) | Not Mentioned  | No Provision  |
|  | Anesthesia | Bi-PAP MachineModel: 1 Breez Series B Pap Machine St 30Make: M/s Resvent Medical Tech Co. Ltd.Qty: 02 Nos.Supplier: M/s Novus Vitae Services Pvt. Ltd. | 32-274/Stores/LHMC/2018/-19/1458 dated 26-03-2019 | ----------- | Rs. 89,994.00 + GST extra (Per unit) | Warranty: 02 year + CMC for 5 Years | 5 years CMC1st 60002nd 60003rd 60004th 60005th 6000 |
|  | Anesthesia | USG Machine (2) ICU & MOT | 2018 | 2018 | USD 22154 per unit |  |  |
|  | Biochemistry | PCR machine01 | February 2004 | February 2004 | USD 5950 | -- | -- |
|  | Biochemistry | Balance02 | Mar’2008 | Aug 2008 | 1,05,000/- | 3yrs | 7yrs |
|  | Biochemistry | Deep freezer REMI02 | Mar’2008 | Aug 2008 | 3,41,000/- | 5 yrs | 5 yrs |
|  | Biochemistry | Deep freezer Westfrost01 | Jan’2013 | Feb’2013 | 75000/- | 2 yrs | 5 yrs |
|  | Biochemistry | Electrolyte Analyser02 | July’13 | Aug’2013 | 89800/- | 5 yrs | 5yrs |
|  | Biochemistry | Electrophoresis Agarose Gel02 | Jan’2013 | May’2013 | 38480/- | 2 yrs | 5 yrs |
|  | Biochemistry | Electrophoresis Vertical Gel Polyacrylamide02 | Jan’2013 | Feb’2013 | 70343/- | 2 yrs | 5 yrs |
|  | Biochemistry | PCR Gradient01 | Jan 2013 | 14.03.13 | 2,50.000/- | 2yrs | 5 yrs |
|  | Biochemistry | Urine Analyser02 | 08.2013 | 10.2013 | 179820/- both | 5 yrs | 5 yrs |
|  | Biochemistry | Vortex Mixer04 | Jan’2013 | Feb’2013 | 40000/- | 2 yrs | 5 yrs |
|  | Biochemistry | Water Bath06 | Jan’2013 | Feb’2013 | 96000/- | 2 yrs | 5 yrs |
|  | Biochemistry | Water Bath02 | Jan’2013 | Feb’2013 | 32000/- | 2 yrs | 5 yrs |
|  | Biochemistry | Micro-processor Controlled Refrigerated Table Top Universaql Centrifuge Model Z 326 K15 Nos. | 475Dt. 29.7.2013 | 13-12-2013 | Euro 5369.00Rs.387878.00 | Warranty: 5 years from the date of installation + 5 years free AMC  | -- |
|  | Biochemistry | Eppendorf Bio spectrophotometer Eppendorf u Cuvette G.1.0 &  | 463dt. 23.7.2013 | 11.3.2014 | Rs.551250.00 | Warranty: 5 years from the date of installation + 5 years free AMC  | -- |
|  | Biochemistry | Yorco Biosafety Hood | 611Dt.6.9.2013 | 24.12.2013 | Rs.236250.00 | Warranty: 5 years from the date of installation + 5 years CMC  | -- |
|  | Biochemistry | Roch/e-411 Fully Automated Chemiluminiscence/ immunoassay Analyzer | 849Dt.15.12.2012 | 1.4.2013 | 1080000.00 | Warranty: 5 years from the date of installation + 5 years free AMC  | -- |
|  | Biochemistry | Microprocessor Controlled Non-refrigerated Table Top CentrifugeModel: Z 306 Make: Harmile Labortechnik GmBH GermanyQty: 06 No.  | Store/LHMC/13-14/College/ Lab Centrifuge/ 759Dated : 27/10/2014 | 18/05/2015 | Euro 15843 | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC1st 300002nd 300003rd 300004th 300005th 30000 |
|  | Biochemistry | Vertical Gel Electrophoresis02 | 14.06.16 | 03.08.16 | 5,38,146/- | 24 months | 5 yrs |
|  | Biochemistry | Western Blot Apparatus02 | 14.06.16 | June ‘2016 | 550000/- | 2 yrs | 5 yrs |
|  | Biochemistry | Electrophoresis Horizontal | 01 | June’2016 | June’2016 | 37440/- | 24 month |
|  | Biochemistry | Real Time PCRModel: CFX 96 Touch Real Time PCR Detection SystemMake: M/s Biorad Lab. Inc. USA Qty: 01 No.  | 19-15/Stores/Bio/HLL/2016-17/290Dated : 14/06/2016 | 21/06/2016 | 2782500.00 Including VAT | Warranty: 2 years from the date of installation + 5 years CMC | 5 years CMC1st 1200002nd 1200003rd 1200004th 1200005th 120000 |
|  | Biochemistry | Microplate Multimode ReaderModel: Tecan F200 Make: M/s TecanSupl: M/s Bioscreen Instruments Pvt. Ltd.Qty: 01 No.  | 32-25/Stores/Bio/HLL/2016-17/773Dated : 17/10/2016 | 25/10/2016 | 1600000.00 Each + VAT | Warranty: 2 years from the date of installation + 5 years CMC | 5 years CMC1st Free2nd 320003rd 320004th 320005th 48000 |
|  | Biochemistry | ELISA Reader High End with WasherModel: Merilyzer Eliquant Quandra Make: M/s Meril Diagnostics Pvt. Ltd. Qty: 02 No.  | 20-50/Stores/LHMC/Bio/HLL/2016-17/331Dated : 02/07/2016 | 11/11/2016 | 3090000.00 Each + VAT | Warranty: 2 years from the date of installation + 5 years CMC | 5 years CMC/Unit1st 1100002nd 1100003rd 1100004th 1100005th 110000 |
|  | Biochemistry | Gradient PCRModel: Mastercycler Nexus Gradient Make: M/s Eppendorf Qty: 01 No.  | 19-16/Stores/Bio/HLL/2016-17/286Dated : 14/06/2016 | 28/09/2016 | 550000.00 Each + VAT | Warranty: 2 years from the date of installation + 5 years CMC | 5 years CMC/Unit1st 200002nd 220003rd 240004th 250005th 25000 |
|  | Biochemistry | Fully Automatic Electrolyte Analyzer Model: Eschweller Combiline (Expendable System) Qty: 01 No.  | 20-51/Stores/LHMC/Bio/HLL/2016-17/235Dated : 30/06/2016 | 28/09/2016 | 95000.00 Each + VAT | Warranty: 2 years from the date of installation + 5 years CMC | 5 years CMC/Unit1st Free2nd Free3rd Free4th Free5th Free |
|  | Biochemistry | Dry Heating Blocks for PCRModel: OLSC-136Make : M/s Ocean Lifesciences CooperatingQty: 01 No.  | 19-14/Stores/LHMC/Bio/HLL/2016-17/293Dated : 14/06/2016 | 23/11/2016 | 28000.00 Each + VAT | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC/Unit1st 28002nd 28003rd 28004th 28005th 2800 |
|  | Biochemistry | Random Access High Throughput Fully Automated Chemistry AnalyserModel: AU5811 (AU including 5810 including ISE) Clinical Chemistry SystemMake : M/s Beckman CoulterQty: 01 No.  | 4-26/Stores/LHMC/Bio/HLL/2016-17/204Dated : 01/06/2016 | 07/10/2016 | 5500000.00 Each + VAT | Warranty: 2 years from the date of installation + 5 years CMC | 5 years CMC/Unit1st Free2nd Free3rd Free4th Free5th Free |
|  | Biochemistry | Random Access Medium Throughput Fully Automated Chemistry AnalyserModel: AU680 Make : M/s Beckman CoulterQty: 02 No.  | 4-26/Stores/LHMC/Bio/HLL/2016-17/203Dated : 01/06/2016 | 07/10/2016 | 2950000.00 Each + VAT | Warranty: 2 years from the date of installation + 5 years CMC | 5 years CMC/Unit1st Free2nd Free3rd Free4th Free5th Free |
|  | Biochemistry | Vertical Gel Electrophoresis Model: Mini Proten Tetra Cell with Poerer Pack Universal Power Supply Make : M/s Biorad Laboratory INC USASupplier: M/s Vitan Medical System Pvt. Ltd. Qty: 02 No.  | 19-19/Stores/Bio/LHMC/Bio/2016-17/289Dated : 14/06/2016 | 06/02/2017 | 256260.00 Each + VAT | Warranty: 2 years from the date of installation + 5 years CMC | 5 years CMC/Unit1st 200002nd 220003rd 240004th 260005th 28000 |
|  | Biochemistry | Chemiluminescence & Gel Imaging Analysis SystemModel: G: BOX CHEMI XR5Make : M/s Bio DigitalSupplier: M/s Bio Digital Pvt. Ltd. Qty: 01 No.  | 32-27/Stores/Bio/HLL//2016-17/766Dated : 17/10/2016 | 20/01/2017 | 856000.00 Each + VAT | Warranty: 2 years from the date of installation + 5 years CMC | 5 years CMC/Unit1st 250002nd 300003rd 350004th 400005th 45000 |
|  | Biochemistry | pH Meter Model: BT-86502Supplier: M/s Geno Biosciences Pvt. Ltd.Qty: 02 Nos. | Stores/LHMC/ENT/HLL/2015-16/258 Dated: 07/06/2016 | 15/12/2016 | 19500.00 + Tax | Warranty: 2 years from the date of installation  | -- |
|  | Biochemistry | Deep freezer Elenpro02 | Dec’2018 | Jan’2019 | 140000/- | - | - |
|  | Biochemistry | Blood Gas Analyzer01 | May’18 | Feb’19 | 281000/- | - | - |
|  | Biochemistry | Digital Photo Colorimeter with Microprocessor Base 8 FilterMake: EISupplier: New Golden EnterprisesQty: 20 Nos. | 32-139/Stores/Bio/SQ/2017/1106 Dated: 04/12/2017 | 15/02/2018 | Rs. 7665.00 + Tax | No Warranty | -- |
|  | Biochemistry | Vortex Mixture Model: SMI-187Make: JindalSupplier: M/s S. M. Scientific Pvt. Ltd. Qty: 02 No.  | 32-253/AT/ME/College/Biochemistry/Stores/2017/1198Dated : 15/01/2019 | 13/03/2019 | 1,60,000.00 Each + Tax | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC/Unit1st 30002nd 37503rd 45004th 54005th 6000 |
|  | Biochemistry | Auto Analyser D1001 | 17.01.19 | 24.06.19 | 189990/- | 5 Yrs | 5 yrs |
|  | Biochemistry | Auto Analyser-DX1 8001+1 | 22.04.19 | 12.06.19 | 500000/- | 5yrs | 5yrs |
|  | Immunohematology and Blood transfusion | Helmer Blood Bank RefrigeratorQty: 05 | 30.04.200405.11.200405.11.200412.07.200501.11.2006 | 16.11.200415.02.200515.02.200530.09.200529.11.2006 | US $ 5500Each | Under AMC | Till 13.6.2020 (AMC) |
|  | Immunohematology and Blood transfusion | NuaireDeep freezerNuaireQty: 01 | 12/05/2008 | 14/11/08 | US $:6590 | Warranty till 22.2.2013 | 1.6.2019- 30.5.2020(AMC) |
|  | Immunohematology and Blood transfusion | Grabnier Deep freezerQty: 01 | 08/08/2007 | 20/07/08 | Euro: 12.600/- | Warranty till 19.7.2011 | AMC till 19.7.2018 |
|  | Immunohematology and Blood transfusion | -40 Deep Freezer Model: DF 40 UMake-Terumo Penpol Mfg: Terumo Penpol Pvt LtdQty: 01 Nos. | 20-19/Stores/LHMC/HLL/Blood Bank/Sch 40/2015-16/864 Dated 31/12/2015 | 22/03/2016 | Rs. 327000.00 Each + VAT | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC/ Unit1st 98102nd 98103rd 98104th 98105th 9810 |
|  | Immunohematology and Blood transfusion | Helmer platelet agitator & incubator 900i Quantity – 01 | 24/02/2004 | 08/09/2004 | US $:5400 | -- | AMC till 20/12/2019 |
|  | Immunohematology and Blood transfusion | Helmer platelet agitator & incubator 1200i Quantity – 01 | 6.11.2006 | 18.1.2007 | US Dollar 12,487 | Under AMCTILL 11.1.2020 | Under AMC TILL 11.1.2020 |
|  | Immunohematology and Blood transfusion | Cryofuge 6000iQuantity – 01 | 28.07.05 | 31.3 2006 | € 23,739.80 | AMC till 17.10.2019 |  |
|  | Immunohematology and Blood transfusion | Baxter OptipressQuantity – 01 | 28.10.2005 | 11.11.2005 | US$ 18,000 | Warranty till 10.11.2008 | - |
|  | Immunohematology and Blood transfusion | MCS +Hemonetics cell separator( Apheresis)Quantity – 01 | 26.3.09 | 8.6.09 | Rs 13,95,000 | Warranty till 2012 |  |
|  | Immunohematology and Blood transfusion | Haier ULT deep freezer ( -80O C)Quantity – 01 | Purchase through NACO | 3.5.2010 | Details with NACO  | Warranty till 2013 | AMC till 31.5.2020 |
|  | Immunohematology and Blood transfusion | Fresenius kabi CompodockQuantity – 01 | 15.11.2011 | 3.5.2013 | Rs 9,49,995.00 | Warranty till 2.5.2018 | AMC till 2.5.2023 |
|  | Immunohematology and Blood transfusion | Fresenius Kabi BiomixerQuantity – 02 | 15.11.2011 | 17.7.2012 | Rs 2,49,984.00 | Warranty till 17.7.2017 | CMC till 17.7.2022 |
|  | Immunohematology and Blood transfusion | Fresenius Kabi Bench top tube sealerQuantity – 02 | 15.11.2011 | 23.8.2012 | Rs 2,79,990.00 | Warranty till 22.8.2017 | CMC till 22.8.2022 |
|  | Immunohematology and Blood transfusion | Fresenius Kabi Portable tube sealer (Composeal)Quantity – 02 | 15.11.2011 | 23.8.2012 | Rs 2,79,990.00 | Warranty till 22.8.2017 | CMC till 22.8.2022 |
|  | Immunohematology and Blood transfusion | Biorad 680XR ELISA READERQuantity – 01 | 11.8.2011 | 11.2.2012 | Rs 5,99,400.00 | Warranty 2015 | AMC till 10.2.2020 |
|  | Immunohematology and Blood transfusion | Biorad PW40 ELISA WASHERQuantity – 01 | 11.8.2011 | 11.2.2012 | Rs 5,99,400.00 | Warranty 2015 | AMC till 10.2.2020 |
|  | Immunohematology and Blood transfusion | ELISA Microplate Washer, Model: PW 40Make-Bio Rad Mfg: Bio Rad Supplier: Vinay Brother Diagnostics Qty: 01 Nos. | Stores/LHMC/LTE/Blood Bank/22/7/14/785 Dated 08/12/2015 | 21/03/2016 | Rs. 349740.00 Each + VAT | Warranty: 3 years from the date of installation + 7 years CMC | 7 years CMC/ Unit1st 200002nd 200003rd 200004th 200005th 20000 6th 200007th 20000 |
|  | Immunohematology and Blood transfusion | ELISA Microplate Reader, Model: PR4100Make-Bio Rad Mfg: Bio Rad Supplier: Vinay Brother Diagnostics Qty: 01 Nos. | Stores/LHMC/LTE/Blood Bank/22/7/14/786 Dated 08/12/2015 | 21/03/2016 | Rs. 599940.00 Each + VAT | Warranty: 3 years from the date of installation + 7 years CMC | 7 years CMC/ Unit1st 300002nd 300003rd 300004th 300005th 300006th 300007th 30000 |
|  | Immunohematology and Blood transfusion | Sterile Connecting Device, Model: TSCD-IIMake-Terumo Penpol Mfg: Terumo Penpol Pvt LtdQty: 02 Nos. | 20-20/Stores/LHMC/HLL/Blood Bank/Sch 45/2015-16/812 Dated 11/12/2015 | 05/03/2016 | Rs. 700000.00 Each + VAT | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC/ Unit1st 210002nd 210003rd 210004th 210005th 21000 |
|  | Immunohematology and Blood transfusion | Blood Mixer & Collector , Model:-Make-Macropharma Mfg: Macropharma Supplier: Vinay Brother Diagnostics Qty: 02 Nos. | Stores/LHMC/LTE/Blood Bank/22/7/14/783 Dated 08/12/2015 | 21/03/2016 | Rs. 333000.00 Each + VAT | Warranty: 3 years from the date of installation + 7 years AMC | 7 years AMC/ Unit1st 80002nd 80003rd 80004th 80005th 80006th 80007th 8000 |
|  | Immunohematology and Blood transfusion | Terumopenpol table top tube sealerQuantity – 03 | 11.5.2016 | 19.5.2016 | Rs 2,62,529.43 | Warranty till 18.5.2021 | CMC till 18.5.2026 |
|  | Immunohematology and Blood transfusion | Biosealer (Hand Held), Model: LM100 EMake-Terumo Penpol Mfg: Terumo Penpol Pvt LtdQty: 01 Nos. | 20-25/Stores/LHMC/HLL/Blood Bank/Sch 31/2015-16/881 Dated 04/02/2016 | 22/03/2016 | Rs. 104000.00 Each + VAT | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC/ Unit1st 31202nd 31203rd 31204th 31205th 3120 |
|  | Immunohematology and Blood transfusion | ID Centrifuge LQuantity – 01 | 27.7.2017 | 2.8.2017 | Rs 1,40,420.00 | Warranty till 1.8.2022 | CMC till 1.8.2027 |
|  | Immunohematology and Blood transfusion | Blood Bank Refrigerator Model: BBR 600GMake-Terumo Penpol Mfg: Terumo Penpol Pvt LtdQty: 02 Nos. | 20-21/Stores/LHMC/HLL/Blood Bank/Sch 39/2015-16/880 Dated 04/01/2016 | 22/03/2016 | Rs. 190000.00 Each + VAT | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC/ Unit1st 57002nd 57003rd 57004th 57005th 5700 |
|  | Immunohematology and Blood transfusion | Reagent Refrigerator (600 L) Model: RRF 600L G/SMake-Terumo Penpol Mfg: Terumo Penpol Pvt LtdQty: 01 Nos. | 20-23/Stores/LHMC/HLL/Blood Bank/Sch 43/2015-16/882 Dated 04/02/2016 | 22/03/2016 | Rs. 199150.00 Each + VAT | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC/ Unit1st 59922nd 59923rd 59924th 59925th 5992 |
|  | Immunohematology and Blood transfusion | Blood Collection Monitor Model: D-601Make-Terumo Penpol Mfg: Terumo Penpol Pvt LtdQty: 04 Nos. | 20-22/Stores/LHMC/HLL/Blood Bank/Sch 29/2015-16/858 Dated 31/12/2015 | 22/03/2016 | Rs. 68500.00 Each + VAT | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC/ Unit1st 27402nd 27403rd 27404th 27405th 2740 |
|  | Immunohematology and Blood transfusion | Portable Hemoglobinometer , Model: Hemo Control PhotometerMake—Mfg: - Supplier: Vinay Brother Diagnostics Qty: 02 Nos. | Stores/LHMC/LTE/Blood Bank/22/7/14/784 Dated 08/12/2015 | 17/02/2016 | Rs. 49950.00 Each + VAT | Warranty: 3 years from the date of installation + 7 years CMC | 7 years CMC/ Unit1st 70002nd 70003rd 70004th 70005th 70006th 70007th 7000 |
|  | Immunohematology and Blood transfusion | Plasma Thawing Bath/MachineTerumo Penpol Model: PB100 (Imported) No. 01, Supplier: M/s Bristal Healthcare | 10/06/2016 | 02/08/2016 | Rs. 130000.00 + VAT | Warranty: 02 years from the date of installation + 3 years free AMC | 3 years free AMC |
|  | Immunohematology and Blood transfusion | Platelet Agitator with IncubatorModel: PR 22+ PRA 22, And ISO ETCSupplier: M/s Rahul Diagnostics & Surgicals Qty: 01 No.  | 32-215/Store/LHMC/BB/2018-19/Sch No. 67/245Dated : 31/05/2019 | 03/07/2019 | 3,58,000.00 Each + Tax | Warranty: 5 years from the date of installation + 5 years CMC Free of Cost | 5 years CMC/Unit1st FOC2nd FOC3rd FOC4th FOC5th FOC |
|  | Immunohematology and Blood transfusion | Column Agglutination Technology Based Card Centrifuge & Incubator Model: ID Incubator -37SII & ID Centrifuge 245 (Bio-Rad)Supplier: M/s Vinay Brothers Diagnostics Qty: 01 No.  | 32-236/Store/LHMC/AT/ME/College/Path/2017/Sch 66/67Dated : 22/04/2019 | 26/04/2019 | 5,99,940.00 Each + Tax | Warranty: 5 years from the date of installation + 5 years CMC  | 5 years CMC/Unit1st 400002nd 400003rd 400004th 400005th 40000 |
|  | Dental | Vital Sign Monitor Colin Omron Healthcare SingaporeBP-88S Max Supplier: Hospimedica International | SO No.: 878 Dt: 06/03/2006 | 2006 | Rs. 298488.00 | Warranty: 3 years | Under AMC |
|  | Dental | Dental ChairQty: 03 | Under Germany Govt. Grant | 1997 | NA |  | Under AMC |
|  | Dental | Dental Imaging systemQty: 1no | 138 dated 29.5.14 | 10.7.14 | 565900.00 | Warranty 2 years from the date of installation AMC 5 years | -- |
|  | Dental  | Dental X-ray unitQty: I nos | 137 dated 29.5.14 | 10.7.14 | 187000.00 | Warranty 2 years CMC 5 years | -- |
|  | Dental  | Electrically operated programmable dental chairQty: 3 nos | 136 dated 29.5.14 | 12.8.14 | 577300.00 | Warranty 2 years CMC 5 years | -- |
|  | Dental  | Portable Dental Chair with Light & SpittonModel: Best Dental Qty: 02 | Stores/LHMC/LT/Dental-Equip-Centre/14-15/291 Dt: 14/06/2016 | 22/09/2016 | Rs. 87900.00 each VAT including | Warranty: 2 years from the date of installation + 3 years AMC | 5 years AMC1st 41752nd 50543rd 6812 |
|  | Dental  | Dental Digital Portable IOPA X- Ray System Qty: 02 | Stores/LHMC/LT/Dental-Equip-Centre/14-15/291 Dt: 14/06/2016 | 22/09/2016 | Rs.159000.00 each + VAT @ 5 % | Warranty: 2 years from the date of installation + 3 years AMC | 5 years AMC1st 7552.502nd 9142.503rd 12322.50 |
|  | Dental  | Digital Dental Imaging SystemQty: 02 | Stores/LHMC/LT/Dental-Equip-Centre/14-15/291 Dt: 14/06/2016 | 22/09/2016 | Rs. 565900.00 each + VAT @ 5 % | Warranty: 2 years from the date of installation + 3 years AMC | 5 years AMC1st 26880.252nd 32539.253rd 43857.25 |
|  | Dental  | Portable Dental UnitQty: 02 | Stores/LHMC/LT/Dental-Equip-Centre/14-15/291 Dt: 14/06/2016 | 22/09/2016 | Rs. 197500.00 each + VAT @ 5 % | Warranty: 2 years from the date of installation + 3 years AMC | 3 years AMC1st 9381.252nd 11356.253rd 15306.25 |
|  | Dental | Vacuum FormerMfg: Anand Mediproducts Pvt. Ltd.Supplier: M/s ALB Surgicals Pvt. Ltd.Qty: 01 No. | No.Stores/LHMC/13-14/ME/Hosp./Sch.129/139 Dated 29-05-2014 | 29-05-2014 | Rs. 27500.00 + Vat @ 5% | Warranty: 3 years from the date of installation + 3 years CMC | 3 years CMC1st 17095.002nd 17095.003rd 17095.00 |
|  | Dermatology & Skin | Whole body phototherapy | 4/98 | 4/98 | Dm:37.000/- | -- | -- |
|  | Dermatology & Skin | Whole body phototherapy unit(Modal: NBUNB) | 8/08 | 8/10/08 | Rs.8.50.000/- | -- | -- |
|  | Dermatology & Skin | Deep Freezer(-30degree) | 8/08 | 8/10/08 | Euro:7.000/- | -- | -- |
|  | Dermatology & Skin | Surgical Diathermy Machine | 1/08 | 12/02/08 | Rs.1.5 lakh | -- | -- |
|  | Dermatology & Skin | Radio therapy | 7/05 | 23/9/05 | Rs.3.01.000/- | -- | -- |
|  | Dermatology & Skin | Radiofrequency unit | 5/08 | 21/7/08 | Rs.3.5 lakh | -- | -- |
|  | Dermatology & Skin | Microdermabrasion with auto epidermal vaccume | 4/08 | 6/08 | Rs.1.99.000/- | -- | -- |
|  | Dermatology & Skin | HyfrecatorQty:03 | Stores/LHMC/13-14/ME/Hosp/Sch.56/681 Dated 07/10/14 | 21/12/2014 | Rs. 205000.00 Per Unit + VAT | UnderWarranty& CMC for Next 05 Years | -- |
|  | Dermatology & Skin | MesopenQty: 01 | Stores/LHMC/LTE/Dermatology/20/11/14/90Dated: 25/04/2015 | 14/05/2015 | Rs. 66000.00 Each | Warrantee for 01 Year  | -- |
|  | Dermatology & Skin | Mesogun Qty: 1 | Stores/LHMC/LTE/Dermatology/20/11/14/88 Dated: 25/04/2015 | 14/05/2015 | Rs. 92500.00 Each | Warrantee for 01 Year | -- |
|  | Dermatology & Skin | Woods LampQty: 04 | Stores/LHMC/LTE/Dermatology/20/11/14/91 Dated: 25/04/2015 | 14/05/2015 | Rs. 12000.00 Each | Warrantee for 01 Year | -- |
|  | Dermatology & Skin | Dermajet Qty: 02 | Stores/LHMC/LTE/Dermatology/20/11/14/87 Dated: 25/04/2015 | 14/05/2015 | Rs. 24000.00 Each | Warrantee for 01 Year | -- |
|  | Dermatology & Skin | Digital IonophoresisQty: 01 | Stores/LHMC/LTE/Dermatology/20/11/14/89 Dated: 25/04/2015 | 14/05/2015 | Rs. 32000.00 Each | Warrantee for 01 Year | -- |
|  | Dermatology & Skin | Automatic Shoe Cover DispenserModel: MI 160E EliteQty: 01 No.Supplier: M/s Altis Healthcare | 32-128/Stores/LHMC/Derma/2017-18/1320 Dated: 20/01/2018 | 27-03-2018 | Rs. 95500.00 + Tax | Warrantee for 02 years | -- |
|  | Dermatology & Skin | PRP CentrifuseQty. 01 No.Supplier: M/s Medi-Tech Solutions  | 32-107/Stores/LHMC/2017-18/979 Dated 02-11-2017 | 12-05-2018 | Rs. 211000.00 + tax | Warrantee for 01 year | -- |
|  | Dermatology & Skin | Led Head Light easy to wear Head Loupe with Spot LightQty: 01 No.Supplier: M/s Medi-Tech Solutions | 20-70/Store/LHMC/SQ/Skin/2017/577 Dated: 23-08-2017 | 12-05-2018 | Rs. 195000.00 + Tax | Warrantee for 02 years | -- |
|  | Dermatology & Skin | USB Dermatoscope CameraQty: 01 No.Supplier: M/s Medi-Tech Solutions | 20-69/Store/LHMC/SQ/Skin/2017/720 Dated 16-09-2017 | 12-05-2018 | Rs. 127000.00 + Tax | Warranty for 02 years | -- |
|  | E.N.T.  | Surgical Operating Microscope Zeiss OPM Sensera | February 2009 | February 2009 | Euro 25200 | -- | -- |
|  | E.N.T.  | Video LaryngoscopeKarl Storz | August 2008 | August 2008 | Rs. 250000.00 | -- | -- |
|  | E.N.T.  | Image Capuring & Data Management System | May 2009 | May 2009 | Euro 22621 | -- | -- |
|  | E.N.T.  | Electro surgical unit | April 2008 | April 2008 | Rs 395000.00 | -- | -- |
|  | E.N.T.  | Diagnostic Audiometer Audiolab | March 2013 | March 2013 | Rs. 600000.00 | -- | -- |
|  | E.N.T.  | Diagnosite audiometer-audiolabQty: 1 no | 1378 dated 20.3.14 | 17.7.14 | 594000.00 | Warranty 5 years CMC 5 years | -- |
|  | E.N.T.  | Nasel telescope4mm 70 degreeQty: 2 no | 109 dated 16.5.14 | 11.8.14 | 121000.00 | Warranty 5 years from the date of installation. | -- |
|  | E.N.T.  | Nasel telescope4mm 45 degreeQty: 2 no | 110 dated 16.5.14 | 11.8.14 | 121000.00 | Warranty 5 years from the date of installation. | -- |
|  | E.N.T.  | Nasel telescope4mm 0 degreeQty: 4 no | 317 dated 9.7.14 | 21.8.14 | 121000.00 | Warranty 5 years from the date of installation. | -- |
|  | E.N.T.  | Nasel telescope4mm 30 degreeQty: 04 no | 115 dated 19.5.14 | 21.8.14 | 125000.00 | Warranty 5 years from the date of installation. | -- |
|  | E.N.T.  | O.A.E. ScreeningModel: Neuro Audio Screen Touch/OAEMake: NeurosoftQty: 01 No.  | 20-33/Stores/LHMC/ ENT/HLL/2015-16/1058 Dated : 01/03/2016 | 16/04/2016 | 299000.00 + VAT | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC1st 100002nd 120003rd 140004th 160005th 16000 |
|  | E.N.T.  | Impedence TympanometerModel: MI-44Make: MAICO Diagnostics GmbH GermanyQty: 01 No.  | 20-32/Stores/LHMC/ ENT/HLL/2015-16/1063 Dated : 02/03/2016 | 15/03/2016 | 500000.00 + VAT | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC1st 145002nd 150003rd 170004th 188005th 20600 |
|  | E.N.T.  | Pure Tone AudiometerModel: MA-42Make: MAICO Diagnostics GmbH GermanyQty: 01 No.  | 20-34/Stores/LHMC/ ENT/HLL/2015-16/1062 Dated : 02/03/2016 | 19/05/2016 | 458800.00 + VAT | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC1st 130002nd 143003rd 157004th 173005th 19000 |
|  | E.N.T.  | Cautery Machine with Vessel SealingModel: Combi Max (MBXVX)Qty: 01 No.  | 20-38/Stores/LHMC/ ENT/HLL/2015-16/1077 Dated : 12/03/2016 | 29/06/2016 | 744760.00 Including VAT | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC1st 60002nd 60003rd 60004th 60005th 6000 |
|  | E.N.T.  | Electro Surgical UnitMake: Gebruder Martin GmbHModel: Combi Max MEMB3Qty: 01 No. Supplier: M/s Vishal Surgical Equipment Company | 32-05 /Stores/LHMC/ ENT/2016-17/Sch No. 79/1254 Dated : 10/02/2017 | 30/03/2017 | Rs. 372000.00 + VAT | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC1st 20002nd 25003rd 30004th 35005th 4000 |
|  | E.N.T.  | ENT OT TableModel: PSI Legend GS Multipurpose Motorized Surgical Table Make: Palakkad Surgical Industries Pvt. Ltd.Qty: 01 No. Supplier: M/s Jolly Technocrats  | 32-3 /Stores/LHMC/ ENT/2016-17/52 Dated : 18/04/2017 | 04/05/2017 | Rs. 380000.00 + VAT | Warranty: 3 years from the date of installation + 5 years CMC | 5 years CMC1st 152002nd 171003rd 190004th 209005th 22800 |
|  | E.N.T.  | High Pressure Noiseless Suction MachineModel: Vaculine MaxiMake: BicakcilarSupplier: M/s Rahul InternationalQty: 07 No.  | 32-1 /Stores/LHMC/Anaesh/2016-17/58 Dated : 20/04/2017 | 03/05/2017 | Rs. 159000.00 + VAT | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC1st 47702nd 47703rd 47704th 47705th 4770 |
|  | E.N.T.  | Rhinolaryngo Fiberoscope Model: FNL15RP3Make: PentaxSupplier: M/s Shalya InternationalQty: 07 No.  | 32-36 /Stores/LHMC/ENT/2016-17/268 Dated : 01/06/2017 | 19/07/2017 | Rs. 471000.00 + VAT | Warranty: 3 years from the date of installation + 5 years CMC | 5 years CMC1st 5002nd 5003rd 5004th 5005th 500 |
|  | E.N.T.  | OT Table Electrohydraulic Model: DIAMOND 60 BLKMake: Schmitz U Sohne GmbH & CompanySupplier: M/s Indian Surgical Co. Pvt. Ltd.Qty: 01 No.  | Stores/LHMC/HLL/ENT/2016-17/292 Dated : 14/06/2016 | 09/01/2017 | 40163.02 EURO (CIP Price) | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC1st 350002nd 350003rd 350004th 350005th 35000 |
|  | E.N.T.  | Surgical Drill SystemModel: XOMED MeditronixMake: MeditronixSupplier: M/s MediworksQty: 02 No.  | 32-06/Stores/LHMC/ENT/2016-17/1279 Dated : 21/02/2017 | 19/07/2017 | Rs. 1163279.00 + VAT | Warranty: 3 years from the date of installation + 7 years CMC | 7 years CMC1st 30002nd 30003rd 30004th 30005th 30006th 30007th 3000 |
|  | E.N.T.  | Video StroboscopeModel: CLL-S1Make: OlympusSupplier: M/s Medilife Technologies Qty: 01 No.  | 32-55/Stores/LHMC/ENT/2016-17/1433 Dated : 22/03/2017 | 30/11/2017 | Rs. 2190000.00 + VAT | Warranty: 3 years from the date of installation + 5 years CMC | 5 years CMC1st 167432nd 184183rd 202594th 222855th 24515 |
|  | E.N.T.  | Recovery Ward MonitorModel: Bene View T5Mfg: M/s M.R. Investment (HK) Ltd. HongkongSupplier: M/s Instromedix (India) Pvt. Ltd. Qty: 06 No.  | Stores/LHMC/HLL/ENT/2016-17/339 Dated : 04/07/2016 | 02/03/2017 | 3556 USD CIP Price | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC1st 62002nd 62003rd 62004th 62005th 6200 |
|  | E.N.T.  | Bronchoscopy Model: Bene View T5Make: Richard Wolf GmbHSupplier: M/s Eagle Medical System Pvt. Ltd. Qty: 01 Set.  | Stores/LHMC/HLL/ENT/2016-17/407 Dated : 26/07/2016 | 04/05/2017 | 20080 EURO CIP Price | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC1st 176552nd 176553rd 176554th 176555th 17655 |
|  | E.N.T.  | LED Head LightMake: M/s Karl Storz GmbH, Germany Supplier: M/s Karl Storz Endoscopy India Pvt. Ltd. Qty: 02 Nos.  | Stores/LHMC/HLL/ENT/2016-17/299 Dated : 15/06/2016 | 02/03/2017 | 1035 EURO CIP Price | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC1st 17002nd 20003rd 26004th 30005th 3400 |
|  | E.N.T.  | Flexible Rhino-Pharyngo-LaryngoscopeMake: M/s Karl Storz GmbH, Germany Supplier: M/s Karl Storz Endoscopy India Pvt. Ltd. Qty: 01 Nos.  | Stores/LHMC/HLL/ENT/2016-17/299 Dated : 15/06/2016 | 02/03/2017 | 5005 EURO CIP Price | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC1st 80002nd 100003rd 120004th 140005th 16000 |
|  | E.N.T.  | Esophagoscopy Model: Bene View T5Make: M/s Karl Storz GmbH, Germany Supplier: M/s Karl Storz Endoscopy India Pvt. Ltd. Qty: 01 Set.  | Stores/LHMC/HLL/ENT/2016-17/299 Dated : 15/06/2016 | 02/03/2017 | 10758.72 EURO CIP Price | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC1st 180002nd 220003rd 270004th 310005th 35000 |
|  | E.N.T.  | Fiberoptic Bronchoscope- PaediatricMake: M/s Karl Storz GmbH, Germany Supplier: M/s Karl Storz Endoscopy India Pvt. Ltd. Qty: 01 Nos.  | Stores/LHMC/HLL/ENT/2016-17/299 Dated : 15/06/2016 | 02/03/2017 | 15050 EURO CIP Price | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC1st 280002nd 350003rd 420004th 490005th 56000 |
|  | E.N.T.  | LED Operation Microscope with CameraMake: Nil Supplier: M/s Jullunder Surgical Work Qty: 01 Nos.  | 31-51/Stores/SQ/Op Microscope/ENT/2017/1120 Dated : 06/12/2017 | 14/12/2017 | Rs. 125500.00 + GST | Warranty: 3 years from the date of installation (Including UPS)+ 7 years CMC | 7 years CMC mot asked by the department |
|  | E.N.T. | Recovery Ward MonitorModel: Bene View T5Supplier: M/s M.R. Investme3nts (HK) Ltd. Through M/s Instromedix (india) Pvt. Ltd.Qty: 06 Nos. | Stores/LHMC/HLL/ENT/2016-17/339 dated 04-07-2016 | 02-03-2017 | US$ 3680.00 + Commission + Carriage + Insurance & Freight + CIP  | 5 years CMC | 5 years CMC (each)1st 62002nd 62003rd 62004th 62005th 6200 |
|  | E.N.T. | Endonasal DCR Set (without Halogen Lamp Source)Make: ELCON Medical Instruments GMbH, GermanySupplier: M/s Link Medical SystemQty: 01 No. | 32-117/Stores/LHMC/Optha/2017-18/562 dated 11/08/2018 | 13-09-2018 | Rs. 778380 + GST | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC (each)1st 100002nd 110003rd 121004th 133105th 14641 |
|  | E.N.T. | MicrodebriderMake: MedtronicModel: XPS NEXUS Console Medtronic Xomed USA along with accessoriesSupplier: M/s Medi WorksQty: 01 No. | 32-1/Stores/LHMC/2016-17/241 Dated 30-05-2018 | 12-11-2018 | Rs. 1218645.53 + GST @ 12% | Warranty: 3 years from the date of installation + 5 years CMC | 5 years CMC (each)1st 30002nd 30003rd 30004th 30005th 3000 |
|  | E.N.T. | Temporal Bone Dissection Work Station Model: GTW – 4792 Supplier: M/s GEM Optics Instruments IndustriesQty: 01 No. | 32-191/Stores/LHMC/SQ/2018-19/1155 Dated 03-01-2019 | 06-02-2019 | Rs. 2,15,803.53 + GST | Warranty: 01 year from the date of installation + | AMC/CMC Not Asked For |
|  | E.N.T. | High Vacuum Noiseless Suction Machine (ALSA) Model | ALSA, MODEL # SUPERSUCTION 4/T EXPQty: 11 Nos. (Common)COT: 3ENT: 5Nursery: 2CB-II: 1Supplier: M/s Manav Electronics | GEMC-511687744964457 dt. 07-03-2019 | 09/03/2019 | Rs. 220500.00 + GST extra (Per unit) | Not Mentioned  | No Provision  |
|  | Eye  | Operating Microscope2 Nos | 20012008 | 20012008 | DM:58094Euro:37.993 | -- | -- |
|  | Eye | Phacoemulsification1 Nos | 2008 | 2008 | Euro 37993 | -- | -- |
|  | Eye | Ultrasonography A/B scanner2 Nos | 19942008 | 19942008 | J Yen:2905210US $16425 | -- | -- |
|  | Eye | AutorefrectometerNikon1 Nos | 2001 | 2001 | J Yen989460 | -- | -- |
|  | Eye | Yag Laser NPCB | 5/2002 | 5/2002 | Rs.850000.00 | -- | -- |
|  | Eye | Visual Field AnalyzerAuto Perimeter  | 3/2008 | 3/2008 | USD 16425 | -- | -- |
|  | Eye | Fundus Camera Zeiss | 6/2008 | 6/2008 | Euro:25867 | -- | -- |
|  | Eye | Green Laser photo coagulatorZeiss  | May 2008 | August 2008 | Euro:354452 | -- | -- |
|  | Eye | O.T. Table, Model: Rapido, 100001865, Make:M/s Merivaara enterprises, Finland | March 2009 | June 2009 | 10 lakh | -- | -- |
|  | Eye | Plasma SterilizerModel/Make : Derun Tech | 10/01/2013 | 01/06/2013 | 2570054 | Warranty 5 years 5 year AMC | -- |
|  | Eye | Dual frequency radio surgical knifeMake: Ellman USAQty: 1 no | 505 dated 8.8.13 | 7.10.13 | 1601776.00 | Warranty 2 years AMC 5 years | -- |
|  | Eye | Alcon Laureate world PhacoemulsificationQty: 1 no | 1006 dated 31.1.13 | 11.4.13 | 2205000.00 | Warranty 5 years AMC 5 years | -- |
|  | Eye | Ultrasonic pachymeter-Pachette 3Qty: 1 nos | 1153 dated 4.3.13 | 21.3.13 | 178500.00 | Warranty 3 years AMC 7 years | -- |
|  | Eye | Slit lamp with applanation tonometer and motorized tableQty: 1 no | 1194 dated 13.3.13 | 10.5.13 | 475000.00 | Warranty 3 years AMC 7 years | -- |
|  | Eye | O.T. Table, Model: Rapido,100001865, Make:M/s Merivaara enterprises, Finland | 255 Dt. 26.6.2012 | 3.4.2013 | Euro 14422.00Rs.926613.00 | Warranty: 3 years AMC 7 years | -- |
|  | Eye | Photoslit Lamp Model: Appaswamy ICM-7Make: M/s Appaswamy AssociatesQty: 03  | 32-20/Stores/LHMC/Optha/2016-17/1280Date: 21/02/2017 | 23/03/2017 | Rs. 650000.00 + Tax (Each) | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC Per Unit1st 200002nd 200003rd 200004th 200005th 20000 |
|  | Eye | Photoslit Lamp Model: Appaswamy ICM-7Make: M/s Appaswamy AssociatesQty: 01 | 32-20/Stores/LHMC/Optha/2016-17/1323Date: 22/01/2018 | 12/03/2018 | Rs. 650000.00 + Tax (Each) | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC Per Unit1st 200002nd 200003rd 200004th 200005th 20000 |
|  | Eye | A-Scan Bio-Meter Supplier: Appasamy AssociatesQty: 01 | No.Store/SQ/A-Scan Bio Meter/Ophtha/2017/1277 Dated 15-01-2018 | 09-05-2018 | Rs. 200000.00 + Tax | Warranty: 3 years from the date of installation + 5 years CMC | CMC 05 years required |
|  | Eye | Auto KeratotonometerModel: TRX-2PMake: M/s TopocanQty: 01Supplier: M/s Mehra Eye Tech Pvt. Ltd | 32-98/Stores/LHMC/Optha/2017-18/970Date: 02/11/2017 | 18/01/2018 | Rs. 1350000.00 + Tax (Each) | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC Per Unit1st 286252nd 292003rd 297804th 303755th 30985 |
|  | Eye | Operating Microscope with Co-axial Illumination System Model: AAOM-Brilliant Advent FS-9Qty: 01Supplier: M/s Appaswamy Associates | 32-270/Stores/LHMC/2018-19/721Date: 28/09/2018 | 17/01/2019 | Rs. 8,50,000.00 + Tax (Each) | Warranty: 5 years from the date of installation | 5 years CMC Per Unit1st NQ2nd NQ3rd NQ4th NQ5th NQ |
|  | Eye | Non-Contact TonometerModel: Reichert 7Make: Reichert Technologies USAQty: 01Supplier: M/s Appaswamy Associates | 32-337/Stores/LHMC/Ophtha/2019/1387Date: 08/03/2019 | 26/03/2019 | Rs. 4,50,000.00 + Tax (Each) | Warranty: 2 years from the date of installation | 5 years CMC Per Unit1st 100002nd 100003rd 100004th 100005th 10000 |
|  | Eye | Specular Microscope Model: Cell Check D Mgf: M/s Konam Medical Inc. JapanQty: 01Supplier: M/s Appaswamy Associates | 32-105/Stores/LHMC/Ophtha/2017-18/812Date: 03/10/2017 | 23/02/2019 | USD 28950  | Warranty: 5 years from the date of installation | 5 years CMC Per Unit1st 550002nd 550003rd 550004th 550005th 55000 |
|  | Eye | Higher End Vitrectomy MachineBrand: AlconModel: Constellation Table TopMgf: Alcon Qty: 01Supplier: M/s Emco Tech Equipments | 32-338/Stores/LHMC/Ophtha/2019/1462Date: 02703/2019 | 29/03/2019 | Rs. 55,72,261.00 + Tax | Warranty: 3 years from the date of installation | 5 years CMC Per Unit1st 1504912nd 1580153rd 1659174th 1742125th 182922 |
|  | Forensic Medicine & Toxicology | Dead Body Digital Weighing ScaleModel: YSI 176Supplier: M/s Yorco Sales Pvt. Ltd.Qty. 01 | 32-129/Stores/LHMC/FMT/2017-18/1126 Dated 08/12/2017 | 26/12/2017 | Rs. 135000.00 + Tax | Warranty: 1 years from the date of installation | -- |
|  | Forensic Medicine & Toxicology | Embalming Machine Model: YSI-170Supplier: M/s Yorco Sales Pvt. Ltd.Qty. 01 | 32-129/Stores/LHMC/FMT/2017-18/1124 Dated 08/12/2017 | 26/12/2017 | Rs. 84000.00 + Tax | Warranty: 1 years from the date of installation | -- |
|  | Forensic Medicine & Toxicology | Mobile Shadow less OT Light with Single Dome Model: Coolex- MS20Make: Multilux Hospital Technology Supplier: M/s Marino International Qty. 02 | 32-21/Stores/SQ/FMT/ME/2017/1168 Dated 20/12/2017 | 28/02/2018 | Rs. 68000.00 + Tax Per Unit | Warranty: 1 years from the date of installation | -- |
|  | Forensic Medicine & Toxicology | Autoclave Vertical Cylindrical Type Steam Sterilizer Pressure Type Model: ESTA 106Make: Esteem Ind. Inc. Supplier: M/s Marino International Qty. 01 | 32-21/Stores/SQ/FMT/ME/2017/1169 Dated 20/12/2017 | 21/03/2018 | Rs. 82000.00 + Tax Per Unit | Warranty: 1 years from the date of installation | -- |
|  | Forensic Medicine & Toxicology | Autopsy Saw Qty 1 | 31/147/Store/LHMC/SQ/FMT/298/303 | 17-06-2019 | Rs.87500 +Tax per unit | Warranty: 1 years from the date of installation | Warranty 1 year, CMC 5 years |
|  | Forensic Medicine & Toxicology | Binocular loop Qty 3  | 32-404/Store/LHMC/FMT/2018-19/301 | 17-06-2019 | Rs.73809.50 +Tax per unit | Warranty: 1 years from the date of installation | -- |
|  | Forensic Medicine & Toxicology | Magnu microscope Model MLXI -M Qty 18  | Store/LHMC/Collage/Moxo micro copse2013-14/1231  | 20-03-14 | Rs. 17700.00 +Tax per unit | Warranty: 2 years from the date of installation | AMC 5 YEARS |
|  | Forensic Medicine & Toxicology | Digital SpectrophotometerVisible Type Qty : 01  | 32-405/Store/LHMC/FMT/2018-19/118 | 06/05/2019 | Rs, 50000 +Tax per unit | Warranty: 5 years from the date of installation | Onsite warranty 5 years with spare parts |
|  | Forensic Medicine & Toxicology | Digital PH Meter Qty : 01 | 32-405/Store/LHMC/FMT/2018-19/118 | 06/05/2019 | Rs 9000 +Tax per unit | Warranty: 3 years from the date of installation |  |
|  | Forensic Medicine & Toxicology | Dead Body Digital Weighing Scale Model YSI 176 Qty : 01 | 32-129/Store/LHMC/FMT/2017-18/1126 | 08/12/2017 | Rs. 135000.00 +Tax per unit | Warranty: 1 years from the date of installation |  |
|  | Obstt. & Gynae | Vital sigh monitor(4) | 6/08 | 8/08 | 1.19000/- | -- | -- |
|  | Obstt. & Gynae | CTG(4 Nos) | 9/06 | Nov 06 | 2.18 Lac | -- | -- |
|  | Obstt. & Gynae | USG MachineDo | 1/093/02 | 2/095/02 | Rs.8.50.000/-Rs.9.35.000/- | -- | -- |
|  | Obstt. & Gynae | Colposcope | -- | 3.11.98 | Rs.5 lakh | -- | -- |
|  | Obstt. & Gynae | Electrosurgical Leep unit | -- | 11.6.02 | Rs.2.95.Lac | -- | -- |
|  | Obstt. & Gynae | Cryo cautery | -- | 1995 | Rs.2.5 lakh | -- | -- |
|  | Obstt. & Gynae | Lap ligationSet (laparoscope) 6 Nos | 2 in Aug.20064 in Aug.07 | Aug.06Aug.2007 | Rs.9.54.600/-Rs.19.28.430/- | -- | -- |
|  | Obstt. & Gynae | Operating Microscope | 1998 | 1998 | Rs.5 lakh | -- | -- |
|  | Obstt. & Gynae | Electrosurgical Unit(2 Nos) | 21.3.07 | 31.7.07 | Rs.3.90.000/-Each | -- | -- |
|  | Obstt. & Gynae | NIBP Monitor | -- | 2005 | Rs.2.98.000 | -- | -- |
|  | Obstt. & Gynae | Thermachoice Balloon | 2002 | 2002 | Rs.7.5 lakh | -- | -- |
|  | Obstt. & Gynae | Examination couch ( 10 nos ) | -- | 23.3.2010 | 1625000.00 | -- | -- |
|  | Obstt. & Gynae | Portable VentilatorsModel: Elises-150Make: ResmedSupplier: M/s Instromedix India Pvt. Ltd.Qty:  | Received from HSCC in 2009 as Aid | 2009 | Rs. 395641.00 | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC (Per Unit)1st 100002nd 100003rd 100004th 100005th 10000 |
|  | Obstt. & Gynae | Colour Doppler | 12.1.2010 | 20.6.2010 | 1857903.00 | -- | -- |
|  | Obstt. & Gynae | Harmonic scalpal | 23.8.2010 | 4.10.2010 | 2811179.00 | -- | -- |
|  | Obstt. & Gynae | Hopkins II forward oblique telescope 300 | 12.5.2011 | -- | 579600.00 | -- | -- |
|  | Obstt. & Gynae | Cat No.26168J MangeshiKar Uterine Mobilizar + Accessories (Rs.274872/-) | 18.07.2012 | -- | 601272.00 | -- | -- |
|  | Obstt. & Gynae | NIBP monitor4nos | -- | -- | 231525.00 | -- | -- |
|  | Obstt. & Gynae | Ultrasonic cutery consisting of Harmonic Scalpel with accessories | 29.9.2010 | -- | 2811179.00 | -- | -- |
|  | Obstt. & Gynae | Horizon Cylinders High Pressure Steam Sterilizer | 27.4.2010 | -- | 694050.00 | -- | -- |
|  | Obstt. & Gynae | Colour Doppler | 26.5.2010 | -- | 176630.00 | -- | -- |
|  | Obstt. & Gynae | Antepartum and IntrapartumFeatal Monitor (CTG Machine) (4 Nos) | 08.09.2012 | -- | 145000.00 | -- | -- |
|  | Obst & Gynae  | OT Light-philips M70 and S50Qty: 02 nos | Stores/LHMC/13-14/ME/Hosp/Sch64/1418 dated 31.3.14 | Gynae main OT-14.8.14F..P. OT-14.8.14 | Rs. 425000.00 + VAT | Warranty: 5 years from the date of installation + 5 years CMC | -- |
|  | Obst & Gynae | Suction MachineQty: 5 nos. | Stores/LHMC/13-14/ME/Hosp/Sch40/1327 dated 13.3.14 | Mty-IV- 10.5.14/1F..P. OT-10.5.14/4 | Rs.182160.00 + VAT | Warranty: 5 years from the date of installation + 5 years AMC | -- |
|  | Obst & Gynae | Vital Sign MonitorsQty : 6 Nos | Stores/LHMC/13-14/ME/Hosp/Sch49/1407 dt : 25/03/2014 | 06/09/2014 | Rs. 167977.00 Per Unit + VAT | Warranty: 5 years from the date of installation + 5 years CMC | -- |
|  | Obst & Gynae | Electosurgical CautriQty : 4 Nos | 1415 Dated 29/03/2014 | 01/12/2014 | Rs. 441000.00 + VAT | Warranty: 5 years from the date of installation + 5 years AMC | -- |
|  | Obst & Gynae | Patient Warming System (ICU)Qty : 2 Nos | 372 Dated 30/07/2014 | 03/12/2014 | 294500 x 02 = 589000.00 | Warranty: 2 years from the date of installation + 5 years CMC | -- |
|  | Obst & Gynae | Post Operative Beds Qty:04 | Stores/LHMC/13-14/ME/Hosp/Sch39/62 dt : 1/05/2014 | 07/01/2014 | GBP 2072 Per Unit | Warranty: 5 years from the date of installation + 5 years CMC | -- |
|  | Obst & Gynae | Syringe Infusion PumpsQty 12 Nos | Stores/LHMC/13-14/ME/Hosp/Sch17/502 dt : 13/8/2014 | 01/12/2014 | Rs. 310800+ VAT for Qty 12 Nos | Warranty: 2 years from the date of installation + 5 years CMC | -- |
|  | Obst. & Gynae | Mediana D500 Defibrillator with MonitorQty: 04 (Out of 17) | Stores/LHMC/13-14/ME/Hosp/Sch1/1252 dt : 26/03/2015 | Anaesthesia09/05/2015Gynae09/06/2015Medicine05/05/2015Psychiatry01/05/2015 | Rs. 458600.00 + VAT (Per Unit) | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC1st 102002nd 102003rd 102004th 102005th 10200 |
|  | Obst. & Gynae | Electrosurgical Unit with Vessel Sealing Model VIO 300D Mfg: ERBE Electromedizin GmbH Germany Qty : 1 No. | Stores/LHMC/13-14/ME/Hosp/Sch44/51 dt : 21/04/2014 | 07/04/2015 | CIP Price Euro 15126 | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC1st Free2nd 100003rd 150004th 200005th 20000 |
|  | Obst. & Gynae | NIBP Machine Model BP868F Make: AP Mall Co. Ltd. KoreaQty : 10 Nos. | 32-38/Stores/LHMC/O&G/2016-17/59 dt : 20/04/2017 | 17/05/2017 to 09/06/2017 | Rs. 1,70,000.00 + VAT(Per Unit) | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC1st 40002nd 2503rd 2504th 2505th 250 |
|  | Obst. & Gynae | Laproscope with Accessories of Operative Laproscopic SetModel \_\_\_ Make: proMIS. Germany Qty : 1 Set. | 32-10/Stores/LHMC/O&G/2016-17/1459 dt : 31/03/2017 | 25/07/2017  | Rs. 749500.00 + VAT | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC1st 224852nd 299803rd 374754th 449705th 52465 |
|  | Obst. & Gynae | LED OT Light Pedestal (Mobile)Model ALFA-3 Make: SurgidentM/s A. K. Sales Corporations Qty : 05 Nos.  | 32-45/Stores/LHMC/O&G/2016-17/463 dt : 28/07/2017 | 08/12/2017  | Rs. 121533.00 + Tax Per Unit | Warranty: 5 years from the date of installation + 5 years AMC | 5 years CMC1st 63802nd 63803rd 63804th 63805th 6380 |
|  | Obst. & Gynae | Colour Doppler USG Machine Model Alpha-6 Make: Hitachi Aloka Medical Ltd.M/s Trivitron Healthcare Pvt. Ltd.Qty : 01 No.  | 32-85/Stores/LHMC/O&G/2017-18/785 dt : 27/09/2017 | 08/01/2018  | Rs. 1505000.00 + Tax Per Unit | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC1st 850002nd 892503rd 937134th 983985th 103318 |
|  | Obst. & Gynae | Hysteroscopy Unit with accessoriesMake: Tekno Medical, Germany M/s Cardiotrace ElectronicsQty. 01 No. | 31-13/Stores/LHMC/O&G/2016-17/54 dt. 18-04-2017 | 12-03-2018 | Rs. 1351655.24 + 5% VAT (67582.76) = Rs. 1419238.00 | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC1st 67452nd 67453rd 67454th 67455th 6745 |
|  | Obst. & Gynae | ColposcopeMake: M/s Leisegang Feinumchanik, GermanySupplier: M/s Vishal Surgical Equipment Co.Qty. 01 No. | 4-26/Store/ME/AT/12/2012-2013/162 Dated 29-05-2012 | 06-03-2017 | Euro 13670.00 + Agency Commission + TAX | Warranty: 3 years from the date of installation + 7 years CMC  | 5 years CMC1st Free2nd Free3rd 20004th 22505th 25006th 27507th 3000 |
|  | Obst. & Gynae | Colour Doppler USG MachineModel: Alpha 6Make: Hitachi Aloka Medical Ltd.M/s Trivitron Healthcare Pvt. Ltd.Qty. 01 No. | 32-84/Stores/LHMC/O&G/2017-18/403 Dated 22/02/2018 | 03-05-2018 | Rs. 1755000.00 + TAX | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC1st 85000 2nd 892503rd 937134th 983985th 103318 |
|  | Obst. & Gynae | Digital Video ColposcopeModel: COLpro222DX-OZ viewMake: Promis Medical (Australia) Pvt. Ltd. Supplier: M/s Fortune Meditech (India) Pvt. Ltd.Qty: 01 No. | 32-110/stores/LHMC/O&G/2017-18/1331 dated 30-01-2018 | -- | Rs. 332000.00 + GST | Warranty: 5 years from the date of installation + 5 years AMC | 5 years AMC1st 500 2nd 5003rd 5004th 5005th 500 |
|  | Obst. & Gynae | Cardiotocogram (CTG) MachineSupplier: M/s Hamara EnterprisesQty: 02 Nos. | 31-57/Stores/LHMC/SQ/O&G/2017/2/1273 dated 15-01-2018 | 07-05-2018 | Rs. 110000.00 + GST (each) | Warranty: 2 years from the date of installation + 4 yeas AMC | 4 years AMC1st 2% 2nd 2%3rd 2%4th 2% |
|  | Obst. & Gynae | Cardiotocogram (CTG) MachineMake: BPL 9852Supplier: M/s Hamara EnterprisesQty: 02 Nos. | 32-28/Stores/LHMC/SQ/O&G/2017/1021 dated 15-11-2017 | 07-05-2018 | Rs. 110000.00 + GST (each) | Warranty: 2 years from the date of installation + 4 yeas AMC | 4 years AMC1st 2% 2nd 2%3rd 2%4th 2% |
|  | Obst. & Gynae | High Definition Endoscopic Camera with LED LightMake: Tekno Medical GermanyModel: TK 754-2000HD & TK 754-3910Supplier: M/s Cardiotrace ElectronicsQty: 01 No. | 32-81/Stores/LHMC/O&G/2017-18/242 dated 30-05-2018 | 08-08-2018 | Rs. 1941920.00 + GST | Warranty: 3 years from the date of installation + 5 years AMC | 5 years AMC1st 15419 2nd 154193rd 154194th 154195th 15419 |
|  | Medicine | T.M.T Machine | 2001 | 2001 | Rs.3.70.000/- | -- | -- |
|  | Medicine | Vital sign Monitor | 2005 | 2005 | Rs.3.70.000/- | -- | -- |
|  | Medicine | Gastrointestinal Fiberscope | 1998 | 1998 | Rs.9.09.000/- | -- | -- |
|  | Medicine | Fibreoptic Colonoscope | 2003 | 2003 | 9.95.000/- | -- | -- |
|  | Medicine | Defebrillator with ECG monitor (2) | -- | 9.9.2009 | 6,61000.00 | -- | -- |
|  | Medicine | Central monitoring system (1+5) | -- | 25.2.2010 | 10 lakh | -- | -- |
|  | Medicine | Portable VentilatorsModel: Elises-150Make: ResmedSupplier: M/s Instromedix India Pvt. Ltd.Qty:  | Received from HSCC in 2009 as Aid | 2009 | Rs. 395641.00 | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC (Per Unit)1st 100002nd 100003rd 100004th 100005th 10000 |
|  | Medicine | Gestrofibrescope | 20.11.2009 | 13.1.2010 | 7 lakh | -- | -- |
|  | Medicine | Defibrillator with ECG machine | 27.5.2009 | 16.7.2010 | 638325.00 | -- | -- |
|  | Medicine | Bed Side Monitor( 2nos) | 23.2.2010 | -- | 140048.00 | -- | -- |
|  | Medicine | Gastro Fiberscope | 13.1.2010 | -- | 696800.00 | -- | -- |
|  | Medicine | Bed side Monitor with central monitoring system (6 Nos.) | 5.12.2009 | -- | 181343.00 | -- | -- |
|  | Medicine | Ventilator High End ICU with Accessories Model: Puritan Bennett PB840 ventilator Make: CovidienQty. 2 Nos. | 852Dt.18.12.2012 | 5.2.2014 | USD 38400.00Rs.2520000.00 | Warranty: 2 years from the date of installation + 5 years CMC | -- |
|  | Medicine | Sonosite M-TURBO Hand Carried Color Doppler | 20/03/2014 | 06/08/2014 | USD 26793 | Warranty: 5 years from the date of installation + 5 years CMC Free of Cost | 5 years CMC Free of Cost |
|  | Medicine | Ventilators High End ICUQty : 4 Nos | Stores/LHMC/13-14/ME/Hosp/Sch 4/627 Dated 12/09/2014 | 24/12/2014 | Rs 11,97,000.00 Per Unit + Air Compressor (Rs. 122000+ VAT | Warranty: 5 years from the date of installation + 5 years CMC | -- |
|  | Medicine | Syringe Infusion PumpQty; 09 Nos. | Stores/LHMC/13-14/ME/Hosp/Sch 17/RO/855 Dated 19/11/2014 | 17/01/2015 | Rs. 25900.00 + VAT  | Warranty: 2 years from the date of installation + 5 years CMC | -- |
|  | Medicine | Suction Machine Qty; 03 Nos. | Stores/LHMC/13-14/ME/Hosp/Sch 14/RO/931 Dated 11/12/2014 | 04/02/2015 | Rs. 160000.00 + VAT for Each | Warranty: 2 years from the date of installation + 5 years CMC | -- |
|  | Medicine | Mediana D500 Defibrillator with MonitorQty: 04 (Out of 17) | Stores/LHMC/13-14/ME/Hosp/Sch1/1251 dt : 26/03/2015 | Anaesthesia09/05/2015Gynae09/06/2015Medicine05/05/2015Psychiatry01/05/2015 | Rs. 458600.00 + VAT (Per Unit) | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC1st 102002nd 102003rd 102004th 102005th 10200 |
|  | Medicine | Syringe Infusion Pumps Model: Infutek 405Make: SimtekQty: 40 | 32-26/Stores/LHMC/2016-17/1137dt : 04/01/2017Through DGS&D | 21/03/2017 | Rs. 24489.00 + Tax (Per Unit) | Warranty: 3 years from the date of installation + 5 years CMC (If Required) | 5 years CMC1st Not Specified 2nd Not Specified3rd Not Specified4th Not Specified5th Not Specified |
|  | Medicine | Transport VentilatorModel: Elisee 150Mfg: M/s ResmedSupplier: M/s D. V. EnterprisesQty: 04 Nos. | No. 32-11/Stores/LHMC/Medicine/2016-17/655 & 657 Dated : 12/09/2017 | 29/11/2017 | Rs. 579900.00 + Tax(Per Unit) | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC (Per Unit)1st 105002nd 105003rd 105004th 105005th 10500 |
|  | Medicine | Video Bronchoscope with AccessoriesModel: EB-1975KMake: PentsxSupplier: M/s Hospimax Healthcare Pvt. Ltd.Qty: 01 no. | 32-12/Stores/LHMC/2016-17/525 dated 12/08/2017 | 13/03/2018 | Rs. 2181059.00 including Tax | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC (Per Unit)1st 430502nd 502253rd 502254th 574005th 64575 |
|  | Microbiology | Incubator cum shaker01 | 5.5.2009 | 1.2.2010 | Euro 5595 | -- | -- |
|  | Microbiology | Water purification system model RO-DI ultra 50 Qty: 01 Nos. | Contract no. KSCH/ purchase/8/08-09/3836 dated 23.10.08 | 13.1.2009 | Rs 393750/- | CMC is renewed yearly | -- |
|  | Microbiology | Clinical centrifuge machine (Thermocycler)Model no. MyGene 96Qty: 01 Nos. | 4-26/microbiology/AT/2009-2010/75 dated 11.5.2009 | 3.12.2009 | Rs 327600/- | --- | -- |
|  | Microbiology | ELISA Reader and ELISA washer. Vinay brothersQty: 01 Nos. | LH/423/09/PSAVIII/2094 dated 11.8.11 | 27.4.12 | Rs 599400/- per unit | Warranty: 3 years from the date of installation+ 5years free AMC/CMC | -- |
|  | Microbiology | Horizontal Square type steam sterilizer pressure type size 1200x600x600(mm) | 559Dt.4.10-.2012 | 8.4.2013 | 469117.00 | Guarantee/Warranty: 2 years from the date of receipt of stores by the consignee as per DGS&D R/C | -- |
|  | Microbiology | Biosafety Cabinet Type-II Model: AC2-3E 1 = 2 Nos. | 1041 dt.23.12.2013 | 10.6.2014 | US$ 12122.00Rs.816567.00 | Warranty: 3 years from the date of installation + 5 years AMC  | -- |
|  | Microbiology | Deep Freezer, Model: DF- 8517S,Capacity:484 Ltr. Temperature range: -86°CQty: 01 Nos.(Out of 02 units) | Stores/LHMC/13-14/College/Deep Freezer/1040 Dt. 23.12.2013 | Anatomy09/09/2014Microbiology10/06/2014 | US$ 6800.00Per unit | Warranty: 3 years from the date of installation + 5 years AMC  | AMC1st 120002nd 130003rd 140004th 150005th 16000 |
|  | Microbiology | Non-Refrigerated Centrifuge Machine Model: Z 306Qty. 3 Nos. | 1106 Dt.3.1.2014 | 28.3.2014 | Euro 8435.00Rs.611348.00 | Warranty: 2 years from the date of installation + 5 years free AMC  | -- |
|  | Microbiology | Canon/IR/ADV 4045Qty: 01 Nos. | F.No.4-26/store/2014-15/34721.7.14 | 28.7.14 | Rs 290928/- | --- | -- |
|  | Microbiology | BOD Incubator, Model: PLT 141Qty: 01 Nos. | 31-1/Micro/LP/Stores/2016/754 Dt. 10/10/2016 | 10/11/2016 | 74800.00 + 12.5 % VAT Extra | Warranty: 2 years from the date of installation + 5 years CMC  | CMC1st 23202nd 29003rd 34804th 46405th 5800 |
|  | Microbiology | Fluorescent Microscope Model: Ti-S with Digital Imaging SystemMake: NikonSupl: M/s Towa Optics India Pvt. LtdQty: 01 Nos. | 32-43/Stores/HLL/Micro./2016-17/1048 Dt. 27/12/2016 | 06/02/2017 | 1217360.00 + 12.5 % VAT Extra | Warranty: 2 years from the date of installation + 5 years CMC  | CMC1st 200002nd 200003rd 200004th 200005th 20000+ Service Tax |
|  | Microbiology | Gradient PCR Model: Master Cycler Nexus Gradient Part No. 6331000.017Make: Eppendorf Qty: 01 Nos.Supplier: Eppendorf India Pvt. Ltd | 32-42/Stores/HLL/Micro./2016-17/1050 Dt. 27/12/2016 | 25/03/2017 | 550000.00 + VAT Extra | Warranty: 2 years from the date of installation + 5 years CMC  | CMC1st 200002nd 220003rd 240004th 250005th 25000+ Service Tax |
|  | Microbiology | Real Time PCR Model: CFX 96 Touch Real Time PCR Detection SystemMfg: Biorad Laboratories Inc.Qty: 01 Nos.Supplier: M/s Vitan Medical System Pvt. Ltd | 32-52/Stores/HLL/Micro./ME/2016-17/1232 Dt. 08/02/2017 | 25/04/2017 | 2650000.00 + VAT Extra | Warranty: 2 years from the date of installation + 5 years CMC  | CMC1st 1200002nd 1200003rd 1200004th 1200005th 120000+ Service Tax |
|  | Microbiology | Horizontal Rectangular /Square Type Steam Sterilizer Pressure Type size 1200x600x600 (mm)Model: PRECISION/ HRS-224-336Supplier: M/s Precision Electronics Instruments & ComponentsQty: 01 No. | 32-29/Stores/Micro/Autoclave/RC/2016-17/1336Dt.03/03/2017 | 02/03/2017 | Rs. 503750.00 | Warranty: 2 years from the date of installation (as per DGS&D R/C) + AMC Later on | -- |
|  | Microbiology | Horizontal Cylindrical Steam Sterilizer Pressure Type size 400x600 (mm)Model: PRECISION/ HHP-1624-316Supplier: M/s Precision Electronics Instruments & ComponentsQty: 01 No. | 32-29/Stores/Micro/Autoclave/RC/2016-17/1335Dt.03/03/2017 | 02/03/2017 | Rs. 147799.00 | Warranty: 2 years from the date of installation (as per DGS&D R/C) + AMC Later on | -- |
|  | Microbiology | Binopcular Microscope QUASMO BrandModel: PZRM-26Supplier: M/s Quality Scientific & Mechanical WoprksQty: 02 Nos. | 32-51/Stores/HLL/Micro/ME/2016-17/1231 Dated 08/02/2017 | 03/07/2017 | Rs. 90120.00 + Tax | Warranty: 2 years from the date of acceptance of equipment + 5 years free CMC | CMC1st Free2nd Free3rd Free4th Free5th Free |
|  | Microbiology | Refrigerated Laboratory Centrifuge Refrigerated Micro Centrifuge Machine 16000 r.p.m. with accessories Qty: 01 No.Supplier: M/s NGB Diagnostics Pvt. Ltd. | 34-29/Stores/SQ/Micro/Project/2018/1588 Dated 28-03-2018 | 01-06-2018 | Rs. 150000.00 + 10000.00 for accessories + Tax  | Warranty: 01 year from the date of InstallationAMC: Rs. 5000 per annum immediate after completion of warrantee | -- |
|  | Microbiology | Remi Cooling incubator with voltage stabilizerQty: 01 Nos. | GEMC33000-152Dated 22.3.18 | 26.11.18 | Rs 129564/- | Warranty: 5 years  | -- |
|  | Microbiology | Real Time PCRMake: GTXSupplier: M/s New Golden Enterprises Qty: 01 Nos. | 32-183/Stores/LHMC/2017-18/1160Dated 05/01/2019 | 29/03/2019 | Rs. 18,93,000.00 + Tax Per Unit | Warranty: 5 years from the date of Installation of equipment + 5 years free CMC | CMC1st Free2nd Free3rd Free4th Free5th Free |
|  | Microbiology | Laboratory Bacteriological Incubator Make: JindalModel: SMI-125Supplier: M/s Quality Scientific & Mechanical WoprksQty: 02 Nos. | 32-211/Stores/LHMC/Micro/2018-19/1196 Dated 15/01/2019 | 10/05/2019 | Rs. 24000.00 + Tax Per Unit  | Warranty: 5 + 5 years CMC | CMC1st 20002nd 20003rd 30004th 36005th 4000 |
|  | Microbiology | VDRL Rotator Make: JindalModel: SMI-209Supplier: M/s Quality Scientific & Mechanical WoprksQty: 01 Nos. | 32-213/Stores/LHMC/Micro/2018-19/1213 Dated 21/01/2019 | 10/05/2019 | Rs. 18000.00 + Tax Per Unit  | Warranty: 5 + 5 years CMC | CMC1st 10002nd 10003rd 10004th 10005th 1000 |
|  | Microbiology | Magnetic Stirrer with Hot PlatMake: JindalModel: 173AUSupplier: M/s Quality Scientific & Mechanical WoprksQty: 01 Nos. | 32-230/Stores/LHMC/Micro/2018-19/1199 Dated 21/01/2019 | 15/01/2019 | Rs. 90000.00 + Tax Per Unit  | Warranty: 5 + 5 years CMC | CMC1st 20002nd 30003rd 50004th 50005th 5000 |
|  | Microbiology | Automated Microbial Identification & Susceptibility System Model: Vitek 2 Compact 60Supplier: M/s Biomerieux India Pvt. Ltd.Qty: 01 Nos. | 32-227/Stores/LHMC/Micro/2018-19/1336 Dated 23/02/2019 | 26/03/2019 | Rs. 11,06,700.00 + Tax Per Unit  | Warranty: 5 + 5 years CMC | CMC1st 150002nd 150003rd 150004th 150005th 150006th 150007th 15000 |
|  | Microbiology | Automated Walkway Multiparametric Immunoassay System Model: VIDASSupplier: M/s Biomerieux India Pvt. Ltd.Qty: 01 Nos. | 32-231/Stores/LHMC/Micro/2018-19/1337 Dated 23/02/2019 | 17/05/2019 | Rs. 10,69,500.00 + Tax Per Unit  | Warranty: 5 + 5 years CMC | CMC1st 220002nd 220003rd 220004th 220005th 22000 |
|  | Microbiology | Automated Microbial Growth Detection System Model: BacT/Alert 3D 240Supplier: M/s Biomerieux India Pvt. Ltd.Qty: 01 Nos. | 32-229/Stores/LHMC/Micro/2018-19/1338 Dated 23/02/2019 | 18/03/2019 | Rs. 9,39,300.00 + Tax Per Unit  | Warranty: 5 + 5 years CMC | CMC1st 80002nd 80003rd 80004th 80005th 8000 |
|  | Microbiology | Analytical Grade De-ionised Water System Model: Prefil III + Type II Lab RO-DI 25LPH+ Tank 150Supplier: M/s Rions India Lab Water System Pvt. Ltd. Qty: 01 Nos.Total Received 04 No. Pharmacology: 01Pathology: 02Microbiology: 01 | 32-246/Stores/LHMC/2018-19/69Dated 23/04/2019 | 24/05/2019 | Rs. 3,65,000.00 + Tax Per Unit | Warranty: 5 years from the date of Installation of equipment + 5 years free CMC | CMC1st 100002nd 100003rd 100004th 100005th 10000 |
|  | Microbiology | Gel Doc system with PCModel no. Gene view 75056GenetixSupplier: Premier trading agenciesQty: 01 Nos. | 32-152/AT/ME/College/Path/Stores/2017/522Dated 24/8/2018 | 27.3.19 | Rs 898000/- + tax per unit | Warranty: 5 years from the date of Installation of equipment + 5 years free CMC | 5 years free CMC |
|  | Microbiology | BOD IncubatorMake: SM Scientific instruments pvt ltdSupplier :SM Scientific instruments pvt ltdQty: 01 Nos. | 32212/Stores/LH MC/Micro/201 8-19/1326Dated 22/02/2019 | 13.3.19 | Rs 106200/- | 5 years CMC | CMC1st 15002nd 18003rd 22004th 25005th 3000 |
|  | Microbiology | AFB StainerModel RAI StainerMake : BiomerieuxSupplier: Biomerieux India Pvt LtdQty: 01 Nos. | 32226/Stores/LH MC/Micro/201 8-19/21 Dated 9/04/2019 | 7.5.19 | Rs 877900/- | Warranty: 5 years from the date of Installation of equipment + 5years CMC | CMC1st 240002nd 240003rd 240004th 240005th 24000 |
|  | Microbiology | Nano drop spectrophotometer Cat# 840-270600model ND-ONECThermo/NSupplier : Vision diagnostic (india) PVT. LtdQty: 01 Nos. | 32234/Stores/LH MC/Micro/201 8-19/20Dated 8/04/2019 | 8.4.19 | Rs 874500/- | Warranty: 5 years from the date of Installation of equipment + 5 years CMC | CMC1st 200002nd 220003rd 240004th 260005th 28000 |
|  | Microbiology | Laboratory refrigerator model no. 138 LCMake : Marco scientificSupplier :Macro scientific worksQty: 01 Nos. | GEMC-511687769705215 dated 24.6.19 | 26.7.19 | Rs 128600/- each unit | Warranty: 3 years from the date of Installation of equipment  | -- |
|  | Microbiology | Microplate Reader Model no. RT-2100CMake: Raytoand Microplate washer Model no KWP100Make: CaretiumSupplier: Matrix healthcare pvt ltdQty: 01 Nos.each | FNo.LHMC/Kayak alp/ 2018/SAP013 dated 10.9.18 | 8.12.18 | Rs 249570/- | Warranty: 1 years from the date of Installation of equipment  | -- |
|  | Neurology | Digital Video EEG (Long Term Monitoring)Model: NMX-32Mfg: M/s Medicaid SystemsSupplier: M/s Medtech Engineer Qty: 01 No. | 32-95/Stores/LHMC/Neuro/2017-18/475 dt : 04/08/2017 | 26/10/2017  | Rs. 175000.00 + Tax Per Unit | Guarantee : Two years  | Not Asked For |
|  | Neurology | EMG/NCV MachineMake: Medicaid Systems Model: NS4Supplier: M/s Medtech EngineersQty: 01 No. | 32-124/Stores/LHMC/Neuro./2017-18/852 Dated 06/10/2017 | 06/03/2018 | Rs. 207500.00 + Tax | Guarantee: Five years | No CMC |
|  | Nursery | High Vacuum Noiseless Suction Machine (ALSA) Model | ALSA, MODEL # SUPERSUCTION 4/T EXPQty: 11 Nos. (Common)COT: 3ENT: 5Nursery: 2CB-II: 1Supplier: M/s Manav Electronics | GEMC-511687744964457 dt. 07-03-2019 | 09/03/2019 | Rs. 220500.00 + GST extra (Per unit) | Not Mentioned  | No Provision  |
|  | Nursing Education Cell | Automated External Defibrillator Model: ZOLL AED Plus Supplier: M/s Hoxpimax Healthcare Pvt. Ltd. Qty: 01 Nos. | 30-159/Stores/LHMC/2018-19/1035 Dated 17-12-2018 | 02-01-2019 | Rs. 2,35,200.00 Including GST Per Unit | Warranty: 5 years from the date of installation  | -- |
|  | Ortho | Mobile Image Intensifier C-arm | 4/2/2010 | 07/05/2010 | 76,900 Euro | Under Warrantee for 3 Years CMC 5 Year | -- |
|  | Ortho | Arthro PumpQty: 1 no | 1381 dated 20.3.14 | 21.4.14 | 380531.00 | Warranty 3 years AMC 3 Years | -- |
|  | Ortho | Radio Frequency Arthroscopy SystemQty: 1 no. | 278 dated 21/06/2014 | 24/09/2014 | Rs. 602558.00 | Warranty 3 years from the date of installation.+ CMC for next 3 year | -- |
|  | Ortho | Basic Arthroscopy SystemQty: 1 no. | 277 Dated 21/06/2014 | 18/10/2014 | Rs. 3180691.00 | Warranty 5 years from the date of installation. | -- |
|  | Ortho | High End Orthopaedic & Trauma OT TableMfg: Eschman Holding Ltd UK Supplier: M/s Medex India Pvt. Ltd.Qty: 01 No. | No. 32-297/Stores/LHMC/18-19/1362 Dated 01-03-2019 | 22-04-2019 | Rs. 66,42,000.00 + Tax & Discount @5% | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC (Per Unit)1st 2000002nd 2000003rd 2000004th 2000005th 200000 |
|  | Pathology | Automated Haematology analyser KX-21 , S.r. No. 3457,3458Make: Sysmex japan 2 Nos. | 14/2/2008 | 22/7/2008 | J. Yen 9,36,000  | AMCBy transasia | 24/06/2019 (AMC applied for approval) |
|  | Pathology | Automatic Cell Counter Three Part KX-21,S.r. No. 6238,6239Make: Sysmex japan2 Nos. | 26/8/2010 | 9/9/2010 | J. Yen 9,37,256 | AMCBy transasia | 9/11/2020 |
|  | Pathology | Automatic Cell Counter Three Part KX-21,S.r. No F 9538,9539Make: Sysmex japan2 nos | 4/9/2012 | 23/10/2012 | Rs. 46500 | WarrantyBy transasia | 24/9/2022 |
|  | Pathology | Haematology Analyser kx-21 Sr. No. B-4751Make: Sysmex japan1 | 18/8/2009 | 29/8/2009 | J.Yen. 9,36,000 | AMCBy transasia | 21/07/2022 |
|  | Pathology | 5 part Haematology AnalyserMake: Sysmex japan1 | 31/2/2009 | Feb. 2010 | Rs. 18,42,500/- | AMCBy transasia | 26/11/2019 |
|  | Pathology | HB Variant IIMake: Biorad1 | 7/1/2010 | 5/2/2010 | Rs. 24,90,676/- | CMCBy Biorad | 07/01/2020 |
|  | Pathology | ACL 200 Coagulation Analyser is upgraded by ACL Elitemake: Instrumentation laboratory 2 | 04/02/2014 | 29/4/2014 | Free of cost | WarrantyByInstrumentation laboratory  | 3/2/19 (AMC applied for approval) |
|  | Pathology | Flowcytometer Make: Beckman Coulter1 | 15/11/2011 | 12/3/2012 | US $ 1,10,000 | Warranty by Beckman Coulter | 13/03/2022 |
|  | Pathology | Penta Head Microscope with Digital Camera Model 80iMake: Nikon Japan2 Nos | 1/6/2009 | 21/7/2009 | J. Yen 1,25,1466 + Rs.55000/- | AMCBy Toaoptics  | 21/7/19(AMC applied for approval) |
|  | Pathology | Nikon Penta Head (5) microscope Model 80i, antifugal type with digital cameraMake: Nikon Japan1 | 12/2/2010 | 12/8/2010 | J. Yen 12,01,496 + Rs.55,000/- | AMCBy Toaoptics | 09/12/2020 |
|  | Pathology | Nikon TrinocularMicroscope Model 50i with Digital CameraMake: Nikon Japan2 | 1/6/2009 | 21/7/2009 | J. Yen 10,81,496 + Rs. 55,000/- | AMCBy Toaoptics | 21/7/19 |
|  | Pathology | Trinocular Research Microscope Model 50i with Projection + LCD Computer + PrinterMake: Nikon Japan1 | 18/6/2009 | 30/6/2009 | J. Yen 23,9237 + Rs.1,66,000/- | AMCBy Toaoptics | 30/6/19 |
|  | Pathology | Advance Fluorescence Microscope Trinocular Model 80i + Digital Camera + Computer + Printer Make: Nikon Japan1 | 1/6/2009 | 21/7/2009 | J. Yen 18,74,647 + Rs.55,000/- | AMCBy Toaoptics | 30/6/19 (AMC applied for approval) |
|  | Pathology | Shandon Automatic Slide StainerMake: Thermo Scientific1 | 5/5/2009 | 5/5/2009 | UK Pond – 6708 | AMCBy MicrosInstruments | 5/2020  |
|  | Pathology | Leica RM 2125 RT MicrotomeMake: Leica1 | 11/7/2004 | 8/9/2004 | 9585 Euro | AMCBy lab India | 5/2020 |
|  | Pathology | Leica RM 2255 MicrotomeMake: Leica1 | 11/7/2004 | 8/9/2004 | 9585 Euro |  | 5/2020 |
|  | Pathology | Shandon Semi Automatic Cryostat ( Thermo Electron ) Make: Thermo Scientific1 | 10/6/2008 | 17/6/2008 | UK Pond 6,357 | AMCBy Micros Instruments  | -- |
|  | Pathology | Shandon Cytospin -4Make: Thermo Scientific1 | 31/12/2005 | 8/6/2006 | 3750 UK Pond | AMCBy Micros Instruments | -- |
|  | Pathology | Elisa reader with washer biorad Model 680Make: Biorad laboratory 1 | 30/8/11 | 24/2/12 | Rs. 5,99,400 | AMCByBiorad laboratory | 23/2/20 |
|  | Pathology | ELISA WasherMake: Biorad laboratory1 | 11/8/2011 | 24/2/2012 | Rs. 2,99,700 | WarrantyByBiorad laboratory | 24/2/015 |
|  | Pathology | Microplate shaker Make: N.BIOTEK Korea1 | 6/12/12 | 5/1/013 | Rs. 1,02,637 | WarrantyBy Krish Biomedical | 5/1/016 |
|  | Pathology | Pressure cooker for antigen retrivalMake: Bio care medical USA1 | 2/9/013 | 25/10/13 | Rs. 3,67,500 | WarrantyBy Diagnostic biosystem (DBS) | Company asked to provide papers for application of approval |
|  | Pathology | Deep Freezer Make: HAIER 1 | From NACO | 15/2/2011 | From NACO | Warranty |  \_\_ |
|  | Pathology | Plasma Freezer ( vertical ) Froster 720Make: Grabner1 | 12/2/2008 | 9/6/2009 | Euro – 7,000 | AMCBy A.V.Enterprises |  30/6/19  |
|  | Pathology | Deioniser ( Water Purifier ) RIONSMake: RIONS India1 | 15/9/2008 | 1/10/2008 | Rs.3,93,750/- | CMCBy RIONS India | Renewed every year |
|  | Pathology | Helmer Refrigrator Sr. No 970632Make: Helmer1 | 12/7/05 | -- | U.S $ 5400 | By span health | -- |
|  | Pathology | Deep Freazer Make:Haier1 | 2011 | NACO | -- | -- | -- |
|  | Pathology | Reagent Refrigrator Sr. No 1512015 make: terumopenpol1 | 4/2/16 | -- | Rs. 199150 | AMC by Termopenpol Pvt,. ltd | -- |
|  | Pathology | Automated slide stainer leica1 | 3/3/2017 | 1/9/2017 |  16005 EURO | Warranty 5 years till 2022 | CMC for 5 years after warranty |
|  | Pathology | Fully Automated Liquid Based Cytology System (Model: BD Prep Stain™ | 52Dt. 22.4.2014 | 11/08/2015 | Rs.3360000.00 | Warranty: 5 years from the date of installation + 5 years AMC charges Rs.40000/- per year | -- |
|  | Pathology | Fully Automated Coagulation analyzer Model : STA Compact ®(230V)Make: Stago France | 143 dt.14.5.2012 | 18.7.2012 | Rs.1488000.00 | Warranty: 5 years from the date of installation + 5 years AMC  | -- |
|  | Pathology | Automated Thin Microtome Model: CUT 60062Qty. =2 Nos. | 1320 Dt.31.3.2012 or 13 | 16.7.2013 | Euro 17026.00Rs.1093920.00 | Warranty: 3 years from the date of installation + 7 years AMC  | -- |
|  | Pathology | Automatic Tissue Processor Model: Microm STP 120 Spin Tissue Processor | 156 Dt.21.5.2012 | 14/05/2013 | Euro 15113.00Rs.971010.00 | Warranty: 3 years from the date of installation + 7 years AMC  | -- |
|  | Pathology | Tissue Embedding Centre (Tissue Embedding System TES 99), Make: Medilite GmBH GermanyQty: 01 | Stores/ME/Pathology/2014-15/86 Dated 24/04/2015 | 23/06/2015 | Rs. 949050.00 Each | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC1st: 800002nd 900003rd 1000004th 1100005th 120000 |
|  | Pathology | Autopsy Saw Medizine 5000 Autopsy Saw, Model: MSYS 5000 Mfg: M/s Medizine Ltd. UK | Stores/ME/Pathology/2014-15/85 Dated 24/04/2015 | 11/08/2015 | Rs. 290000.00 Each | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC1st: 300002nd 400003rd 5000004th 600005th 700000 |
|  | Pathology | Cell Counter (3 Part Differential), Model: XP-100Make-Sysmex Mfg: Qty: 02 Nos. | 20-07/Stores/LHMC/HLL/Blood Bank/Sch. 56/2015-16/813 Dated 11/12/2015 | 10/02/2016 | Rs. 305828.00 Each + VAT | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC1st: 122332nd 122333rd 122334th 122335th 12233 |
|  | Pathology | Biosealer , Model: XS1010Make-Terumo Penpol Mfg: Terumo Penpol Pvt LtdQty: 03 Nos. | 20-20/Stores/LHMC/Path/HLL/2016-17/118 Dated 11/05/2016 | 27/06/2016 | Rs. 75560.00 Each + VAT | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC/ Unit1st 30222nd 30223rd 30224th 30225th 3022 |
|  | Pathology | Fully Automated Chemiluminescence Immunoassay Analyser, Model: DXI 600 Access Immunoassay System Make-Beckman Coulter India Pvt Ltd Mfg: Beckman Coulter India Pvt LtdQty: 01 Nos. | 19-2/Stores/LHMC/Pathology/HLL/2015-16/763 Dated 02/12/2015 | 11/02/2016 | Rs. 850000.00 Each + VAT | Warranty: 2 years from the date of installation + 5 years CMC | 5 years CMC/ Unit1st 250002nd 250003rd 250004th 250005th 25000 |
|  | Pathology | Six Part Hematology Analyser(XN-1000)1 | 27/12/16 | 27/12/16 | 1236000 | 5 yr warranty | CMC for 5 year  |
|  | Pathology | Hot Air OvenMake—Mfg: - Supplier: M/s MAV SurgimedQty: 02 Nos. | 32-32/Stores/Path/SQ/2017/20 Dated 11/04/2017 | 08/06/2017 | Rs. 47500.00 Each + VAT | Warranty: 1 years from the date of installation + 0 years CMC | 7 years CMC/ Unit1st NA2nd NA3rd NA4th NA5th NA |
|  | Pathology | Electronic Blood Cell Counter with 5 Part Differential, Model: XN B3XN1000Make-Sysmex Mfg: SysmexSupplier: M/s Transasia Bio Medicals Ltd.Qty: 01 Nos. | 19-10/Stores/HLL/Path/2016-17/1047 Dated 27/12/2016 | 05/05/2017 | Rs. 1200000.00 Each + VAT | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC1st: 240002nd 240003rd 240004th 240005th 24000 |
|  | Pathology | Tissue ProcessorModel: VTP-300 Make: Unimeditrek Supplier: M/s Unimeditrek Pvt. Ltd.Qty: 01 No. | No. 32-162/Stores/LHMC/Path/2017-18/277 Dated 14-06-2018 | 30-07-2018 | Rs. 1325000.00 + GST extra | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC1st 70002nd 70003rd 70004th 70005th 7000 |
|  | Pathology | PCR HOODSupplier: M/s Premier Trading AgenciesQty: 02 Nos. | 32-131/Stores/LHMC/Path/23017/Sch. No. 16/200 Dated 21-05-2018  | 14-08-2018 | Rs. 246000 + GST extra each | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC1st Free2nd Free3rd Free4th Free5th Free |
|  | Pathology | Laboratory Refrigerated CentrifugeSupplier: M/s Premier Trading AgenciesQty: 02 Nos. | 32-151/AT/ME/College/Path/Stores/2017/Sch. No. 17/201 Dated 21-05-2018 | 14-08-2018 | Rs. 595600.00 + GST extra each | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC1st Free2nd Free3rd Free4th Free5th Free |
|  | Pathology | Dry Heated BathSupplier: M/s Premier Trading AgenciesQty: 01 No. | 32-146/AT/ME/College/Path/Stores/2017/Sch.No. 48/179 Dated 16-05-2018 | 14-08-2018 | Rs. 95200.00 + GST extra | Warranty: 2 years from the date of installation + 3 years CMC | 3 years CMC1st Free2nd Free3rd Free |
|  | Pathology | Thermal Cycler for PCRSupplier: M/s ChemcoQty: 01 No. | 32-180/Stores/LHMC/Path/2017-18/77 Dated 24-04-2018 | 14-08-2018 | Rs. 272000.00 + GST extra | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC1st 40002nd 40003rd 45004th 45005th 4500 |
|  | Pathology | Laboratory CentrifugeSupplier: M/s Vision Diagnostic (I) Pvt. Ltd. | 31-91/Stores/LHMC/Path/SQ/2018/181 Dated 17-05-2018 | 01-08-2018 | Rs. 249995.00 (18% GST Included) | Warranty 01 Year | -- |
|  | Pathology | Autoclave (Portaqble)Supplier: M/s S.M. Scientific Instruments Pvt. Ltd.Qty: 01 No. | 32-167/LHMC/AT/ME/College/path/Stores/2017/155 Dated 09-05-2018 | 20-07-2018 | Rs. 64000.00 + GST extra | Warranty 02 years + 5 years CMC | 5 years CMC1st 20002nd 20003rd 20004th 20005th 2000 |
|  | Pathology | Autopsy sawSupplier: M/s Jolly TechnocratsQty: 02 Nos.  | 32-184/Stores/LHMC/2017-18/498 Dated 27-07-2018 | 26-09-2018 | Rs. 87500 + GST extra | Warranty 05 years + 5 years CMC | 5 years CMC1st 25002nd 25003rd 25004th 25005th 2500 |
|  | Pathology | Tissue Embedding StationModel: TES 500Make: Unimeditrek Supplier: M/s M/s Unimeditrek Pvt. Ltd.Qty: 01 Nos. (Pathology, Anatomy)) | 32-183/Stores/LHMC/2017-18/720 Dated 28-09-2018 | 11-10-2018 | Rs. 5.75.000 + GST extra Per Unit | Warranty 05 years + 5 years CMC | 5 years CMC1st 50002nd 50003rd 50004th 50005th 5000 |
|  | Pathology | Nanodrop UV Spectrophotometer Model: ND 2000 with LaptopMake: Thermo Fischer Scientific Supplier: M/s Vision Diagnostics India Pvt. Ltd.Qty: 01 Nos.  | 32-199/Stores/LHMC/Path/2017-18/1288 Dated 12-02-2019 | 20-03-2019 | Rs. 7.00.000 + GST extra Per Unit | Warranty 05 years + 5 years CMC | 5 years CMC1st 200002nd 220003rd 240004th 260005th 28000 |
|  | Pathology | Gel Documentation System with PCMake: GTXSupplier: M/s Primier Trading Agency Qty: 01 Nos. | 32-152/AT/ME/College/Path/Stores/2017/Sch. No. 19/902 Dated 03/11/2018 | 28/03/2019 | Rs. 8,98,000.00 + Tax Per Unit | Warranty: 5 years from the date of Installation of equipment + 5 years free CMC | CMC1st Free2nd Free3rd Free4th Free5th Free |
|  | Pathology | Vortex Mixture Model: SMI-187Make: JindalSupplier: M/s S. M. Scientific Pvt. Ltd. Qty: 01 No.  | 32-253/AT/ME/College/Biochemistry/Stores/2017/1198Dated : 15/01/2019 | 28/03/2019 | 1,60,000.00 Each + Tax | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC/Unit1st 30002nd 37503rd 45004th 54005th 6000 |
|  | Pathology | Hot Air OvenModel: SMI-118Make: JindalSupplier: M/s S. M. Scientific Pvt. Ltd. Qty: 05 No.  | 32-209/Stores/LHMC/Path/2018-19/1280Dated : 08/02/2019 | 28/03/2019 | 65,000.00 Each + Tax | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC/Unit1st 10002nd 10003rd 10004th 10005th 1500 |
|  | Pathology | Real Time PCRMake: GTXSupplier: M/s New Golden Enterprises Qty: 01 Nos. | 32-183/Stores/LHMC/2017-18/1160Dated 05/01/2019 | 22/03/2019 | Rs. 18,93,000.00 + Tax Per Unit | Warranty: 5 years from the date of Installation of equipment + 5 years free CMC | CMC1st Free2nd Free3rd Free4th Free5th Free |
|  | Pathology | Lab Refrigerator Model: HLR125Mfg: HelmerSupplier: M/s Span Healthcare Pvt. Ltd. Qty: 01 No.  | 32-402/Stores/LHMC/Path/2018-19/1422Dated : 14/03/2019 | 15/04/2019 | 2,49,000.00 Inclusive Tax | Warranty: 2 years from the date of installation  | 5 years AMC/Unit1st 2.5%2nd 2.5%3rd 2.5%4th 2.5%5th 2.5% |
|  | Pathology | Automated Semen Analyser with All Standard Accessories Model: SQA- VisionMake: M/s Medical Electronic System (India) Pvt. Ltd.Supplier: M/s H. D. Global BiosciencesQty: 01 No.  | Stores/LHMC/Prop/Path/2018-19/75 Dated : 23/04/2019 | 02/05/2019 | 22,75,000.00 + Tax | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC/Unit1st 2047502nd 2275003rd 2502504th 2730005th 295750 |
|  | Pathology | CO2 IncubatorModel: SMI-132Make: JindalSupplier: M/s S. M. Scientific Pvt. Ltd. Qty: 01 No.  | 32-170/Stores/LHMC/Path/2017-18/1278Dated : 07/02/2019 | 07/05/2019 | 3,90,000.00 Each + Tax | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC/Unit1st 50002nd 50003rd 50004th 50005th 5000 |
|  | Pathology | Slide Drying HotplateModel: SMI-182Make: JindalSupplier: M/s S. M. Scientific Pvt. Ltd. Qty: 02 No.  | 32-169/Stores/LHMC/Path/2017-18/1197Dated : 15/01/2019 | 15/01/2019 | 12,500.00 Each + Tax | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC/Unit1st 5002nd 5003rd 5004th 5005th 500 |
|  | Pathology | Pharmaceutical/Laboratory Refrigerator (400 Ltr) (KRISH BIOMEDICALS) Model KBS 400Qty: 02 Nos.M/s Krish Biomedicals  | GEMC-511687707348473 dt. 04-05-2019 | -- | Rs. 138500.00Each | Warranty: 3 years Warranty on Compressor 5 years | No Provision  |
|  | Pathology | Horizontal Gel Electrophoresis with Power PackSupplier: M/s Genetics Biotech Asia Pvt. Ltd. Qty: 01 No.  | 32-149/AT/ME/College/Path/Stores/2017/1162Dated : 05/01/2019 | 02/05/2019 | 1,97,000.00 Each + Tax | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC/Unit1st Free of Cost2nd Free of Cost3rd Free of Cost4th Free of Cost5th Free of Cost |
|  | Pathology | Analytical Grade De-ionised Water System Model: Prefil III + Type II Lab RO-DI 25LPH+ Tank 150Supplier: M/s Rions India Lab Water System Pvt. Ltd. Qty: 02 Nos.Total Received 04 No. Pharmacology: 01Pathology: 02Microbiology: 01 | 32-246/Stores/LHMC/2018-19/69Dated 23/04/2019 | 13/05/2019 | Rs. 3,65,000.00 + Tax Per Unit | Warranty: 5 years from the date of Installation of equipment + 5 years free CMC | CMC1st 100002nd 100003rd 100004th 100005th 10000 |
|  | Pharmacology | High Speed Bench Top Centrifuge | June 2005 | Aug 2005 | 4.20 lakh | -- | -- |
|  | Pharmacology | Ultra Micro Balance C-35 | June 1999 | Aug 1999 | 4.75 lakh | -- | -- |
|  | Pharmacology | Real Time PCRMake: GTXSupplier: M/s New Golden Enterprises Qty: 01 Nos. | 32-183/Stores/LHMC/2017-18/1160Dated 05/01/2019 | 26/03/2019 | Rs. 18,93,000.00 + Tax Per Unit | Warranty: 5 years from the date of Installation of equipment + 5 years free CMC | CMC1st Free2nd Free3rd Free4th Free5th Free |
|  | Pharmacology | Analytical Grade De-ionised Water System Model: Prefil III + Type II Lab RO-DI 25LPH+ Tank 150Supplier: M/s Rions India Lab Water System Pvt. Ltd. Qty: 01 Nos.Total Received 04 No. Pharmacology: 01Pathology: 02Microbiology: 01 | 32-246/Stores/LHMC/2018-19/69Dated 23/04/2019 | 09/07/2019 | Rs. 3,65,000.00 + Tax Per Unit | Warranty: 5 years from the date of Installation of equipment + 5 years free CMC | CMC1st 100002nd 100003rd 100004th 100005th 10000 |
|  | Physiology | Exercise Physiology System (Power Cube Ergo Cardio Pulmonary System)01 No.M/s Ganshorn Medizin Electronic GmbH  | SO No. 70Dated: 08/05/2009 | 05/08/2010 | Euros 26290 (FOB) | 3 Years Warrantee & 5 Years AMC | 5 Years AMC1ST 340902ND 374993RD 412494TH 453745TH 499116TH 549027TH 60392 |
|  | Physiology | PC Based EMG/EP system with AccessoriesQty: 01 No | 602Dt.2.9.2013 | 15/10/2014 | Euro 18320.00Rs.1304454.00 | Warranty: 5 years from the date of installation + 5 years AMC | -- |
|  | Physiology | ECG Machine 12 ChannelQty: 04 No | 01/12/2017 | 04/01/2018 | Rs. 1,20,300.00 Per Unit |  |  |
|  | Community Medicine | Pulmonary Function Test Machine (Spirometer)02 Nos  | 04/12/2018 | 05/12/2018 | Rs. 68500.00 + GST extra (Per unit) | 1 Year Warrantee  | --  |
|  | Psychiatry | Boyle’s ApparatusQty: 1 Nos. | 2007 | 2007 | Rs.2.65.000/- | -- | -- |
|  | Psychiatry | 32 Channel Digital Video EEG systemQty: 1 Nos. |  | 18.11.2009 | 1029000.00 | -- | -- |
|  | Psychiatry | Mediana D500 Defibrillator with MonitorQty: 01 (Out of 17) | Stores/LHMC/13-14/ME/Hosp/Sch1/1253 dt : 26/03/2015 | Anaesthesia09/05/2015Gynae09/06/2015Medicine05/05/2015Psychiatry01/05/2015 | Rs. 458600.00 + VAT (Per Unit) | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC1st 102002nd 102003rd 102004th 102005th 10200 |
|  | Psychiatry | Electro Convulsive Therapy Machine (ECT Machine)Qty: 01Supplier: M/s Medtech Engneers  | 31-53/Stores/SQ/ECT Machine/ Psychiatry/2017/1267 Dated: 15/01/2018 | -- | Rs. 82000.00 + Tax | Guarantee: 01 Year  | Not Asked |
|  | Radio-Diagnosis | X-RAY machineWipro GE Dx 525=1  | 04.02.93 | 12.09.94 | Rs.6,55,453/- | -- | AMC for Rs 69405/- + GST01/04/18 to 31/3/19 |
|  | Radio-Diagnosis | X-RAY machineWipro GE Dx- 525 =1 | 17.03.99 | 26.11.99 | Rs.6,15,000/- | -- | AMC  Rs- 59,763/- +taxes01.08.18 to 31.07.19 |
|  | Radio-Diagnosis | X-RAY machineDx 525 with THX Tube=1 | 07.08.00 | 20.12.00 | Rs.5,10,000/- | -- | AMC Rs 65,557/-+GST01.01.19 to 31.12.19 |
|  | Radio-Diagnosis | Brilliance 40 C.T. ScanQty: 01 | 07/11/2006 | 20/3/08 | USD883495 + 14,70,000.00 | -- | -- |
|  | Radio-Diagnosis | Colour Doppler Toshiba Nemieo XG=1Qty: 01 | 09.03.09 | 27.07.09 | Rs.18,57,903 |  |  |
|  | Radio-Diagnosis | High End Colour Doppler System Model Philips IU 22Qty: 01 | 08/09/2012 | 30/04/2012 | USD 78080 | -- | Under Warrantee for 2 year 5 year CMC |
|  | Radio-Diagnosis | Mammography Machine | 04/02/2011 | 29/02/2012 | Euro 52700 | -- | -- |
|  | Radio-Diagnosis | Automatic Film Processor PromaxQty: 01 | 18.09.2012 | 20/11/2012 | 276000.00 | -- | -- |
|  | Radio-Diagnosis | C.R. System with Local Components & Accessories | 16/11/2012 | 26/08/2013 | US $ 46805 + 750000 | -- | Under Warrantee for 2 year 5 year CMC |
|  | Radio-Diagnosis | Portable X-Ray Machine30 CBM=1 | 05.03.13 | 3.12.13 | Rs.9,84,000/- | -- | CMC RS 49,200/- +GST30-11-18 to 29-11-19 |
|  | Radio-Diagnosis | Portable X- Ray Machine Qty: 02 | 08.01.14 | 07.03.14 | Rs 6,34,400/- Per Unit | -- | CMC from 07/03/18 to 06/03/19 RS/-29,975 |
|  | Radio-Diagnosis | Portable X Ray MachineScan Ray=1 | 31.12.15 | 07.05.16 | Rs 2,80,000 | Under warranty for 5 years | Under warranty for 5 years from DOI |
|  | Radio-Diagnosis | Whole Body Colour Doppler model CLEARVUE 350make PHILIPS Qty: 03 | 06.02.17 | 23/12/17 | US $ 20,150+ US $500 +8,40,000 | Under warranty for 5 years | 5 years from date of installation |
|  | Radio-Diagnosis | Mobile X-Ray (High Frequency) Model: SCANMOBILEM/s Scanray Technologies Pvt. Ltd.Qty: 01 No.  | 20-40/Stores/LHMC/Radio/HLL/2015-16/1113Dated : 21/03/2016 | 07/06/2016 | 265403.00 Each + VAT | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC/Unit1st 168002nd 196003rd 224004th 252005th 25200 |
|  | Radio-Diagnosis | Automatic Film Processor Model: 2010 OptimaxMake: Protec HmbH & Co. KGM/s MEX INDIAQty: 01 No.  | 32-122/Stores/LHMC/Radio/ 2017-18/969Dated : 31/10/2017 | 10/11/2017 | 540000.00 Each + VAT | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC/Unit1st 270002nd 270003rd 270004th 270005th 27000 |
|  | Radio-Diagnosis | NIBP Machine Model BP868F Make: AP Mall Co. Ltd. KoreaM/s Devyog Impex Pvt. Ltd.Qty : 01 No. | 32-38/Stores/LHMC/Radio/2017-18/1028 dt : 16/11/2017 | 05/12/2017  | Rs. 1,70,000.00 + VAT(Per Unit) | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC1st 40002nd 2503rd 2504th 2505th 250 |
|  | Radio-Diagnosis | 800mA Digital X-Ray Unit with Single Detector (Floor Mounted) Model DX-D 300 SystemMake: Agfa Healthcare N. V. Mortsel BelgiumM/s Agfa Healthcare India Pvt. Ltd.Qty : 01 No. | 32-244/Stores/LHMC/Radio/2018-19/651 dt : 10/04/2018 | 20/03/2019  | Rs. 82,32,000.00 + Including Tax& Civil+ Electrical Work+ Furniture+ Miscellaneous Costing Extra Around Rs. 34,93,213.00  | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC1st 4000002nd 4000003rd 4000004th 4000005th 400000 |
|  | Radio-Diagnosis | 3 Tesla MRI Model DISCOVERY MR750W with GEM SUITE3.0 TESLA MRI SCANNERMake: M/s Wipro GE Healthcare Pvt. Ltd.Supplier: M/s Wipro GE Healthcare Pvt. Ltd.Qty : 01 No. Along with Complete Set of Local Supply + Diesel Generator 250 KVA + Turnkey  | 32-35/Stores/LHMC/2016-17/658 dt : 12/09/2017 | 20/03/2019  | CIP Price USD 1565300Complete Set of Local SupplyRs. 1,26,84,100.00Diesel Generator 250 KVARs. 19,00,000.00TurnkeyRs. 30,50,000.00  | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC1st 42000002nd 44000003rd 46000004th 52000005th 6400000 |
|  | Surgery | Digital three chip cameraCompany- Karl Storz, Dealer – Vishal Surgical Equipment Co.1 | 23/07/2007 | 23/07/2007 | Rs 1373000 | -- | -- |
|  | Surgery | Urological Endoscopy for upper tract calculusplit system for pneumatic lithrotripsy power supplyDealer- International surgicare systemsCompany- Karl StorzSupply Order No- 26/Prop/s/2011-2012/1361 | 6/8/2011 | 6/8/2011 | Rs 1500000 | -- | -- |
|  | Surgery | High definition lap cameraCompany- Karl Storz, Dealer – Vishal Surgical Equipment Co.Supply Order No- 26/Prop/S/2009-20101 | 30/10/2009 | 30/10/2009 | Rs 2475000 | -- | -- |
|  | Surgery | High resolution spatiotemporal manometery system- esophageal, anorectumCompany- Elbyn MedicalDealer- Ready stock1 | 2009 | 2009 | Rs 900000 | -- | -- |
|  | Surgery | Urodynamic equipment-mictumitery, cystometery,Company- Elbyn MedicalDealer- Ready stock1 | 2009 | 2009 | Rs 850000 | -- | -- |
|  | Surgery | Urodynamic equipment- UP pro flowmeteryCompany- Elbyn MedicalDealer- Ready stock1 | 2010 | 2010 | Rs 750000 | -- | -- |
|  | Surgery | Esophageal pH manOMeteryCompany- Elbyn MedicalDealer- Ready stock1 | 2010 | 2010 | Rs 1300000 | -- | -- |
|  | Surgery | Esophageal pH and impedance manometeryCompany- Elbyn MedicalDealer- Ready stock1 | 2011 | 2011 | Rs 1300000 | -- | -- |
|  | Surgery | Console Lymphapress with Upper Limb & Lower Limb /Sequential Pneumatic with accessories1 No | 29.3.2011 | -- | Rs. 265000.00 | -- | -- |
|  | Surgery | Multi parameter vital sign monitor- Beneview T8Qty: 5 | 1247 dated 22.3.13 | 25.11.13 | USS 6227.54 | Warranty 3 years from the date of installation. | AMC 7 years |
|  | Surgery | Defibrillator – LP-20E BasicQty: 2 nos | 1248 dated 22.3.13 | 7.12.13 | US$5400.00 | Warranty 3 years from the date of installation. | AMC 7 years |
|  | Surgery | Led Portable OT LightQty: 4 nos. | 1379 dated 20.3.14 | 30.4.14 | 140000.00 | Warranty 5 years from the date of installation. | CMC 5 years |
|  | Surgery  | Motorised Hospital BedQty: 4 nos. | 1380 dated 20.3.14 | 29.3.14 | 140000.00 | Warranty 5 years from the date of installation. | CMC 5 years |
|  | Surgery | Ultrasonic Cutting and Coagulating Device for open and Laparoscopic Surgery Harmonic scalpel system | 739 Dt.9.11.2012 | 27.11.2012 | Rs.1441020.00 | Warranty: 3 years from the date of installation + 7 years AMC | -- |
|  | Surgery | Full High Definition Endoscopic Camera SetQty: 01 | Stores/LHMC/13-14/Hosp/Sch.6/1267Dated 03/03/14 | 09/07/14 | Euro 41780(CIP Value) | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC |
|  | Surgery | Electro Hydraulic Operating Table (Surgery) Model: Multistar-IMake: SurgidentM/s A. K. Sales CorporationQty: 01 No.  | 32-21/Stores/LHMC/Surgery /2016-17/Sch. No. 69/1157Dated : 21/01/2017 | 24/12/2016 | 705133.00 Each + VAT | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC/Unit1st 352562nd 352563rd 352564th 352565th 35256 |
|  | Surgery | Bariatric Operating Table Make – Eschmann Holdings Ltd (UK) Model – T20a+01 No | 6/07/2017 | 6/07/2017 | GBP 32100 | -- | -- |
|  | Surgery | Operation Light with Camera Model XLED BGMake : M/s SterisCorporation, USA01 No | 24/03/2017 | 24/03/2017 | US $ 21700 | -- | -- |
|  | Surgery | ICU Ventilators Model Newport E360TMake Covidien 01 No | 31/03/2017 | 31/03/2017 | INR1181250 | -- | -- |
|  | Surgery | Electro Surgical UnitMake: Gebruder Martin GmbHModel: Combi Max MEMB3Qty: 03 No. Supplier: M/s Vishal Surgical Equipment Company | 32-18 /Stores/LHMC/ Surgery/2016-17/Sch No. 67/1255 Dated : 10/02/2017 | 30/03/2017 | Rs. 372000.00 + VAT | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC1st 50002nd 55003rd 60004th 65005th 7000The same equipment supplied to ENT has lesser amount of CMC |
|  | Surgery | High Pressure Noiseless Suction MachineModel: Vaculine MaxiMake: BicakcilarSupplier: M/s Rahul InternationalQty: 03 No.  | 32-1 /Stores/LHMC/Anaesh/2016-17/58 Dated : 20/04/2017 | 05/05/2017 | Rs. 159000.00 + VAT | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC1st 47702nd 47703rd 47704th 47705th 4770 |
|  | Surgery | Electro Surgical UnitModel: MEMB3Make: Gebruder Martin GmbHSupplier: M/s Vishal Surgical Equipment CompanyQty: 01 No.  | 32-18 /Stores/LHMC/Surgery/2016-17/486 Dated : 08/08/2017 | 16/09/2017 | Rs. 372000.00 + Tax | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC1st 50002nd 55003rd 60004th 65005th 7000 |
|  | Surgery | Vital Sign MonitorModel: Monet-512Make: Vital Sign MedidevicesSupplier: M/s D.V. EnterprisesQty.: 09 Nos.  | No.32-56/Stores/LHMC/2016-17/1325 dated 22-01-2018 | 28/04/2018 | Rs. 229900/- + GST (Each unit) | Warranty 02 Years | 4 years CMC (Per Unit)1st 20002nd 20003rd 20004th 2000 |
|  | Surgery | Bedside Monitor Multimodular Model: HT6Make: Shenzhen Hwatime Medical Co.Supplier: M/s D.V. EnterprisesQty.: 08 Nos.  | No.32-269/Stores/LHMC/2018-19/836 dated 23-01-2018 | 23/02/2019 | Rs. 260900/- + GST (Each unit) | Warranty: 5 years from the date of installation + 5 years CMC | 4 years CMC (Per Unit)1st 35002nd 35003rd 35004th 3500 |