**List of Medical Equipments**

**Lady Hardinge Medical College & Smt. S. K. Hospital New Delhi**

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Sr. No** | **Department** | **Details of Equipment** | **Date of Purchase** | **Date of Installation** | **Cost** | **Warrantee & AMC/CMC** | **AMC/CMC Details** |
|  | Accident & Emergency | Minor OT Light | 2008 | 30/06/2008 | Euro 11345 | -- | -- |
|  | Accident & Emergency | Portable Ventilators  Model: Elises-150  Make: Resmed  Supplier: M/s Instromedix India Pvt. Ltd.  Qty: | Received from HSCC in 2009 as Aid | 2009 | Rs. 395641.00 | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC  (Per Unit)  1st 10000  2nd 10000  3rd 10000  4th 10000  5th 10000 |
|  | Accident & Emergency | NIBP monitor with integrated cuff with arms (4) | 28/05/2009 | 09/03/2010 | USD 18400 | 2 Year Warranty 5 Year AMC | -- |
|  | Accident & Emergency | Bed side monitor central monitoring system ( 5+1 ) | -- | -- | -- | -- | -- |
|  | Accident & Emergency | Emergency 6270 Trolley Trolley Bed (2) | 22/07/2011 | 09/09/2011 | 730000 | 2 Year Warranty 5 Year AMC | -- |
|  | Accident & Emergency | Bed side monitor-ZD 120E  Qty: 5 nos | 112 dated 30.4.13 | 20.8.13 | 102000.00 | Warranty 3 years AMC 7 years | -- |
|  | Accident & Emergency | NIBP Monitor-PC-900N  Qty: 5 nos | 20 dated 12.4.14 | 12.6.14 | 104500.00 | Warranty 2 years CMC 5 years | -- |
|  | Accident & Emergency | Portable Transport Ventilator  Qty: 10 nos | 128 dated 23.5.14 | 20.6.14 | 344880.00 | Warranty 1 years CMC 5 years | -- |
|  | Accident & Emergency | Suction machine  Qty: 1no | 501 dated 12.8.14 | 19.8.14 | 182160.00 | Warranty 5 years AMC 5 years | -- |
|  | Accident & Emergency | Emergency Patient Trolley  Model : BT-500 Qty-10 | 214 Dated 11/06/2014 | 20/09/2014 | 298000/- Per Unit | Warranty 2 years CMC 5 years | -- |
|  | Accident & Emergency | Three Channel ECG Machine Model: 6208  Make: BPL  Qty: 01 | 715/15/CMO/SKH/A&E/2015-16/446 Dated: 24/08/2015 | 27/08/2015 | 49000.00  Including VAT as per bill | -- | -- |
|  | Accident & Emergency | Three Channel ECG Machine Model: 6208  Make: BPL  Qty: 01 | Stores/LHMC/A/E/ECG/2016/139 Dated: 19/09/2015 | 20/05/2016 | 47530.00  + 5% VAT | -- | -- |
|  | Accident & Emergency | Reusable Patient Warming System with Blanket  Model: MEWWARM (W-500D), IM 190B  Mfg: M/s Istanbul Medikat Sti Turkey  Supplier: M/s Devyog Impex Pvt. Ltd.  Qty: 02 Nos. | No. 32-90/Stores/LHMC/A&E/2017-18/602 Dated : 28/08/2017 | 29/09/2017 | Rs. 580000.00 + Tax  (Per Unit) | Warranty: 2 years from the date of installation + 5 years CMC | 5 years CMC  (Per Unit)  1st 20000  2nd 20000  3rd 20000  4th 20000  5th 20000 |
|  | Accident & Emergency | Transport Ventilator  Model: Elisee 150  Mfg: M/s Resmed  Supplier: M/s D. V. Enterprises  Qty: 10 Nos. | No. 32-11/Stores/LHMC/A&E/2016-17/656 & 657 Dated : 12/09/2017 | 14/10/2017 | Rs. 579900.00 + Tax  (Per Unit) | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC  (Per Unit)  1st 10500  2nd 10500  3rd 10500  4th 10500  5th 10500 |
|  | Accident & Emergency | Three Channel ECG Machine Model: 6208  Make: BPL  Qty: 06 | GeM Contract No. [GEMC33000-56](https://gem.gov.in/dashboard/index/viewSummary/99goHHWYEaD3NGAoLnNn2S2tVbPOOd7eSb3p3u1Y7lQ)  Dated 10/11/2017 | 06/12/2017 | Rs. 51000.00 | Warranty 1 years | No Provision |
|  | Accident & Emergency | Aid for Patient Transfer  Model: Maxi Slide  Make: M/s Arjo Huntleigh Singapore  Supplier: M/s Kailash Lifesciences Pvt. Ltd.  Qty: 10 Nos. | No. 32-16/Stores/LHMC/A&E/2016-17/813: 03/10/2017 | 23/11/2017 | Rs. 58000.00 + Tax  (Per Unit) | Warranty: 01 year from the date of installation + 0 years AMC/CMC | AMC/CMC Not Asked for |
|  | Accident & Emergency | ICU Beds  Model: Elegent 9990  Make: M/s Monarch Surgical Industries  Supplier: M/s D. V. Enterprises  Qty: 10 Nos. | No. 32-92/Stores/LHMC/A&E/2017-18/626  Dated : 04/09/2017 | 31/01/2018 | Rs. 295900.00 + Tax  (Per Unit) | Warranty: 2 years from the date of installation + 5 years CMC | 5 years CMC  (Per Unit)  1st 2250  2nd 2250  3rd 2250  4th 2250  5th 2250 |
|  | Accident & Emergency | [Suction Machine](https://org.gem.gov.in/cart/cart_global/describe_items/226694)  (Alsa Apparechhi Medicali Srl) Model | Supersuction 4t Exp  MANAV ELECTRONICS   16, Road No 1, Punjabi Bagh Bagh Extension, New Delhi, Delhi - 110026  Qty: 10 Nos. | GeM Contract No: GEMC33000-126  Contract Date: 15-01-2018 | 31/01/2018 | Rs. 175,000.00  Including Taxes | Warranty 1 years | No Provision |
|  | Accident & Emergency | Vital Sign Monitor  Model: Monet-512  Make: Vital Sign Medidevices  Supplier: M/s D.V. Enterprises  Qty.: 10 Nos. | No.32-56/Stores/LHMC/2016-17/1324 dated 22-01-2018 | 20/04/2018 | Rs. 229900/- + GST (Each unit) | Warranty 02 Years | 4 years CMC  (Per Unit)  1st 2000  2nd 2000  3rd 2000  4th 2000 |
|  | Accident & Emergency | ICU Beds  Model: Elegante 9990  Make: Monarch Surgical Industries  Supplier: M/s D.V. Enterprises  Qty: 03 Nos. | 32-92/Stores/LHMC/A&E/2017-18/383 Dated 02-07-2018 | 27-10-2018 | Rs. 295900 + GST | Warranty: 2 years from the date of installation + 5 years CMC | 5 years CMC  (Per Unit)  1st 2250  2nd 2250  3rd 2250  4th 2250  5th 2250 |
|  | Accident & Emergency | Blood & Infusion Warmer  Model: QW618  Make: Keewell Medical Technology, China  Supplier: M/s D.V. Enterprises  Qty: 03 Nos. | 32-242/Stores/LHMC/A&E/2018-19/551 Dated 09-08-2018 | 27-10-2018 | Rs. 119000 + GST | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC  (Per Unit)  1st 2500  2nd 2500  3rd 2500  4th 2500  5th 2500 |
|  | Accident & Emergency | Hot Air Oven  Model: PSO 451  Supplier: M/s Medallia  Qty: 02 Nos. | 32-280/Stores/LHMC/2018-19/883 Dated 31-10-2018 | 27-12-2018 | Rs. 97500.00 + GST Per Unit | Warranty: 2 years from the date of installation | -- |
|  | Accident & Emergency | Breath Analyser with Inbuilt Printer  Model: PT 240 P  Supplier: M/s Medallia  Qty: 02 Nos. | 31-189/Stores/LHMC/2018/1106 Dated 28-12-2018 | 22-03-2019 | Rs. 99500.00 + GST Per Unit | Warranty: 2 years from the date of installation | -- |
|  | Anatomy | Microtome (2) | July/2008 | 15/9/08 | 2.77.120/- each | -- | -- |
|  | Anatomy | Deep Freezer, Model: DF- 8517S, Capacity:484 Ltr. Temperature range: -86°C  Qty: 01 Nos.(Out of 02 units) | Stores/LHMC/13-14/College/Deep Freezer/1040  Dt. 23.12.2013 | Anatomy  09/09/2014  Microbiology  10/06/2014 | US$ 6800.00  Per unit | Warranty: 3 years from the date of installation + 5 years AMC | AMC  1st 12000  2nd 13000  3rd 14000  4th 15000  5th 16000 |
|  | Anatomy | Embalming Machine (Cadaverous Injector)  Model: YSI 170 | Stores/LHMC/ Embalming Machine/2014/348 Dated 22/07/2014 | 14/11/2014 | Rs. 65000.00 + VAT Extra | Warranty: 1 years from the date of installation | -- |
|  | Anatomy | Trinocular Advance Research Microscope  Model: Ni-U for Bright field  Manf: Nikon Corporation Japan  Qty: 01 | Stores/LHMC/13-14/College/ Advance Binocular Microscope/298 Dated 02/07/2014 | 27/03/2015 | J. Yen. 1638590.00 (Per Unit) | Warranty: 2 years from the date of installation + 5 years AMC | 5 years AMC  1st 20000  2nd 20000  3rd 20000  4th 20000  5th 20000 |
|  | Anatomy | Embalming Machine (Cadaverous Injector)  Model: YSI 170  M/s York Scientific Industries Pvt. Ltd. | Stores/LHMC/ LP/Anatomy/29/6/15/731 Dated 27/11/2015 | \_\_ | Rs. 72000.00 + VAT Extra | Warranty: 1 years from the date of installation  + 5 years ACMC | 5 years ACMC  1st 5000  2nd 5000  3rd 5000  4th 5000  5th 5000 |
|  | Anatomy | Autopsy saw  Supplier: M/s Jolly Technocrats  Qty: 01 Nos. | 32-184/Stores/LHMC/2017-18/498 Dated 27-07-2018 | 28-08-2018 | Rs. 87500 + GST extra | Warranty 05 years + 5 years CMC | 5 years CMC  1st 2500  2nd 2500  3rd 2500  4th 2500  5th 2500 |
|  | Anatomy | Tissue Embedding Station  Model: TES 500  Make: Unimeditrek  Supplier: M/s M/s Unimeditrek Pvt. Ltd.  Qty: 01 Nos.  (Pathology, Anatomy)) | 32-183/Stores/LHMC/2017-18/720 Dated 28-09-2018 | 06-12-2018 | Rs. 5.75.000 + GST extra Per Unit | Warranty 05 years + 5 years CMC | 5 years CMC  1st 5000  2nd 5000  3rd 5000  4th 5000  5th 5000 |
|  | Anesthesia | Anaesthesia Work Station Penlon Prima SP2 (1) | 2007 | 2007 | GBP 19,166/- |  |  |
|  | Anesthesia | Fiberoptic Bronchoscope  (Qty 3) | 2005, 2008 | 2005, 2008 | - |  |  |
|  | Anesthesia | Monitor Truescope II (2) | 2008 | 2008 | 1,19,000/- per unit |  |  |
|  | Anesthesia | Anaesthesia Work Station Penlon Prima SP2 (2) | 2009 | 2009 | GBP 21,634.20/- |  |  |
|  | Anesthesia | Patient warming system (4)  2 in Main OT  2 in C.O. T | 2009 | 2009 | Euro 5,177/- per unit |  |  |
|  | Anesthesia | Monitors Colin BP 608 (1) | 2009 | 2009 | US $25,679/- per unit |  |  |
|  | Anesthesia | Suction Machine Ardo Master 45 (7)  2 in ENT  3 in ICU  1 in main OT  1 in COT | 2009 | 2009 | Euro 3375/- per unit |  |  |
|  | Anesthesia | Univent Ventilator | 2009 | 2009 | 5,04,920/- per unit |  |  |
|  | Anesthesia | NIBP monitor with integrated cuff  Colin BP 203  (Qty 1) | 2009 | 2009 | US $ 4600/-  Per unit |  |  |
|  | Anesthesia | Infusion Pump (4) | 2010 | 2010 | 46,200/- per unit |  |  |
|  | Anesthesia | Ambumatic Transport Ventilator (ICU) | 2011 | 2011 | 1,55,000/- per unit |  |  |
|  | Anesthesia | Ambumatic Transport Ventilator (O.T.) | 2011 | 2011 | 1,55,000/- per unit |  |  |
|  | Anesthesia | Defibrillators  J12C037/038  (Qty 2) | 2012 |  |  |  |  |
|  | Anesthesia | O.T. Table  Model: OP 1700)  05 Nos. | 2007 | 2007 | Euro 19800 Per Unit | -- | -- |
|  | Anesthesia | Active Pressure Relieving Mattress  (4 Nos.) | 26.06.2012 | -- | 190000.00 Each | -- | -- |
|  | Anesthesia | Horizontal Rectangular High Pressure Steam Sterilizer ISI Marked  (2 Nos) | 31.10.2012 | -- | 992000.00 | -- | -- |
|  | Anesthesia | ECG Machine 12 Channel Model Cardio Touch 3000 Make Bionet Korea Qty:01 | 4-26/ECG/ 2012/756 Dated 16/11/2012 | -- | Rs 89500.00 + VAT | Warranty 2 years from the date of installation | -- |
|  | Anesthesia | Model Multi Parameter Monitor with Accessories Model: BENEVIEW-T8 with integrated 17” Colour TFT Screen Display Make: Shenzhen Mindray  Qty: 04 Nos | 4-26/M.P.Monitor/Stores/2012/753 Dated 16/11/2012 | 02/08/2013 | USD 5994 Per Unit | Warranty: 2 years from the date of installation + 5 years CMC | -- |
|  | Anesthesia | Anesthesia Machine Model Prima SP-2  (2 Nos) | 6.8.2009/2010 | -- | GBP 21634 | -- | -- |
|  | Anesthesia | Horizontal cylindrical High Pressure High Speed Steam Sterilizer  02 Nos. | 21.10.2009 | 2009 | 687440.00 | -- | -- |
|  | Anesthesia | Mobile OT Light- Meriluz X3 FM operation lamp  Qty: 2 nos. | 113 dated 30.4.13 | 30.9.13 | EURO 6720 | Warranty 3 years from the date of installation. | AMC 5 years |
|  | Anesthesia | Patient warming system(OT)- Medwarm  Qty\_ 4 nos | Stores/LHMC/13-14/ME/Hosp/Sch75/129 dated 23.5.14 | 19.6.14 | Rs. 381000.00 Per Unit + VAT | Warranty 2 years from the date of installation. | CMC 5 years |
|  | Anesthesia | Operation Theatre Light: Model: Steris Harmony v LED part No(LK06) | 4-26/OT Light/Stores/754  Dt.  16.11.2012 | Not received  App.  March2013 | US$ 22100 | Warranty: 2 years from the date of installation + 5 years CMC | -- |
|  | Anesthesia | Operation Table  Model: Steris Surginox part No.(ST-4080/B 202) | 4-26/OT Table/Stores/755  Dt.  16.11.2012 | Not received  App.  March2013 | US$ 15220.00 | Warranty: 2 years from the date of installation + 5 years CMC | -- |
|  | Anesthesia | Ventilator High End ICU with Accessories Model: Puritan Bennett PB840 ventilator Make: Covidien  Qty. 2 Nos. | 852  Dt.  18.12.2012 | 27.11.2013 | USD 38400.00  Rs.2520000.00 | Warranty: 2 years from the date of installation + 5 years CMC order | -- |
|  | Anesthesia | Suction Machine  Qty-10 Model-Suction Unit Victoria LIPOS 11-1140 | Stores/LHMC/13-14/ME/Hosp/Sch14/515  Dt. 21/08/2014 | 25/09/2014 | 160000/- Per Unit | Warranty: 2 years from the date of installation + 5 years CAMC | -- |
|  | Anesthesia | Laryngoscope LED Rechargeable Model AL1098 Manf. Alvis International Sialkot, Pakistan  Qty: 08 Nos | Stores/LHMC/13-14/ME/Hosp/Sch57/131 Dated 23/05/2014 | 20/08/2014 | Rs. 29079.00 Per Unit VAT Inclusive | Warranty: 5 years from the date of installation + 5 years CMC | -- |
|  | Anesthesia | Patient Warming System (ICU)  Model MEDW ARM  Manf. Istanbul Medical Ltd Sti,  Qty : 4 Nos | Stores/LHMC/13-14/ME/Hosp/Sch51/372 Dated 30/07/2014 | 25/09/2014 | Rs. 294500.00 + VAT | Warranty: 2 years from the date of installation + 5 years CMC | -- |
|  | Anesthesia | ICU Beds Enterprises 5000X-AP  Manuf. Arjo Huntleiggh Singapur Pvt. Ltd  Qty : 4 Nos. | Stores/LHMC/13-14/ME/Hosp/Sch13/63 dt : 1/5/2014 | 28/10/2014 | GBP 2534 | Warranty: 5 years from the date of installation + 5 years CMC | -- |
|  | Anesthesia | Syringe Infusion Pumps  Qty 25 Nos | Stores/LHMC/13-14/ME/Hosp/Sch17/502 dt : 13/8/2014 | 14/10/2014 | Rs. 647500+ VAT for Qty 25 Nos | Warranty: 2 years from the date of installation + 5 years CMC | -- |
|  | Anesthesia | High Pressure High Speed Instrument Sterilizer  Model: Manf. Net Steel Equipments20HS/E/Std  Qty: 02 Nos. | Stores/LHMC/LT/Steam Sterilizer/23/5/14/774 Dt: 29/10/2014 | 11/02/2015 | Rs. 890300.00 Per unit + VAT | Warranty: 5 years from the date of installation + 5 years CMC | -- |
|  | Anesthesia | Mediana D500 Defibrillator with Monitor  Qty: 08 (Out of 17) | Stores/LHMC/13-14/ME/Hosp/Sch1/1250 dt : 26/03/2015 | Anaesthesia  09/05/2015  Gynae  09/06/2015  Medicine  05/05/2015  Psychiatry  01/05/2015 | Rs. 458600.00 + VAT (Per Unit) | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC  1st 10200  2nd 10200  3rd 10200  4th 10200  5th 10200 |
|  | Anesthesia | Multi Para Monitor  Model: MS26679 SHP OEM Vista 120 invas/EtCO2  Mgf: M/s Drager Medical GmBH Germany  Qty: 08 | Stores/LHMC/13-14/ME/Hosp/Sch-5/1292 dt : 30/03/2015 | 17/03/2016 | EURO 8400 (Per Unit) | Warranty: 2 years from the date of installation + 5 years CMC | 5 years CMC  1st EURO 198= Rs. 15749.57  2nd EURO 198= Rs. 15749.57  3rd EURO 198= Rs. 15749.57  4th EURO 198= Rs. 15749.57  5th EURO 198= Rs. 15749.57 |
|  | Anesthesia | Anesthesia Work Station with Monitor  & Ventilator Model: PRIMUS and INFINITY OMEGAS  Mgf: M/s Draegerwerk AG &Co KGaA Germany  Qty: 05 | 20-6/Stores/LHMC/HLL//Anesthesia/2015/730dt : 27/11/2015 | 17/03/2016 | EURO 33055 (Per Unit) | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC  (Per Unit)  1st EURO 825  2nd EURO 860  3rd EURO 900  4th EURO 940  5th EURO 1000 |
|  | Anesthesia | Flexible Fiberoptic Bronchoscope (Adult)  Model: FB-15V  Make: Pentex  Qty: 02  Flexible Fiberoptic Bronchoscope (Paed)  Model: FB-10V  Make: Pentex  Qty: 02 | 25-55/LHMC/Stores/AT/Bronchoscope/2016/968  dt : 30/11/2016 | 20/03/2017 | Rs. 567000.0  &  Rs. 596000.0  + VAT (Per Unit) | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC for each  1st 36540  2nd 42630  3rd 42630  4th 48720  5th 54810 |
|  | Anesthesia | Air Compressor -30 HP (Scroll/Screw)  Make: Hitachi  Qty: 01 | 4-26/Repair/Medicine/Store/2013-14  dt : 04/02/2017 | 23/03/2017 | Rs. 1255000.00  + Tax | Warranty: 2 years from the date of installation + 5 years CMC | 5 years CMC for each  10% of Purchase Value in the 1st year with annual increment of 10% |
|  | Anesthesia | ICU Ventilators  Model: Newport E360T  Make: Covidien  Qty: 04  Supplier: M/s Covidien Healthcare India Pvt. Ltd. | 32-59/Store/LHMC/2016-17/1460  dt : 31/03/2017 | 31/03/2017 | Rs. 1125000.0  + VAT (Per Unit) | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC Per Unit  1st 37700  2nd 39600  3rd 41500  4th 43600  5th 45800 |
|  | Anesthesia | High Pressure Noiseless Suction Machine  Model: Vaculine Maxi  Make: Bicakcilar  Supplier: M/s Rahul International  Qty: 02 No. | 32-1 /Stores/LHMC/Anaesh/2016-17/58 Dated : 20/04/2017 | 23/05/2017 | Rs. 159000.00 + VAT | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC  1st 4770  2nd 4770  3rd 4770  4th 4770  5th 4770 |
|  | Anesthesia | Pulmonary Function Test (PFT) Machine  Supplier: M/s Aman Enterprises  Qty: 01 No. | 32-119 /Stores/LHMC/Anaesh/2017-18/711 Dated : 15/09/2017 | 29/09/2017 | Rs. 68500.00 + VAT | Warranty: 1 year from the date of installation | Not Asked |
|  | Anesthesia | OT Table  Model: PSI Legend GS Multipurpose Motorized Surgical Table  Make: Palakkad Surgical Industries Pvt. Ltd.  Qty: 01 No.  Supplier: M/s Jolly Technocrats | 32-3 /Stores/LHMC/ ENT/2016-17/869 Dated : 09/10/2017 | 16/02/2018 | Rs. 380000.00 + GST | Warranty: 3 years from the date of installation + 5 years CMC | 5 years CMC  1st 15200  2nd 17100  3rd 19000  4th 20900  5th 22800  6th 42700  7th 26600 |
|  | Anesthesia | Steam Sterilizer  Model: AMSCO 250L  Make: Steris  Qty: 02 Nos.  Supplier: M/s Steris India Pvt. Ltd. | 20-54/LHMC/Store/AT/Steam Sterilizer/2016/665 Dated: 24/09/2016 | 06/10/2017 | $ 35150.00 (including Carriage, Insurance & Freight) + Tax (including Cost of Indian Article) (Per unit) | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC  1st 40000  2nd 40000  3rd 40000  4th 40000  5th 40000 |
|  | Anesthesia | Peripheral Nerve Stimulator  Model: Multistim Sensor  Mfd: Pajunk GMBH, Germany  Qty: 02 Nos.  Supplier: M/s Hospimedica International Ltd. | 31-64/Store/SQ/Peripheral Nerve Stimulator/2018/1395 Dated: 16-02-2018 | 07/03/2018 | Rs. 111500.00 + Tax (Per Unit) | Warranty: 01 year | Not asked |
|  | Anesthesia | Penlon McCoy Laryngoscope  Made in UK  Qty: 03 Nos.  Supplier: M/s MGM Associates | 32-138/Stores/LHMC/Anaes/2017-18/1202 Dated 28/12/2017 | 17/04/2018 | Rs. 59000.00 + 12% GST (Per Unit) | Warranty: 01 year | Not asked |
|  | Anesthesia | DVT Pump  Model: DVT 2600  Mfg: M/s Daesung Maref Co. Ltd. Korea  Qty: 06 Nos.  Supplier: M/s Devyog Impex Pvt. Ltd. | 32-201/Stores/DVT/2018-19/312 dated 18-06-2018 | 10/08/2018 | Rs. 62000.00 + GST extra (Per unit) | Warranty: 03 year | 2 year CMC  1st 300  2nd 300 |
|  | Anesthesia | Fluid Warmer  Model: FT 2800  Make: M/s Keewell Medical Technology Co. Ltd. China  Qty: 01 Nos.  Supplier: M/s Jolly Technocrats | 32-293/Stores/LHMC/Anaes/2018-19/116 dated 06-05-2019 | 20/06/2019 | Rs. 93100.00 + GST extra (Per unit) | Warranty: 05 year | 5 years CMC  1st 2598  2nd 2598  3rd 2598  4th 2598  5th 2598 |
|  | Anesthesia | High Vacuum Noiseless Suction Machine (ALSA) Model | ALSA, MODEL # SUPERSUCTION 4/T EXP  Qty: 11 Nos. (Common)  COT: 3  ENT: 5  Nursery: 2  CB-II: 1  Supplier: M/s Manav Electronics | GEMC-511687744964457 dt. 07-03-2019 | 09/03/2019 | Rs. 220500.00 + GST extra (Per unit) | Not Mentioned | No Provision |
|  | Anesthesia | Bi-PAP Machine  Model: 1 Breez Series B Pap Machine St 30  Make: M/s Resvent Medical Tech Co. Ltd.  Qty: 02 Nos.  Supplier: M/s Novus Vitae Services Pvt. Ltd. | 32-274/Stores/LHMC/2018/-19/1458 dated 26-03-2019 | ----------- | Rs. 89,994.00 + GST extra (Per unit) | Warranty: 02 year + CMC for 5 Years | 5 years CMC  1st 6000  2nd 6000  3rd 6000  4th 6000  5th 6000 |
|  | Anesthesia | USG Machine (2) ICU & MOT | 2018 | 2018 | USD 22154 per unit |  |  |
|  | Biochemistry | PCR machine  01 | February 2004 | February 2004 | USD 5950 | -- | -- |
|  | Biochemistry | Balance  02 | Mar’2008 | Aug 2008 | 1,05,000/- | 3yrs | 7yrs |
|  | Biochemistry | Deep freezer REMI  02 | Mar’2008 | Aug 2008 | 3,41,000/- | 5 yrs | 5 yrs |
|  | Biochemistry | Deep freezer Westfrost  01 | Jan’2013 | Feb’2013 | 75000/- | 2 yrs | 5 yrs |
|  | Biochemistry | Electrolyte Analyser  02 | July’13 | Aug’2013 | 89800/- | 5 yrs | 5yrs |
|  | Biochemistry | Electrophoresis Agarose Gel  02 | Jan’2013 | May’2013 | 38480/- | 2 yrs | 5 yrs |
|  | Biochemistry | Electrophoresis Vertical Gel Polyacrylamide  02 | Jan’2013 | Feb’2013 | 70343/- | 2 yrs | 5 yrs |
|  | Biochemistry | PCR Gradient  01 | Jan 2013 | 14.03.13 | 2,50.000/- | 2yrs | 5 yrs |
|  | Biochemistry | Urine Analyser  02 | 08.2013 | 10.2013 | 179820/- both | 5 yrs | 5 yrs |
|  | Biochemistry | Vortex Mixer  04 | Jan’2013 | Feb’2013 | 40000/- | 2 yrs | 5 yrs |
|  | Biochemistry | Water Bath  06 | Jan’2013 | Feb’2013 | 96000/- | 2 yrs | 5 yrs |
|  | Biochemistry | Water Bath  02 | Jan’2013 | Feb’2013 | 32000/- | 2 yrs | 5 yrs |
|  | Biochemistry | Micro-processor Controlled Refrigerated Table Top Universaql Centrifuge Model Z 326 K  15 Nos. | 475  Dt. 29.7.2013 | 13-12-2013 | Euro 5369.00  Rs.387878.00 | Warranty: 5 years from the date of installation + 5 years free AMC | -- |
|  | Biochemistry | Eppendorf Bio spectrophotometer Eppendorf u Cuvette G.1.0 & | 463  dt. 23.7.2013 | 11.3.2014 | Rs.551250.00 | Warranty: 5 years from the date of installation + 5 years free AMC | -- |
|  | Biochemistry | Yorco Biosafety Hood | 611  Dt.  6.9.2013 | 24.12.2013 | Rs.236250.00 | Warranty: 5 years from the date of installation + 5 years CMC | -- |
|  | Biochemistry | Roch/e-411 Fully Automated Chemiluminiscence/ immunoassay Analyzer | 849  Dt.  15.12.2012 | 1.4.2013 | 1080000.00 | Warranty: 5 years from the date of installation + 5 years free AMC | -- |
|  | Biochemistry | Microprocessor Controlled Non-refrigerated Table Top Centrifuge  Model: Z 306  Make: Harmile Labortechnik GmBH Germany  Qty: 06 No. | Store/LHMC/13-14/College/ Lab Centrifuge/ 759  Dated : 27/10/2014 | 18/05/2015 | Euro 15843 | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC  1st 30000  2nd 30000  3rd 30000  4th 30000  5th 30000 |
|  | Biochemistry | Vertical Gel Electrophoresis  02 | 14.06.16 | 03.08.16 | 5,38,146/- | 24 months | 5 yrs |
|  | Biochemistry | Western Blot Apparatus  02 | 14.06.16 | June ‘2016 | 550000/- | 2 yrs | 5 yrs |
|  | Biochemistry | Electrophoresis Horizontal | 01 | June’2016 | June’2016 | 37440/- | 24 month |
|  | Biochemistry | Real Time PCR  Model: CFX 96 Touch Real Time PCR Detection System  Make: M/s Biorad Lab. Inc. USA  Qty: 01 No. | 19-15/Stores/Bio/HLL/2016-17/290  Dated : 14/06/2016 | 21/06/2016 | 2782500.00 Including VAT | Warranty: 2 years from the date of installation + 5 years CMC | 5 years CMC  1st 120000  2nd 120000  3rd 120000  4th 120000  5th 120000 |
|  | Biochemistry | Microplate Multimode Reader  Model: Tecan F200 Make: M/s Tecan  Supl: M/s Bioscreen Instruments Pvt. Ltd.  Qty: 01 No. | 32-25/Stores/Bio/HLL/2016-17/773  Dated : 17/10/2016 | 25/10/2016 | 1600000.00 Each + VAT | Warranty: 2 years from the date of installation + 5 years CMC | 5 years CMC  1st Free  2nd 32000  3rd 32000  4th 32000  5th 48000 |
|  | Biochemistry | ELISA Reader High End with Washer  Model: Merilyzer Eliquant Quandra  Make: M/s Meril Diagnostics Pvt. Ltd.  Qty: 02 No. | 20-50/Stores/LHMC/Bio/HLL/2016-17/331  Dated : 02/07/2016 | 11/11/2016 | 3090000.00 Each + VAT | Warranty: 2 years from the date of installation + 5 years CMC | 5 years CMC/Unit  1st 110000  2nd 110000  3rd 110000  4th 110000  5th 110000 |
|  | Biochemistry | Gradient PCR  Model: Mastercycler Nexus Gradient  Make: M/s Eppendorf  Qty: 01 No. | 19-16/Stores/Bio/HLL/2016-17/286  Dated : 14/06/2016 | 28/09/2016 | 550000.00 Each + VAT | Warranty: 2 years from the date of installation + 5 years CMC | 5 years CMC/Unit  1st 20000  2nd 22000  3rd 24000  4th 25000  5th 25000 |
|  | Biochemistry | Fully Automatic Electrolyte Analyzer  Model: Eschweller Combiline (Expendable System)  Qty: 01 No. | 20-51/Stores/LHMC/Bio/HLL/2016-17/235  Dated : 30/06/2016 | 28/09/2016 | 95000.00 Each + VAT | Warranty: 2 years from the date of installation + 5 years CMC | 5 years CMC/Unit  1st Free  2nd Free  3rd Free  4th Free  5th Free |
|  | Biochemistry | Dry Heating Blocks for PCR  Model: OLSC-136  Make : M/s Ocean Lifesciences Cooperating  Qty: 01 No. | 19-14/Stores/LHMC/Bio/HLL/2016-17/293  Dated : 14/06/2016 | 23/11/2016 | 28000.00 Each + VAT | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC/Unit  1st 2800  2nd 2800  3rd 2800  4th 2800  5th 2800 |
|  | Biochemistry | Random Access High Throughput Fully Automated Chemistry Analyser  Model: AU5811 (AU including 5810 including ISE) Clinical Chemistry System  Make : M/s Beckman Coulter  Qty: 01 No. | 4-26/Stores/LHMC/Bio/HLL/2016-17/204  Dated : 01/06/2016 | 07/10/2016 | 5500000.00 Each + VAT | Warranty: 2 years from the date of installation + 5 years CMC | 5 years CMC/Unit  1st Free  2nd Free  3rd Free  4th Free  5th Free |
|  | Biochemistry | Random Access Medium Throughput Fully Automated Chemistry Analyser  Model: AU680  Make : M/s Beckman Coulter  Qty: 02 No. | 4-26/Stores/LHMC/Bio/HLL/2016-17/203  Dated : 01/06/2016 | 07/10/2016 | 2950000.00 Each + VAT | Warranty: 2 years from the date of installation + 5 years CMC | 5 years CMC/Unit  1st Free  2nd Free  3rd Free  4th Free  5th Free |
|  | Biochemistry | Vertical Gel Electrophoresis  Model: Mini Proten Tetra Cell with Poerer Pack Universal Power Supply  Make : M/s Biorad Laboratory INC USA  Supplier: M/s Vitan Medical System Pvt. Ltd.  Qty: 02 No. | 19-19/Stores/Bio/LHMC/Bio/2016-17/289  Dated : 14/06/2016 | 06/02/2017 | 256260.00 Each + VAT | Warranty: 2 years from the date of installation + 5 years CMC | 5 years CMC/Unit  1st 20000  2nd 22000  3rd 24000  4th 26000  5th 28000 |
|  | Biochemistry | Chemiluminescence & Gel Imaging Analysis System  Model: G: BOX CHEMI XR5  Make : M/s Bio Digital  Supplier: M/s Bio Digital Pvt. Ltd.  Qty: 01 No. | 32-27/Stores/Bio/HLL//2016-17/766  Dated : 17/10/2016 | 20/01/2017 | 856000.00 Each + VAT | Warranty: 2 years from the date of installation + 5 years CMC | 5 years CMC/Unit  1st 25000  2nd 30000  3rd 35000  4th 40000  5th 45000 |
|  | Biochemistry | pH Meter  Model: BT-86502  Supplier: M/s Geno Biosciences Pvt. Ltd.  Qty: 02 Nos. | Stores/LHMC/ENT/HLL/2015-16/258 Dated: 07/06/2016 | 15/12/2016 | 19500.00 + Tax | Warranty: 2 years from the date of installation | -- |
|  | Biochemistry | Deep freezer Elenpro  02 | Dec’2018 | Jan’2019 | 140000/- | - | - |
|  | Biochemistry | Blood Gas Analyzer  01 | May’18 | Feb’19 | 281000/- | - | - |
|  | Biochemistry | Digital Photo Colorimeter with Microprocessor Base 8 Filter  Make: EI  Supplier: New Golden Enterprises  Qty: 20 Nos. | 32-139/Stores/Bio/SQ/2017/1106 Dated: 04/12/2017 | 15/02/2018 | Rs. 7665.00 + Tax | No Warranty | -- |
|  | Biochemistry | Vortex Mixture  Model: SMI-187  Make: Jindal  Supplier: M/s S. M. Scientific Pvt. Ltd.  Qty: 02 No. | 32-253/AT/ME/College/Biochemistry/Stores/2017/1198  Dated : 15/01/2019 | 13/03/2019 | 1,60,000.00 Each + Tax | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC/Unit  1st 3000  2nd 3750  3rd 4500  4th 5400  5th 6000 |
|  | Biochemistry | Auto Analyser D10  01 | 17.01.19 | 24.06.19 | 189990/- | 5 Yrs | 5 yrs |
|  | Biochemistry | Auto Analyser-DX1 800  1+1 | 22.04.19 | 12.06.19 | 500000/- | 5yrs | 5yrs |
|  | Immunohematology and Blood transfusion | Helmer Blood Bank Refrigerator  Qty: 05 | 30.04.2004  05.11.2004  05.11.2004  12.07.2005  01.11.2006 | 16.11.2004  15.02.2005  15.02.2005  30.09.2005  29.11.2006 | US $ 5500  Each | Under AMC | Till 13.6.2020 (AMC) |
|  | Immunohematology and Blood transfusion | Nuaire  Deep freezer  Nuaire  Qty: 01 | 12/05/2008 | 14/11/08 | US $:  6590 | Warranty till 22.2.2013 | 1.6.2019- 30.5.2020(AMC) |
|  | Immunohematology and Blood transfusion | Grabnier Deep freezer  Qty: 01 | 08/08/2007 | 20/07/08 | Euro: 12.600/- | Warranty till 19.7.2011 | AMC till 19.7.2018 |
|  | Immunohematology and Blood transfusion | -40 Deep Freezer Model: DF 40 U  Make-Terumo Penpol Mfg: Terumo Penpol Pvt Ltd  Qty: 01 Nos. | 20-19/Stores/LHMC/HLL/Blood Bank/Sch 40/2015-16/864 Dated 31/12/2015 | 22/03/2016 | Rs. 327000.00 Each + VAT | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC/ Unit  1st 9810  2nd 9810  3rd 9810  4th 9810  5th 9810 |
|  | Immunohematology and Blood transfusion | Helmer platelet agitator & incubator 900i  Quantity – 01 | 24/02/2004 | 08/09/2004 | US $:  5400 | -- | AMC till 20/12/2019 |
|  | Immunohematology and Blood transfusion | Helmer platelet agitator & incubator 1200i  Quantity – 01 | 6.11.2006 | 18.1.2007 | US Dollar 12,487 | Under AMC  TILL 11.1.2020 | Under AMC TILL  11.1.2020 |
|  | Immunohematology and Blood transfusion | Cryofuge 6000i  Quantity – 01 | 28.07.05 | 31.3 2006 | € 23,739.80 | AMC till 17.10.2019 |  |
|  | Immunohematology and Blood transfusion | Baxter Optipress  Quantity – 01 | 28.10.2005 | 11.11.2005 | US$ 18,000 | Warranty till 10.11.2008 | - |
|  | Immunohematology and Blood transfusion | MCS +Hemonetics cell separator( Apheresis)  Quantity – 01 | 26.3.09 | 8.6.09 | Rs 13,95,000 | Warranty till 2012 |  |
|  | Immunohematology and Blood transfusion | Haier ULT deep freezer ( -80O C)  Quantity – 01 | Purchase through NACO | 3.5.2010 | Details with NACO | Warranty till 2013 | AMC till 31.5.2020 |
|  | Immunohematology and Blood transfusion | Fresenius kabi Compodock  Quantity – 01 | 15.11.2011 | 3.5.2013 | Rs 9,49,995.00 | Warranty till 2.5.2018 | AMC till 2.5.2023 |
|  | Immunohematology and Blood transfusion | Fresenius Kabi Biomixer  Quantity – 02 | 15.11.2011 | 17.7.2012 | Rs 2,49,984.00 | Warranty till 17.7.2017 | CMC till 17.7.2022 |
|  | Immunohematology and Blood transfusion | Fresenius Kabi Bench top tube sealer  Quantity – 02 | 15.11.2011 | 23.8.2012 | Rs 2,79,990.00 | Warranty till 22.8.2017 | CMC till 22.8.2022 |
|  | Immunohematology and Blood transfusion | Fresenius Kabi Portable tube sealer (Composeal)  Quantity – 02 | 15.11.2011 | 23.8.2012 | Rs 2,79,990.00 | Warranty till 22.8.2017 | CMC till 22.8.2022 |
|  | Immunohematology and Blood transfusion | Biorad 680XR ELISA READER  Quantity – 01 | 11.8.2011 | 11.2.2012 | Rs 5,99,400.00 | Warranty 2015 | AMC till 10.2.2020 |
|  | Immunohematology and Blood transfusion | Biorad PW40 ELISA WASHER  Quantity – 01 | 11.8.2011 | 11.2.2012 | Rs 5,99,400.00 | Warranty 2015 | AMC till 10.2.2020 |
|  | Immunohematology and Blood transfusion | ELISA Microplate Washer, Model: PW 40  Make-Bio Rad Mfg: Bio Rad Supplier: Vinay Brother Diagnostics Qty: 01 Nos. | Stores/LHMC/LTE/Blood Bank/22/7/14/785 Dated 08/12/2015 | 21/03/2016 | Rs. 349740.00 Each + VAT | Warranty: 3 years from the date of installation + 7 years CMC | 7 years CMC/ Unit  1st 20000  2nd 20000  3rd 20000  4th 20000  5th 20000 6th 20000  7th 20000 |
|  | Immunohematology and Blood transfusion | ELISA Microplate Reader, Model: PR4100  Make-Bio Rad Mfg: Bio Rad Supplier: Vinay Brother Diagnostics Qty: 01 Nos. | Stores/LHMC/LTE/Blood Bank/22/7/14/786 Dated 08/12/2015 | 21/03/2016 | Rs. 599940.00 Each + VAT | Warranty: 3 years from the date of installation + 7 years CMC | 7 years CMC/ Unit  1st 30000  2nd 30000  3rd 30000  4th 30000  5th 30000  6th 30000  7th 30000 |
|  | Immunohematology and Blood transfusion | Sterile Connecting Device, Model: TSCD-II  Make-Terumo Penpol Mfg: Terumo Penpol Pvt Ltd  Qty: 02 Nos. | 20-20/Stores/LHMC/HLL/Blood Bank/Sch 45/2015-16/812 Dated 11/12/2015 | 05/03/2016 | Rs. 700000.00 Each + VAT | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC/ Unit  1st 21000  2nd 21000  3rd 21000  4th 21000  5th 21000 |
|  | Immunohematology and Blood transfusion | Blood Mixer & Collector , Model:-  Make-Macropharma Mfg: Macropharma Supplier: Vinay Brother Diagnostics Qty: 02 Nos. | Stores/LHMC/LTE/Blood Bank/22/7/14/783 Dated 08/12/2015 | 21/03/2016 | Rs. 333000.00 Each + VAT | Warranty: 3 years from the date of installation + 7 years AMC | 7 years AMC/ Unit  1st 8000  2nd 8000  3rd 8000  4th 8000  5th 8000  6th 8000  7th 8000 |
|  | Immunohematology and Blood transfusion | Terumopenpol table top tube sealer  Quantity – 03 | 11.5.2016 | 19.5.2016 | Rs 2,62,529.43 | Warranty till 18.5.2021 | CMC till 18.5.2026 |
|  | Immunohematology and Blood transfusion | Biosealer (Hand Held), Model: LM100 E  Make-Terumo Penpol Mfg: Terumo Penpol Pvt Ltd  Qty: 01 Nos. | 20-25/Stores/LHMC/HLL/Blood Bank/Sch 31/2015-16/881 Dated 04/02/2016 | 22/03/2016 | Rs. 104000.00 Each + VAT | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC/ Unit  1st 3120  2nd 3120  3rd 3120  4th 3120  5th 3120 |
|  | Immunohematology and Blood transfusion | ID Centrifuge L  Quantity – 01 | 27.7.2017 | 2.8.2017 | Rs 1,40,420.00 | Warranty till 1.8.2022 | CMC till 1.8.2027 |
|  | Immunohematology and Blood transfusion | Blood Bank Refrigerator Model: BBR 600G  Make-Terumo Penpol Mfg: Terumo Penpol Pvt Ltd  Qty: 02 Nos. | 20-21/Stores/LHMC/HLL/Blood Bank/Sch 39/2015-16/880 Dated 04/01/2016 | 22/03/2016 | Rs. 190000.00 Each + VAT | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC/ Unit  1st 5700  2nd 5700  3rd 5700  4th 5700  5th 5700 |
|  | Immunohematology and Blood transfusion | Reagent Refrigerator (600 L) Model: RRF 600L G/S  Make-Terumo Penpol Mfg: Terumo Penpol Pvt Ltd  Qty: 01 Nos. | 20-23/Stores/LHMC/HLL/Blood Bank/Sch 43/2015-16/882 Dated 04/02/2016 | 22/03/2016 | Rs. 199150.00 Each + VAT | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC/ Unit  1st 5992  2nd 5992  3rd 5992  4th 5992  5th 5992 |
|  | Immunohematology and Blood transfusion | Blood Collection Monitor Model: D-601  Make-Terumo Penpol Mfg: Terumo Penpol Pvt Ltd  Qty: 04 Nos. | 20-22/Stores/LHMC/HLL/Blood Bank/Sch 29/2015-16/858 Dated 31/12/2015 | 22/03/2016 | Rs. 68500.00 Each + VAT | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC/ Unit  1st 2740  2nd 2740  3rd 2740  4th 2740  5th 2740 |
|  | Immunohematology and Blood transfusion | Portable Hemoglobinometer , Model: Hemo Control Photometer  Make—  Mfg: - Supplier: Vinay Brother Diagnostics Qty: 02 Nos. | Stores/LHMC/LTE/Blood Bank/22/7/14/784 Dated 08/12/2015 | 17/02/2016 | Rs. 49950.00 Each + VAT | Warranty: 3 years from the date of installation + 7 years CMC | 7 years CMC/ Unit  1st 7000  2nd 7000  3rd 7000  4th 7000  5th 7000  6th 7000  7th 7000 |
|  | Immunohematology and Blood transfusion | Plasma Thawing Bath/Machine  Terumo Penpol Model: PB100 (Imported) No. 01, Supplier: M/s Bristal Healthcare | 10/06/2016 | 02/08/2016 | Rs. 130000.00 + VAT | Warranty: 02 years from the date of installation + 3 years free AMC | 3 years free AMC |
|  | Immunohematology and Blood transfusion | Platelet Agitator with Incubator  Model: PR 22+ PRA 22, And ISO ETC  Supplier: M/s Rahul Diagnostics & Surgicals  Qty: 01 No. | 32-215/Store/LHMC/BB/2018-19/Sch No. 67/245  Dated : 31/05/2019 | 03/07/2019 | 3,58,000.00 Each + Tax | Warranty: 5 years from the date of installation + 5 years CMC Free of Cost | 5 years CMC/Unit  1st FOC  2nd FOC  3rd FOC  4th FOC  5th FOC |
|  | Immunohematology and Blood transfusion | Column Agglutination Technology Based Card Centrifuge & Incubator  Model: ID Incubator -37SII & ID Centrifuge 245 (Bio-Rad)  Supplier: M/s Vinay Brothers Diagnostics  Qty: 01 No. | 32-236/Store/LHMC/AT/ME/College/Path/2017/Sch 66/67  Dated : 22/04/2019 | 26/04/2019 | 5,99,940.00 Each + Tax | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC/Unit  1st 40000  2nd 40000  3rd 40000  4th 40000  5th 40000 |
|  | Dental | Vital Sign Monitor Colin Omron Healthcare Singapore  BP-88S Max Supplier: Hospimedica International | SO No.: 878 Dt: 06/03/2006 | 2006 | Rs. 298488.00 | Warranty: 3 years | Under AMC |
|  | Dental | Dental Chair  Qty: 03 | Under Germany Govt. Grant | 1997 | NA |  | Under AMC |
|  | Dental | Dental Imaging system  Qty: 1no | 138 dated 29.5.14 | 10.7.14 | 565900.00 | Warranty 2 years from the date of installation AMC 5 years | -- |
|  | Dental | Dental X-ray unit  Qty: I nos | 137 dated 29.5.14 | 10.7.14 | 187000.00 | Warranty 2 years CMC 5 years | -- |
|  | Dental | Electrically operated programmable dental chair  Qty: 3 nos | 136 dated 29.5.14 | 12.8.14 | 577300.00 | Warranty 2 years CMC 5 years | -- |
|  | Dental | Portable Dental Chair with Light & Spitton  Model: Best Dental  Qty: 02 | Stores/LHMC/LT/Dental-Equip-Centre/14-15/291  Dt: 14/06/2016 | 22/09/2016 | Rs. 87900.00 each VAT including | Warranty: 2 years from the date of installation + 3 years AMC | 5 years AMC  1st 4175  2nd 5054  3rd 6812 |
|  | Dental | Dental Digital Portable IOPA X- Ray System Qty: 02 | Stores/LHMC/LT/Dental-Equip-Centre/14-15/291  Dt: 14/06/2016 | 22/09/2016 | Rs.159000.00 each + VAT @ 5 % | Warranty: 2 years from the date of installation + 3 years AMC | 5 years AMC  1st 7552.50  2nd 9142.50  3rd 12322.50 |
|  | Dental | Digital Dental Imaging System  Qty: 02 | Stores/LHMC/LT/Dental-Equip-Centre/14-15/291  Dt: 14/06/2016 | 22/09/2016 | Rs. 565900.00 each + VAT @ 5 % | Warranty: 2 years from the date of installation + 3 years AMC | 5 years AMC  1st 26880.25  2nd 32539.25  3rd 43857.25 |
|  | Dental | Portable Dental Unit  Qty: 02 | Stores/LHMC/LT/Dental-Equip-Centre/14-15/291  Dt: 14/06/2016 | 22/09/2016 | Rs. 197500.00 each + VAT @ 5 % | Warranty: 2 years from the date of installation + 3 years AMC | 3 years AMC  1st 9381.25  2nd 11356.25  3rd 15306.25 |
|  | Dental | Vacuum Former  Mfg: Anand Mediproducts Pvt. Ltd.  Supplier: M/s ALB Surgicals Pvt. Ltd.  Qty: 01 No. | No.Stores/LHMC/13-14/ME/Hosp./Sch.129/139 Dated 29-05-2014 | 29-05-2014 | Rs. 27500.00 + Vat @ 5% | Warranty: 3 years from the date of installation + 3 years CMC | 3 years CMC  1st 17095.00  2nd 17095.00  3rd 17095.00 |
|  | Dermatology & Skin | Whole body phototherapy | 4/98 | 4/98 | Dm:  37.000/- | -- | -- |
|  | Dermatology & Skin | Whole body phototherapy unit  (Modal: NBUNB) | 8/08 | 8/10/08 | Rs.  8.50.000/- | -- | -- |
|  | Dermatology & Skin | Deep Freezer  (-30degree) | 8/08 | 8/10/08 | Euro:  7.000/- | -- | -- |
|  | Dermatology & Skin | Surgical Diathermy Machine | 1/08 | 12/02/08 | Rs.  1.5 lakh | -- | -- |
|  | Dermatology & Skin | Radio therapy | 7/05 | 23/9/05 | Rs.  3.01.000/- | -- | -- |
|  | Dermatology & Skin | Radiofrequency unit | 5/08 | 21/7/08 | Rs.  3.5 lakh | -- | -- |
|  | Dermatology & Skin | Microdermabrasion with auto epidermal vaccume | 4/08 | 6/08 | Rs.  1.99.000/- | -- | -- |
|  | Dermatology & Skin | Hyfrecator  Qty:03 | Stores/LHMC/13-14/ME/Hosp/Sch.56/681 Dated 07/10/14 | 21/12/2014 | Rs. 205000.00 Per Unit + VAT | Under  Warranty  & CMC for Next 05 Years | -- |
|  | Dermatology & Skin | Mesopen  Qty: 01 | Stores/LHMC/LTE/Dermatology/20/11/14/90  Dated: 25/04/2015 | 14/05/2015 | Rs. 66000.00 Each | Warrantee for 01 Year | -- |
|  | Dermatology & Skin | Mesogun  Qty: 1 | Stores/LHMC/LTE/Dermatology/20/11/14/88 Dated: 25/04/2015 | 14/05/2015 | Rs. 92500.00 Each | Warrantee for 01 Year | -- |
|  | Dermatology & Skin | Woods Lamp  Qty: 04 | Stores/LHMC/LTE/Dermatology/20/11/14/91 Dated: 25/04/2015 | 14/05/2015 | Rs. 12000.00 Each | Warrantee for 01 Year | -- |
|  | Dermatology & Skin | Dermajet  Qty: 02 | Stores/LHMC/LTE/Dermatology/20/11/14/87  Dated: 25/04/2015 | 14/05/2015 | Rs. 24000.00 Each | Warrantee for 01 Year | -- |
|  | Dermatology & Skin | Digital Ionophoresis  Qty: 01 | Stores/LHMC/LTE/Dermatology/20/11/14/89 Dated: 25/04/2015 | 14/05/2015 | Rs. 32000.00 Each | Warrantee for 01 Year | -- |
|  | Dermatology & Skin | Automatic Shoe Cover Dispenser  Model: MI 160E Elite  Qty: 01 No.  Supplier: M/s Altis Healthcare | 32-128/Stores/LHMC/Derma/2017-18/1320 Dated: 20/01/2018 | 27-03-2018 | Rs. 95500.00 + Tax | Warrantee for 02 years | -- |
|  | Dermatology & Skin | PRP Centrifuse  Qty. 01 No.  Supplier: M/s Medi-Tech Solutions | 32-107/Stores/LHMC/2017-18/979 Dated 02-11-2017 | 12-05-2018 | Rs. 211000.00 + tax | Warrantee for 01 year | -- |
|  | Dermatology & Skin | Led Head Light easy to wear Head Loupe with Spot Light  Qty: 01 No.  Supplier: M/s Medi-Tech Solutions | 20-70/Store/LHMC/SQ/Skin/2017/577 Dated: 23-08-2017 | 12-05-2018 | Rs. 195000.00 + Tax | Warrantee for 02 years | -- |
|  | Dermatology & Skin | USB Dermatoscope Camera  Qty: 01 No.  Supplier: M/s Medi-Tech Solutions | 20-69/Store/LHMC/SQ/Skin/2017/720 Dated 16-09-2017 | 12-05-2018 | Rs. 127000.00 + Tax | Warranty for 02 years | -- |
|  | E.N.T. | Surgical Operating Microscope Zeiss OPM Sensera | February 2009 | February 2009 | Euro 25200 | -- | -- |
|  | E.N.T. | Video Laryngoscope  Karl Storz | August 2008 | August 2008 | Rs. 250000.00 | -- | -- |
|  | E.N.T. | Image Capuring & Data Management System | May 2009 | May 2009 | Euro 22621 | -- | -- |
|  | E.N.T. | Electro surgical unit | April 2008 | April 2008 | Rs 395000.00 | -- | -- |
|  | E.N.T. | Diagnostic Audiometer  Audiolab | March 2013 | March 2013 | Rs. 600000.00 | -- | -- |
|  | E.N.T. | Diagnosite audiometer-audiolab  Qty: 1 no | 1378 dated 20.3.14 | 17.7.14 | 594000.00 | Warranty 5 years CMC 5 years | -- |
|  | E.N.T. | Nasel telescope4mm 70 degree  Qty: 2 no | 109 dated 16.5.14 | 11.8.14 | 121000.00 | Warranty 5 years from the date of installation. | -- |
|  | E.N.T. | Nasel telescope4mm 45 degree  Qty: 2 no | 110 dated 16.5.14 | 11.8.14 | 121000.00 | Warranty 5 years from the date of installation. | -- |
|  | E.N.T. | Nasel telescope4mm 0 degree  Qty: 4 no | 317 dated 9.7.14 | 21.8.14 | 121000.00 | Warranty 5 years from the date of installation. | -- |
|  | E.N.T. | Nasel telescope4mm 30 degree  Qty: 04 no | 115 dated 19.5.14 | 21.8.14 | 125000.00 | Warranty 5 years from the date of installation. | -- |
|  | E.N.T. | O.A.E. Screening  Model: Neuro Audio Screen Touch/OAE  Make: Neurosoft  Qty: 01 No. | 20-33/Stores/LHMC/ ENT/HLL/2015-16/1058 Dated : 01/03/2016 | 16/04/2016 | 299000.00 + VAT | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC  1st 10000  2nd 12000  3rd 14000  4th 16000  5th 16000 |
|  | E.N.T. | Impedence Tympanometer  Model: MI-44  Make: MAICO Diagnostics GmbH Germany  Qty: 01 No. | 20-32/Stores/LHMC/ ENT/HLL/2015-16/1063 Dated : 02/03/2016 | 15/03/2016 | 500000.00 + VAT | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC  1st 14500  2nd 15000  3rd 17000  4th 18800  5th 20600 |
|  | E.N.T. | Pure Tone Audiometer  Model: MA-42  Make: MAICO Diagnostics GmbH Germany  Qty: 01 No. | 20-34/Stores/LHMC/ ENT/HLL/2015-16/1062 Dated : 02/03/2016 | 19/05/2016 | 458800.00 + VAT | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC  1st 13000  2nd 14300  3rd 15700  4th 17300  5th 19000 |
|  | E.N.T. | Cautery Machine with Vessel Sealing  Model: Combi Max (MBXVX)  Qty: 01 No. | 20-38/Stores/LHMC/ ENT/HLL/2015-16/1077 Dated : 12/03/2016 | 29/06/2016 | 744760.00 Including VAT | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC  1st 6000  2nd 6000  3rd 6000  4th 6000  5th 6000 |
|  | E.N.T. | Electro Surgical Unit  Make: Gebruder Martin GmbH  Model: Combi Max MEMB3  Qty: 01 No.  Supplier: M/s Vishal Surgical Equipment Company | 32-05 /Stores/LHMC/ ENT/2016-17/Sch No. 79/1254 Dated : 10/02/2017 | 30/03/2017 | Rs. 372000.00 + VAT | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC  1st 2000  2nd 2500  3rd 3000  4th 3500  5th 4000 |
|  | E.N.T. | ENT OT Table  Model: PSI Legend GS Multipurpose Motorized Surgical Table  Make: Palakkad Surgical Industries Pvt. Ltd.  Qty: 01 No.  Supplier: M/s Jolly Technocrats | 32-3 /Stores/LHMC/ ENT/2016-17/52 Dated : 18/04/2017 | 04/05/2017 | Rs. 380000.00 + VAT | Warranty: 3 years from the date of installation + 5 years CMC | 5 years CMC  1st 15200  2nd 17100  3rd 19000  4th 20900  5th 22800 |
|  | E.N.T. | High Pressure Noiseless Suction Machine  Model: Vaculine Maxi  Make: Bicakcilar  Supplier: M/s Rahul International  Qty: 07 No. | 32-1 /Stores/LHMC/Anaesh/2016-17/58 Dated : 20/04/2017 | 03/05/2017 | Rs. 159000.00 + VAT | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC  1st 4770  2nd 4770  3rd 4770  4th 4770  5th 4770 |
|  | E.N.T. | Rhinolaryngo Fiberoscope  Model: FNL15RP3  Make: Pentax  Supplier: M/s Shalya International  Qty: 07 No. | 32-36 /Stores/LHMC/ENT/2016-17/268 Dated : 01/06/2017 | 19/07/2017 | Rs. 471000.00 + VAT | Warranty: 3 years from the date of installation + 5 years CMC | 5 years CMC  1st 500  2nd 500  3rd 500  4th 500  5th 500 |
|  | E.N.T. | OT Table Electrohydraulic  Model: DIAMOND 60 BLK  Make: Schmitz U Sohne GmbH & Company  Supplier: M/s Indian Surgical Co. Pvt. Ltd.  Qty: 01 No. | Stores/LHMC/HLL/ENT/2016-17/292 Dated : 14/06/2016 | 09/01/2017 | 40163.02 EURO (CIP Price) | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC  1st 35000  2nd 35000  3rd 35000  4th 35000  5th 35000 |
|  | E.N.T. | Surgical Drill System  Model: XOMED Meditronix  Make: Meditronix  Supplier: M/s Mediworks  Qty: 02 No. | 32-06/Stores/LHMC/ENT/2016-17/1279 Dated : 21/02/2017 | 19/07/2017 | Rs. 1163279.00 + VAT | Warranty: 3 years from the date of installation + 7 years CMC | 7 years CMC  1st 3000  2nd 3000  3rd 3000  4th 3000  5th 3000  6th 3000  7th 3000 |
|  | E.N.T. | Video Stroboscope  Model: CLL-S1  Make: Olympus  Supplier: M/s Medilife Technologies  Qty: 01 No. | 32-55/Stores/LHMC/ENT/2016-17/1433 Dated : 22/03/2017 | 30/11/2017 | Rs. 2190000.00 + VAT | Warranty: 3 years from the date of installation + 5 years CMC | 5 years CMC  1st 16743  2nd 18418  3rd 20259  4th 22285  5th 24515 |
|  | E.N.T. | Recovery Ward Monitor  Model: Bene View T5  Mfg: M/s M.R. Investment (HK) Ltd. Hongkong  Supplier: M/s Instromedix (India) Pvt. Ltd.  Qty: 06 No. | Stores/LHMC/HLL/ENT/2016-17/339 Dated : 04/07/2016 | 02/03/2017 | 3556 USD CIP Price | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC  1st 6200  2nd 6200  3rd 6200  4th 6200  5th 6200 |
|  | E.N.T. | Bronchoscopy  Model: Bene View T5  Make: Richard Wolf GmbH  Supplier: M/s Eagle Medical System Pvt. Ltd.  Qty: 01 Set. | Stores/LHMC/HLL/ENT/2016-17/407 Dated : 26/07/2016 | 04/05/2017 | 20080 EURO CIP Price | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC  1st 17655  2nd 17655  3rd 17655  4th 17655  5th 17655 |
|  | E.N.T. | LED Head Light  Make: M/s Karl Storz GmbH, Germany  Supplier: M/s Karl Storz Endoscopy India Pvt. Ltd.  Qty: 02 Nos. | Stores/LHMC/HLL/ENT/2016-17/299 Dated : 15/06/2016 | 02/03/2017 | 1035 EURO CIP Price | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC  1st 1700  2nd 2000  3rd 2600  4th 3000  5th 3400 |
|  | E.N.T. | Flexible Rhino-Pharyngo-Laryngoscope  Make: M/s Karl Storz GmbH, Germany  Supplier: M/s Karl Storz Endoscopy India Pvt. Ltd.  Qty: 01 Nos. | Stores/LHMC/HLL/ENT/2016-17/299 Dated : 15/06/2016 | 02/03/2017 | 5005 EURO CIP Price | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC  1st 8000  2nd 10000  3rd 12000  4th 14000  5th 16000 |
|  | E.N.T. | Esophagoscopy  Model: Bene View T5  Make: M/s Karl Storz GmbH, Germany  Supplier: M/s Karl Storz Endoscopy India Pvt. Ltd.  Qty: 01 Set. | Stores/LHMC/HLL/ENT/2016-17/299 Dated : 15/06/2016 | 02/03/2017 | 10758.72 EURO CIP Price | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC  1st 18000  2nd 22000  3rd 27000  4th 31000  5th 35000 |
|  | E.N.T. | Fiberoptic Bronchoscope- Paediatric  Make: M/s Karl Storz GmbH, Germany  Supplier: M/s Karl Storz Endoscopy India Pvt. Ltd.  Qty: 01 Nos. | Stores/LHMC/HLL/ENT/2016-17/299 Dated : 15/06/2016 | 02/03/2017 | 15050 EURO CIP Price | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC  1st 28000  2nd 35000  3rd 42000  4th 49000  5th 56000 |
|  | E.N.T. | LED Operation Microscope with Camera  Make: Nil  Supplier: M/s Jullunder Surgical Work  Qty: 01 Nos. | 31-51/Stores/SQ/Op Microscope/ENT/2017/1120 Dated : 06/12/2017 | 14/12/2017 | Rs. 125500.00 + GST | Warranty: 3 years from the date of installation (Including UPS)+ 7 years CMC | 7 years CMC mot asked by the department |
|  | E.N.T. | Recovery Ward Monitor  Model: Bene View T5  Supplier: M/s M.R. Investme3nts (HK) Ltd. Through M/s Instromedix (india) Pvt. Ltd.  Qty: 06 Nos. | Stores/LHMC/HLL/ENT/2016-17/339 dated 04-07-2016 | 02-03-2017 | US$ 3680.00 + Commission + Carriage + Insurance & Freight + CIP | 5 years CMC | 5 years CMC (each)  1st 6200  2nd 6200  3rd 6200  4th 6200  5th 6200 |
|  | E.N.T. | Endonasal DCR Set (without Halogen Lamp Source)  Make: ELCON Medical Instruments GMbH, Germany  Supplier: M/s Link Medical System  Qty: 01 No. | 32-117/Stores/LHMC/Optha/2017-18/562 dated 11/08/2018 | 13-09-2018 | Rs. 778380 + GST | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC (each)  1st 10000  2nd 11000  3rd 12100  4th 13310  5th 14641 |
|  | E.N.T. | Microdebrider  Make: Medtronic  Model: XPS NEXUS Console Medtronic Xomed USA along with accessories  Supplier: M/s Medi Works  Qty: 01 No. | 32-1/Stores/LHMC/2016-17/241 Dated 30-05-2018 | 12-11-2018 | Rs. 1218645.53 + GST @ 12% | Warranty: 3 years from the date of installation + 5 years CMC | 5 years CMC (each)  1st 3000  2nd 3000  3rd 3000  4th 3000  5th 3000 |
|  | E.N.T. | Temporal Bone Dissection Work Station  Model: GTW – 4792  Supplier: M/s GEM Optics Instruments Industries  Qty: 01 No. | 32-191/Stores/LHMC/SQ/2018-19/1155 Dated 03-01-2019 | 06-02-2019 | Rs. 2,15,803.53 + GST | Warranty: 01 year from the date of installation + | AMC/CMC Not Asked For |
|  | E.N.T. | High Vacuum Noiseless Suction Machine (ALSA) Model | ALSA, MODEL # SUPERSUCTION 4/T EXP  Qty: 11 Nos. (Common)  COT: 3  ENT: 5  Nursery: 2  CB-II: 1  Supplier: M/s Manav Electronics | GEMC-511687744964457 dt. 07-03-2019 | 09/03/2019 | Rs. 220500.00 + GST extra (Per unit) | Not Mentioned | No Provision |
|  | Eye | Operating Microscope  2 Nos | 2001  2008 | 2001  2008 | DM:58094  Euro:37.993 | -- | -- |
|  | Eye | Phacoemulsification  1 Nos | 2008 | 2008 | Euro 37993 | -- | -- |
|  | Eye | Ultrasonography A/B scanner  2 Nos | 1994  2008 | 1994  2008 | J Yen:  2905210  US $  16425 | -- | -- |
|  | Eye | Autorefrectometer  Nikon  1 Nos | 2001 | 2001 | J Yen  989460 | -- | -- |
|  | Eye | Yag Laser NPCB | 5/2002 | 5/2002 | Rs.  850000.00 | -- | -- |
|  | Eye | Visual Field Analyzer  Auto Perimeter | 3/2008 | 3/2008 | USD 16425 | -- | -- |
|  | Eye | Fundus Camera Zeiss | 6/2008 | 6/2008 | Euro:  25867 | -- | -- |
|  | Eye | Green Laser photo coagulator  Zeiss | May 2008 | August 2008 | Euro:  354452 | -- | -- |
|  | Eye | O.T. Table, Model: Rapido, 100001865, Make:M/s Merivaara enterprises, Finland | March 2009 | June 2009 | 10 lakh | -- | -- |
|  | Eye | Plasma Sterilizer  Model/Make : Derun Tech | 10/01/2013 | 01/06/2013 | 2570054 | Warranty 5 years 5 year AMC | -- |
|  | Eye | Dual frequency radio surgical knife  Make: Ellman USA  Qty: 1 no | 505 dated 8.8.13 | 7.10.13 | 1601776.00 | Warranty 2 years AMC 5 years | -- |
|  | Eye | Alcon Laureate world Phacoemulsification  Qty: 1 no | 1006 dated 31.1.13 | 11.4.13 | 2205000.00 | Warranty 5 years AMC 5 years | -- |
|  | Eye | Ultrasonic pachymeter-Pachette 3  Qty: 1 nos | 1153 dated 4.3.13 | 21.3.13 | 178500.00 | Warranty 3 years AMC 7 years | -- |
|  | Eye | Slit lamp with applanation tonometer and motorized table  Qty: 1 no | 1194 dated 13.3.13 | 10.5.13 | 475000.00 | Warranty 3 years AMC 7 years | -- |
|  | Eye | O.T. Table, Model: Rapido,  100001865, Make:M/s Merivaara enterprises, Finland | 255  Dt. 26.6.2012 | 3.4.2013 | Euro 14422.00  Rs.926613.00 | Warranty: 3 years AMC 7 years | -- |
|  | Eye | Photoslit Lamp  Model: Appaswamy ICM-7  Make: M/s Appaswamy Associates  Qty: 03 | 32-20/Stores/LHMC/Optha/2016-17/1280  Date: 21/02/2017 | 23/03/2017 | Rs. 650000.00 + Tax (Each) | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC Per Unit  1st 20000  2nd 20000  3rd 20000  4th 20000  5th 20000 |
|  | Eye | Photoslit Lamp  Model: Appaswamy ICM-7  Make: M/s Appaswamy Associates  Qty: 01 | 32-20/Stores/LHMC/Optha/2016-17/1323  Date: 22/01/2018 | 12/03/2018 | Rs. 650000.00 + Tax (Each) | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC Per Unit  1st 20000  2nd 20000  3rd 20000  4th 20000  5th 20000 |
|  | Eye | A-Scan Bio-Meter  Supplier: Appasamy Associates  Qty: 01 | No.Store/SQ/A-Scan Bio Meter/Ophtha/2017/1277 Dated 15-01-2018 | 09-05-2018 | Rs. 200000.00 + Tax | Warranty: 3 years from the date of installation + 5 years CMC | CMC 05 years required |
|  | Eye | Auto Keratotonometer  Model: TRX-2P  Make: M/s Topocan  Qty: 01  Supplier: M/s Mehra Eye Tech Pvt. Ltd | 32-98/Stores/LHMC/Optha/2017-18/970  Date: 02/11/2017 | 18/01/2018 | Rs. 1350000.00 + Tax (Each) | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC Per Unit  1st 28625  2nd 29200  3rd 29780  4th 30375  5th 30985 |
|  | Eye | Operating Microscope with Co-axial Illumination System  Model: AAOM-Brilliant Advent FS-9  Qty: 01  Supplier: M/s Appaswamy Associates | 32-270/Stores/LHMC/2018-19/721  Date: 28/09/2018 | 17/01/2019 | Rs. 8,50,000.00 + Tax (Each) | Warranty: 5 years from the date of installation | 5 years CMC Per Unit  1st NQ  2nd NQ  3rd NQ  4th NQ  5th NQ |
|  | Eye | Non-Contact Tonometer  Model: Reichert 7  Make: Reichert Technologies USA  Qty: 01  Supplier: M/s Appaswamy Associates | 32-337/Stores/LHMC/Ophtha/2019/1387  Date: 08/03/2019 | 26/03/2019 | Rs. 4,50,000.00 + Tax (Each) | Warranty: 2 years from the date of installation | 5 years CMC Per Unit  1st 10000  2nd 10000  3rd 10000  4th 10000  5th 10000 |
|  | Eye | Specular Microscope  Model: Cell Check D  Mgf: M/s Konam Medical Inc. Japan  Qty: 01  Supplier: M/s Appaswamy Associates | 32-105/Stores/LHMC/Ophtha/2017-18/812  Date: 03/10/2017 | 23/02/2019 | USD 28950 | Warranty: 5 years from the date of installation | 5 years CMC Per Unit  1st 55000  2nd 55000  3rd 55000  4th 55000  5th 55000 |
|  | Eye | Higher End Vitrectomy Machine  Brand: Alcon  Model: Constellation Table Top  Mgf: Alcon Qty: 01  Supplier: M/s Emco Tech Equipments | 32-338/Stores/LHMC/Ophtha/2019/1462  Date: 02703/2019 | 29/03/2019 | Rs. 55,72,261.00 + Tax | Warranty: 3 years from the date of installation | 5 years CMC Per Unit  1st 150491  2nd 158015  3rd 165917  4th 174212  5th 182922 |
|  | Forensic Medicine & Toxicology | Dead Body Digital Weighing Scale  Model: YSI 176  Supplier: M/s Yorco Sales Pvt. Ltd.  Qty. 01 | 32-129/Stores/LHMC/FMT/2017-18/1126 Dated 08/12/2017 | 26/12/2017 | Rs. 135000.00 + Tax | Warranty: 1 years from the date of installation | -- |
|  | Forensic Medicine & Toxicology | Embalming Machine  Model: YSI-170  Supplier: M/s Yorco Sales Pvt. Ltd.  Qty. 01 | 32-129/Stores/LHMC/FMT/2017-18/1124 Dated 08/12/2017 | 26/12/2017 | Rs. 84000.00 + Tax | Warranty: 1 years from the date of installation | -- |
|  | Forensic Medicine & Toxicology | Mobile Shadow less OT Light with Single Dome  Model: Coolex- MS20  Make: Multilux Hospital Technology Supplier: M/s Marino International  Qty. 02 | 32-21/Stores/SQ/FMT/ME/2017/1168 Dated 20/12/2017 | 28/02/2018 | Rs. 68000.00 + Tax Per Unit | Warranty: 1 years from the date of installation | -- |
|  | Forensic Medicine & Toxicology | Autoclave Vertical Cylindrical Type Steam Sterilizer Pressure Type  Model: ESTA 106  Make: Esteem Ind. Inc. Supplier: M/s Marino International  Qty. 01 | 32-21/Stores/SQ/FMT/ME/2017/1169 Dated 20/12/2017 | 21/03/2018 | Rs. 82000.00 + Tax Per Unit | Warranty: 1 years from the date of installation | -- |
|  | Forensic Medicine & Toxicology | Autopsy Saw  Qty 1 | 31/147/Store/LHMC/SQ/FMT/298/303 | 17-06-2019 | Rs.  87500 +  Tax per unit | Warranty: 1 years from the date of installation | Warranty 1 year, CMC 5 years |
|  | Forensic Medicine & Toxicology | Binocular loop  Qty 3 | 32-404/Store/LHMC/FMT/2018-19/301 | 17-06-2019 | Rs.  73809.50 +  Tax per unit | Warranty: 1 years from the date of installation | -- |
|  | Forensic Medicine & Toxicology | Magnu microscope Model  MLXI -M  Qty 18 | Store/LHMC/Collage/Moxo micro copse  2013-14/1231 | 20-03-14 | Rs.  17700.00 +  Tax per unit | Warranty: 2 years from the date of installation | AMC 5 YEARS |
|  | Forensic Medicine & Toxicology | Digital Spectrophotometer  Visible Type  Qty : 01 | 32-405/Store/LHMC/FMT/2018-19/118 | 06/05/2019 | Rs,  50000 +  Tax per unit | Warranty: 5 years from the date of installation | Onsite warranty 5 years with spare parts |
|  | Forensic Medicine & Toxicology | Digital PH Meter Qty : 01 | 32-405/Store/LHMC/FMT/2018-19/118 | 06/05/2019 | Rs  9000 +  Tax per unit | Warranty: 3 years from the date of installation |  |
|  | Forensic Medicine & Toxicology | Dead Body Digital Weighing Scale  Model YSI 176  Qty : 01 | 32-129/Store/LHMC/FMT/2017-18/1126 | 08/12/2017 | Rs.  135000.00 +  Tax per unit | Warranty: 1 years from the date of installation |  |
|  | Obstt. & Gynae | Vital sigh monitor(4) | 6/08 | 8/08 | 1.19000/- | -- | -- |
|  | Obstt. & Gynae | CTG  (4 Nos) | 9/06 | Nov 06 | 2.18 Lac | -- | -- |
|  | Obstt. & Gynae | USG Machine  Do | 1/09  3/02 | 2/09  5/02 | Rs.8.50.000/-  Rs.9.35.000/- | -- | -- |
|  | Obstt. & Gynae | Colposcope | -- | 3.11.98 | Rs.  5 lakh | -- | -- |
|  | Obstt. & Gynae | Electrosurgical Leep unit | -- | 11.6.02 | Rs.2.95.Lac | -- | -- |
|  | Obstt. & Gynae | Cryo cautery | -- | 1995 | Rs.  2.5 lakh | -- | -- |
|  | Obstt. & Gynae | Lap ligation  Set (laparoscope) 6 Nos | 2 in Aug.  2006  4 in Aug.07 | Aug.06  Aug.2007 | Rs.9.54.600/-  Rs.19.28.430/- | -- | -- |
|  | Obstt. & Gynae | Operating  Microscope | 1998 | 1998 | Rs.5 lakh | -- | -- |
|  | Obstt. & Gynae | Electrosurgical Unit  (2 Nos) | 21.3.07 | 31.7.07 | Rs.  3.90.000/-  Each | -- | -- |
|  | Obstt. & Gynae | NIBP Monitor | -- | 2005 | Rs.  2.98.000 | -- | -- |
|  | Obstt. & Gynae | Thermachoice Balloon | 2002 | 2002 | Rs.  7.5 lakh | -- | -- |
|  | Obstt. & Gynae | Examination couch ( 10 nos ) | -- | 23.3.2010 | 1625000.00 | -- | -- |
|  | Obstt. & Gynae | Portable Ventilators  Model: Elises-150  Make: Resmed  Supplier: M/s Instromedix India Pvt. Ltd.  Qty: | Received from HSCC in 2009 as Aid | 2009 | Rs. 395641.00 | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC  (Per Unit)  1st 10000  2nd 10000  3rd 10000  4th 10000  5th 10000 |
|  | Obstt. & Gynae | Colour Doppler | 12.1.2010 | 20.6.2010 | 1857903.00 | -- | -- |
|  | Obstt. & Gynae | Harmonic scalpal | 23.8.2010 | 4.10.2010 | 2811179.00 | -- | -- |
|  | Obstt. & Gynae | Hopkins II forward oblique telescope 300 | 12.5.2011 | -- | 579600.00 | -- | -- |
|  | Obstt. & Gynae | Cat No.26168J MangeshiKar Uterine Mobilizar + Accessories (Rs.274872/-) | 18.07.2012 | -- | 601272.00 | -- | -- |
|  | Obstt. & Gynae | NIBP monitor4nos | -- | -- | 231525.00 | -- | -- |
|  | Obstt. & Gynae | Ultrasonic cutery consisting of Harmonic Scalpel with accessories | 29.9.2010 | -- | 2811179.00 | -- | -- |
|  | Obstt. & Gynae | Horizon Cylinders High Pressure Steam Sterilizer | 27.4.2010 | -- | 694050.00 | -- | -- |
|  | Obstt. & Gynae | Colour Doppler | 26.5.2010 | -- | 176630.00 | -- | -- |
|  | Obstt. & Gynae | Antepartum and IntrapartumFeatal Monitor (CTG Machine)  (4 Nos) | 08.09.2012 | -- | 145000.00 | -- | -- |
|  | Obst & Gynae | OT Light-philips M70 and S50  Qty: 02 nos | Stores/LHMC/13-14/ME/Hosp/Sch64/1418 dated 31.3.14 | Gynae main OT-14.8.14  F..P. OT-14.8.14 | Rs. 425000.00 + VAT | Warranty: 5 years from the date of installation + 5 years CMC | -- |
|  | Obst & Gynae | Suction Machine  Qty: 5 nos. | Stores/LHMC/13-14/ME/Hosp/Sch40/1327 dated 13.3.14 | Mty-IV- 10.5.14/1  F..P. OT-10.5.14/4 | Rs.182160.00 + VAT | Warranty: 5 years from the date of installation + 5 years AMC | -- |
|  | Obst & Gynae | Vital Sign Monitors  Qty : 6 Nos | Stores/LHMC/13-14/ME/Hosp/Sch49/1407 dt : 25/03/2014 | 06/09/2014 | Rs. 167977.00 Per Unit + VAT | Warranty: 5 years from the date of installation + 5 years CMC | -- |
|  | Obst & Gynae | Electosurgical Cautri  Qty : 4 Nos | 1415 Dated 29/03/2014 | 01/12/2014 | Rs. 441000.00 + VAT | Warranty: 5 years from the date of installation + 5 years AMC | -- |
|  | Obst & Gynae | Patient Warming System (ICU)  Qty : 2 Nos | 372 Dated 30/07/2014 | 03/12/2014 | 294500 x 02 = 589000.00 | Warranty: 2 years from the date of installation + 5 years CMC | -- |
|  | Obst & Gynae | Post Operative Beds Qty:04 | Stores/LHMC/13-14/ME/Hosp/Sch39/62 dt : 1/05/2014 | 07/01/2014 | GBP 2072 Per Unit | Warranty: 5 years from the date of installation + 5 years CMC | -- |
|  | Obst & Gynae | Syringe Infusion Pumps  Qty 12 Nos | Stores/LHMC/13-14/ME/Hosp/Sch17/502 dt : 13/8/2014 | 01/12/2014 | Rs. 310800+ VAT for Qty 12 Nos | Warranty: 2 years from the date of installation + 5 years CMC | -- |
|  | Obst. & Gynae | Mediana D500 Defibrillator with Monitor  Qty: 04 (Out of 17) | Stores/LHMC/13-14/ME/Hosp/Sch1/1252 dt : 26/03/2015 | Anaesthesia  09/05/2015  Gynae  09/06/2015  Medicine  05/05/2015  Psychiatry  01/05/2015 | Rs. 458600.00 + VAT (Per Unit) | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC  1st 10200  2nd 10200  3rd 10200  4th 10200  5th 10200 |
|  | Obst. & Gynae | Electrosurgical Unit with Vessel Sealing Model VIO 300D Mfg: ERBE Electromedizin GmbH Germany Qty : 1 No. | Stores/LHMC/13-14/ME/Hosp/Sch44/51 dt : 21/04/2014 | 07/04/2015 | CIP Price Euro 15126 | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC  1st Free  2nd 10000  3rd 15000  4th 20000  5th 20000 |
|  | Obst. & Gynae | NIBP Machine Model BP868F Make: AP Mall Co. Ltd.  Korea  Qty : 10 Nos. | 32-38/Stores/LHMC/O&G/2016-17/59 dt : 20/04/2017 | 17/05/2017 to 09/06/2017 | Rs. 1,70,000.00 + VAT  (Per Unit) | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC  1st 4000  2nd 250  3rd 250  4th 250  5th 250 |
|  | Obst. & Gynae | Laproscope with Accessories of Operative Laproscopic Set  Model \_\_\_ Make: proMIS.  Germany  Qty : 1 Set. | 32-10/Stores/LHMC/O&G/2016-17/1459 dt : 31/03/2017 | 25/07/2017 | Rs. 749500.00 + VAT | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC  1st 22485  2nd 29980  3rd 37475  4th 44970  5th 52465 |
|  | Obst. & Gynae | LED OT Light Pedestal (Mobile)  Model ALFA-3 Make: Surgident  M/s A. K. Sales Corporations  Qty : 05 Nos. | 32-45/Stores/LHMC/O&G/2016-17/463 dt : 28/07/2017 | 08/12/2017 | Rs. 121533.00 + Tax Per Unit | Warranty: 5 years from the date of installation + 5 years AMC | 5 years CMC  1st 6380  2nd 6380  3rd 6380  4th 6380  5th 6380 |
|  | Obst. & Gynae | Colour Doppler USG Machine  Model Alpha-6 Make: Hitachi Aloka Medical Ltd.  M/s Trivitron Healthcare Pvt. Ltd.  Qty : 01 No. | 32-85/Stores/LHMC/O&G/2017-18/785  dt : 27/09/2017 | 08/01/2018 | Rs. 1505000.00 + Tax Per Unit | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC  1st 85000  2nd 89250  3rd 93713  4th 98398  5th 103318 |
|  | Obst. & Gynae | Hysteroscopy Unit with accessories  Make: Tekno Medical, Germany  M/s Cardiotrace Electronics  Qty. 01 No. | 31-13/Stores/LHMC/O&G/2016-17/54 dt. 18-04-2017 | 12-03-2018 | Rs. 1351655.24 + 5% VAT (67582.76) = Rs. 1419238.00 | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC  1st 6745  2nd 6745  3rd 6745  4th 6745  5th 6745 |
|  | Obst. & Gynae | Colposcope  Make: M/s Leisegang Feinumchanik, Germany  Supplier: M/s Vishal Surgical Equipment Co.  Qty. 01 No. | 4-26/Store/ME/AT/12/2012-2013/162 Dated 29-05-2012 | 06-03-2017 | Euro 13670.00 + Agency Commission + TAX | Warranty: 3 years from the date of installation + 7 years CMC | 5 years CMC  1st Free  2nd Free  3rd 2000  4th 2250  5th 2500  6th 2750  7th 3000 |
|  | Obst. & Gynae | Colour Doppler USG Machine  Model: Alpha 6  Make: Hitachi Aloka Medical Ltd.  M/s Trivitron Healthcare Pvt. Ltd.  Qty. 01 No. | 32-84/Stores/LHMC/O&G/2017-18/403 Dated 22/02/2018 | 03-05-2018 | Rs. 1755000.00 + TAX | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC  1st 85000  2nd 89250  3rd 93713  4th 98398  5th 103318 |
|  | Obst. & Gynae | Digital Video Colposcope  Model: COLpro222DX-OZ view  Make: Promis Medical (Australia) Pvt. Ltd.  Supplier: M/s Fortune Meditech (India) Pvt. Ltd.  Qty: 01 No. | 32-110/stores/LHMC/O&G/2017-18/1331 dated 30-01-2018 | -- | Rs. 332000.00 + GST | Warranty: 5 years from the date of installation + 5 years AMC | 5 years AMC  1st 500  2nd 500  3rd 500  4th 500  5th 500 |
|  | Obst. & Gynae | Cardiotocogram (CTG) Machine  Supplier: M/s Hamara Enterprises  Qty: 02 Nos. | 31-57/Stores/LHMC/SQ/O&G/2017/2/1273 dated 15-01-2018 | 07-05-2018 | Rs. 110000.00 + GST (each) | Warranty: 2 years from the date of installation + 4 yeas AMC | 4 years AMC  1st 2%  2nd 2%  3rd 2%  4th 2% |
|  | Obst. & Gynae | Cardiotocogram (CTG) Machine  Make: BPL 9852  Supplier: M/s Hamara Enterprises  Qty: 02 Nos. | 32-28/Stores/LHMC/SQ/O&G/2017/1021 dated 15-11-2017 | 07-05-2018 | Rs. 110000.00 + GST (each) | Warranty: 2 years from the date of installation + 4 yeas AMC | 4 years AMC  1st 2%  2nd 2%  3rd 2%  4th 2% |
|  | Obst. & Gynae | High Definition Endoscopic Camera with LED Light  Make: Tekno Medical Germany  Model: TK 754-2000HD & TK 754-3910  Supplier: M/s Cardiotrace Electronics  Qty: 01 No. | 32-81/Stores/LHMC/O&G/2017-18/242 dated 30-05-2018 | 08-08-2018 | Rs. 1941920.00 + GST | Warranty: 3 years from the date of installation + 5 years AMC | 5 years AMC  1st 15419  2nd 15419  3rd 15419  4th 15419  5th 15419 |
|  | Medicine | T.M.T Machine | 2001 | 2001 | Rs.  3.70.000/- | -- | -- |
|  | Medicine | Vital sign Monitor | 2005 | 2005 | Rs.  3.70.000/- | -- | -- |
|  | Medicine | Gastrointestinal Fiberscope | 1998 | 1998 | Rs.  9.09.000/- | -- | -- |
|  | Medicine | Fibreoptic Colonoscope | 2003 | 2003 | 9.95.000/- | -- | -- |
|  | Medicine | Defebrillator with ECG monitor (2) | -- | 9.9.2009 | 6,61000.00 | -- | -- |
|  | Medicine | Central monitoring system (1+5) | -- | 25.2.2010 | 10 lakh | -- | -- |
|  | Medicine | Portable Ventilators  Model: Elises-150  Make: Resmed  Supplier: M/s Instromedix India Pvt. Ltd.  Qty: | Received from HSCC in 2009 as Aid | 2009 | Rs. 395641.00 | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC  (Per Unit)  1st 10000  2nd 10000  3rd 10000  4th 10000  5th 10000 |
|  | Medicine | Gestrofibrescope | 20.11.2009 | 13.1.2010 | 7 lakh | -- | -- |
|  | Medicine | Defibrillator with ECG machine | 27.5.2009 | 16.7.2010 | 638325.00 | -- | -- |
|  | Medicine | Bed Side Monitor( 2nos) | 23.2.2010 | -- | 140048.00 | -- | -- |
|  | Medicine | Gastro Fiberscope | 13.1.2010 | -- | 696800.00 | -- | -- |
|  | Medicine | Bed side Monitor with central monitoring system (6 Nos.) | 5.12.2009 | -- | 181343.00 | -- | -- |
|  | Medicine | Ventilator High End ICU with Accessories Model: Puritan Bennett PB840 ventilator Make: Covidien  Qty. 2 Nos. | 852  Dt.  18.12.2012 | 5.2.2014 | USD 38400.00  Rs.2520000.00 | Warranty: 2 years from the date of installation + 5 years CMC | -- |
|  | Medicine | Sonosite M-TURBO Hand Carried Color Doppler | 20/03/2014 | 06/08/2014 | USD 26793 | Warranty: 5 years from the date of installation + 5 years CMC Free of Cost | 5 years CMC Free of Cost |
|  | Medicine | Ventilators High End ICU  Qty : 4 Nos | Stores/LHMC/13-14/ME/Hosp/Sch 4/627 Dated 12/09/2014 | 24/12/2014 | Rs 11,97,000.00 Per Unit + Air Compressor (Rs. 122000  + VAT | Warranty: 5 years from the date of installation + 5 years CMC | -- |
|  | Medicine | Syringe Infusion Pump  Qty; 09 Nos. | Stores/LHMC/13-14/ME/Hosp/Sch 17/RO/855 Dated 19/11/2014 | 17/01/2015 | Rs. 25900.00 + VAT | Warranty: 2 years from the date of installation + 5 years CMC | -- |
|  | Medicine | Suction Machine Qty; 03 Nos. | Stores/LHMC/13-14/ME/Hosp/Sch 14/RO/931 Dated 11/12/2014 | 04/02/2015 | Rs. 160000.00 + VAT for Each | Warranty: 2 years from the date of installation + 5 years CMC | -- |
|  | Medicine | Mediana D500 Defibrillator with Monitor  Qty: 04 (Out of 17) | Stores/LHMC/13-14/ME/Hosp/Sch1/1251 dt : 26/03/2015 | Anaesthesia  09/05/2015  Gynae  09/06/2015  Medicine  05/05/2015  Psychiatry  01/05/2015 | Rs. 458600.00 + VAT (Per Unit) | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC  1st 10200  2nd 10200  3rd 10200  4th 10200  5th 10200 |
|  | Medicine | Syringe Infusion Pumps  Model: Infutek 405  Make: Simtek  Qty: 40 | 32-26/Stores/LHMC/2016-17/1137  dt : 04/01/2017  Through DGS&D | 21/03/2017 | Rs. 24489.00 + Tax (Per Unit) | Warranty: 3 years from the date of installation + 5 years CMC (If Required) | 5 years CMC  1st Not Specified  2nd Not Specified  3rd Not Specified  4th Not Specified  5th Not Specified |
|  | Medicine | Transport Ventilator  Model: Elisee 150  Mfg: M/s Resmed  Supplier: M/s D. V. Enterprises  Qty: 04 Nos. | No. 32-11/Stores/LHMC/Medicine/2016-17/655 & 657 Dated : 12/09/2017 | 29/11/2017 | Rs. 579900.00 + Tax  (Per Unit) | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC  (Per Unit)  1st 10500  2nd 10500  3rd 10500  4th 10500  5th 10500 |
|  | Medicine | Video Bronchoscope with Accessories  Model: EB-1975K  Make: Pentsx  Supplier: M/s Hospimax Healthcare Pvt. Ltd.  Qty: 01 no. | 32-12/Stores/LHMC/2016-17/525 dated 12/08/2017 | 13/03/2018 | Rs. 2181059.00 including Tax | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC  (Per Unit)  1st 43050  2nd 50225  3rd 50225  4th 57400  5th 64575 |
|  | Microbiology | Incubator cum shaker  01 | 5.5.2009 | 1.2.2010 | Euro 5595 | -- | -- |
|  | Microbiology | Water purification system model RO-DI ultra 50  Qty: 01 Nos. | Contract no. KSCH/ purchase/8/08-09/3836 dated 23.10.08 | 13.1.2009 | Rs 393750/- | CMC is renewed yearly | -- |
|  | Microbiology | Clinical centrifuge machine (Thermocycler)  Model no. MyGene 96  Qty: 01 Nos. | 4-26/microbiology/AT/2009-2010/75 dated 11.5.2009 | 3.12.2009 | Rs 327600/- | --- | -- |
|  | Microbiology | ELISA Reader and ELISA washer. Vinay brothers  Qty: 01 Nos. | LH/423/09/PSAVIII/2094 dated 11.8.11 | 27.4.12 | Rs 599400/- per unit | Warranty: 3 years from the date of installation+ 5  years free AMC/CMC | -- |
|  | Microbiology | Horizontal Square type steam sterilizer pressure type size 1200x600x600(mm) | 559  Dt.  4.10-.2012 | 8.4.2013 | 469117.00 | Guarantee/Warranty: 2 years from the date of receipt of stores by the consignee as per DGS&D R/C | -- |
|  | Microbiology | Biosafety Cabinet Type-II Model: AC2-3E 1 = 2 Nos. | 1041  dt.  23.12.2013 | 10.6.2014 | US$ 12122.00  Rs.816567.00 | Warranty: 3 years from the date of installation + 5 years AMC | -- |
|  | Microbiology | Deep Freezer, Model: DF- 8517S,Capacity:484 Ltr. Temperature range: -86°C  Qty: 01 Nos.(Out of 02 units) | Stores/LHMC/13-14/College/Deep Freezer/1040  Dt. 23.12.2013 | Anatomy  09/09/2014  Microbiology  10/06/2014 | US$ 6800.00  Per unit | Warranty: 3 years from the date of installation + 5 years AMC | AMC  1st 12000  2nd 13000  3rd 14000  4th 15000  5th 16000 |
|  | Microbiology | Non-Refrigerated Centrifuge Machine Model: Z 306  Qty. 3 Nos. | 1106  Dt.  3.1.2014 | 28.3.2014 | Euro 8435.00  Rs.611348.00 | Warranty: 2 years from the date of installation + 5 years free AMC | -- |
|  | Microbiology | Canon/IR/ADV 4045  Qty: 01 Nos. | F.No.4-26/store/2014-15/347  21.7.14 | 28.7.14 | Rs 290928/- | --- | -- |
|  | Microbiology | BOD Incubator, Model: PLT 141  Qty: 01 Nos. | 31-1/Micro/LP/Stores/2016/754  Dt. 10/10/2016 | 10/11/2016 | 74800.00 + 12.5 % VAT Extra | Warranty: 2 years from the date of installation + 5 years CMC | CMC  1st 2320  2nd 2900  3rd 3480  4th 4640  5th 5800 |
|  | Microbiology | Fluorescent Microscope Model: Ti-S with Digital Imaging System  Make: Nikon  Supl: M/s Towa Optics India Pvt. Ltd  Qty: 01 Nos. | 32-43/Stores/HLL/Micro./2016-17/1048  Dt. 27/12/2016 | 06/02/2017 | 1217360.00 + 12.5 % VAT Extra | Warranty: 2 years from the date of installation + 5 years CMC | CMC  1st 20000  2nd 20000  3rd 20000  4th 20000  5th 20000  + Service Tax |
|  | Microbiology | Gradient PCR Model: Master Cycler Nexus Gradient Part No. 6331000.017  Make: Eppendorf  Qty: 01 Nos.  Supplier: Eppendorf India Pvt. Ltd | 32-42/Stores/HLL/Micro./2016-17/1050  Dt. 27/12/2016 | 25/03/2017 | 550000.00 + VAT Extra | Warranty: 2 years from the date of installation + 5 years CMC | CMC  1st 20000  2nd 22000  3rd 24000  4th 25000  5th 25000  + Service Tax |
|  | Microbiology | Real Time PCR Model: CFX 96 Touch Real Time PCR Detection System  Mfg: Biorad Laboratories Inc.  Qty: 01 Nos.  Supplier: M/s Vitan Medical System Pvt. Ltd | 32-52/Stores/HLL/Micro./ME/2016-17/1232  Dt. 08/02/2017 | 25/04/2017 | 2650000.00 + VAT Extra | Warranty: 2 years from the date of installation + 5 years CMC | CMC  1st 120000  2nd 120000  3rd 120000  4th 120000  5th 120000  + Service Tax |
|  | Microbiology | Horizontal Rectangular /Square Type Steam Sterilizer Pressure Type size 1200x600x600 (mm)  Model: PRECISION/ HRS-224-336  Supplier: M/s Precision Electronics Instruments & Components  Qty: 01 No. | 32-29/Stores/Micro/Autoclave/RC/2016-17/1336  Dt.  03/03/2017 | 02/03/2017 | Rs. 503750.00 | Warranty: 2 years from the date of installation (as per DGS&D R/C) + AMC Later on | -- |
|  | Microbiology | Horizontal Cylindrical Steam Sterilizer Pressure Type size 400x600 (mm)  Model: PRECISION/ HHP-1624-316  Supplier: M/s Precision Electronics Instruments & Components  Qty: 01 No. | 32-29/Stores/Micro/Autoclave/RC/2016-17/1335  Dt.  03/03/2017 | 02/03/2017 | Rs. 147799.00 | Warranty: 2 years from the date of installation (as per DGS&D R/C) + AMC Later on | -- |
|  | Microbiology | Binopcular Microscope QUASMO Brand  Model: PZRM-26  Supplier: M/s Quality Scientific & Mechanical Woprks  Qty: 02 Nos. | 32-51/Stores/HLL/Micro/ME/2016-17/1231 Dated 08/02/2017 | 03/07/2017 | Rs. 90120.00 + Tax | Warranty: 2 years from the date of acceptance of equipment + 5 years free CMC | CMC  1st Free  2nd Free  3rd Free  4th Free  5th Free |
|  | Microbiology | Refrigerated Laboratory Centrifuge Refrigerated Micro Centrifuge Machine 16000 r.p.m. with accessories  Qty: 01 No.  Supplier: M/s NGB Diagnostics Pvt. Ltd. | 34-29/Stores/SQ/Micro/Project/2018/1588 Dated 28-03-2018 | 01-06-2018 | Rs. 150000.00 + 10000.00 for accessories + Tax | Warranty: 01 year from the date of Installation  AMC: Rs. 5000 per annum immediate after completion of warrantee | -- |
|  | Microbiology | Remi Cooling incubator with voltage stabilizer  Qty: 01 Nos. | GEMC33000-152  Dated 22.3.18 | 26.11.18 | Rs 129564/- | Warranty:  5 years | -- |
|  | Microbiology | Real Time PCR  Make: GTX  Supplier: M/s New Golden Enterprises  Qty: 01 Nos. | 32-183/Stores/LHMC/2017-18/1160  Dated 05/01/2019 | 29/03/2019 | Rs. 18,93,000.00 + Tax Per Unit | Warranty: 5 years from the date of Installation of equipment + 5 years free CMC | CMC  1st Free  2nd Free  3rd Free  4th Free  5th Free |
|  | Microbiology | Laboratory Bacteriological Incubator  Make: Jindal  Model: SMI-125  Supplier: M/s Quality Scientific & Mechanical Woprks  Qty: 02 Nos. | 32-211/Stores/LHMC/Micro/2018-19/1196 Dated 15/01/2019 | 10/05/2019 | Rs. 24000.00 + Tax Per Unit | Warranty: 5 + 5 years CMC | CMC  1st 2000  2nd 2000  3rd 3000  4th 3600  5th 4000 |
|  | Microbiology | VDRL Rotator  Make: Jindal  Model: SMI-209  Supplier: M/s Quality Scientific & Mechanical Woprks  Qty: 01 Nos. | 32-213/Stores/LHMC/Micro/2018-19/1213 Dated 21/01/2019 | 10/05/2019 | Rs. 18000.00 + Tax Per Unit | Warranty: 5 + 5 years CMC | CMC  1st 1000  2nd 1000  3rd 1000  4th 1000  5th 1000 |
|  | Microbiology | Magnetic Stirrer with Hot Plat  Make: Jindal  Model: 173AU  Supplier: M/s Quality Scientific & Mechanical Woprks  Qty: 01 Nos. | 32-230/Stores/LHMC/Micro/2018-19/1199 Dated 21/01/2019 | 15/01/2019 | Rs. 90000.00 + Tax Per Unit | Warranty: 5 + 5 years CMC | CMC  1st 2000  2nd 3000  3rd 5000  4th 5000  5th 5000 |
|  | Microbiology | Automated Microbial Identification & Susceptibility System  Model: Vitek 2 Compact 60  Supplier: M/s Biomerieux India Pvt. Ltd.  Qty: 01 Nos. | 32-227/Stores/LHMC/Micro/2018-19/1336 Dated 23/02/2019 | 26/03/2019 | Rs. 11,06,700.00 + Tax Per Unit | Warranty: 5 + 5 years CMC | CMC  1st 15000  2nd 15000  3rd 15000  4th 15000  5th 15000  6th 15000  7th 15000 |
|  | Microbiology | Automated Walkway Multiparametric Immunoassay System  Model: VIDAS  Supplier: M/s Biomerieux India Pvt. Ltd.  Qty: 01 Nos. | 32-231/Stores/LHMC/Micro/2018-19/1337 Dated 23/02/2019 | 17/05/2019 | Rs. 10,69,500.00 + Tax Per Unit | Warranty: 5 + 5 years CMC | CMC  1st 22000  2nd 22000  3rd 22000  4th 22000  5th 22000 |
|  | Microbiology | Automated Microbial Growth Detection System  Model: BacT/Alert 3D 240  Supplier: M/s Biomerieux India Pvt. Ltd.  Qty: 01 Nos. | 32-229/Stores/LHMC/Micro/2018-19/1338 Dated 23/02/2019 | 18/03/2019 | Rs. 9,39,300.00 + Tax Per Unit | Warranty: 5 + 5 years CMC | CMC  1st 8000  2nd 8000  3rd 8000  4th 8000  5th 8000 |
|  | Microbiology | Analytical Grade De-ionised Water System  Model: Prefil III + Type II Lab RO-DI 25LPH+ Tank 150  Supplier: M/s Rions India Lab Water System Pvt. Ltd.  Qty: 01 Nos.  Total Received 04 No.  Pharmacology: 01  Pathology: 02  Microbiology: 01 | 32-246/Stores/LHMC/2018-19/69  Dated 23/04/2019 | 24/05/2019 | Rs. 3,65,000.00 + Tax Per Unit | Warranty: 5 years from the date of Installation of equipment + 5 years free CMC | CMC  1st 10000  2nd 10000  3rd 10000  4th 10000  5th 10000 |
|  | Microbiology | Gel Doc system with PC  Model no. Gene view 75056  Genetix  Supplier: Premier trading agencies  Qty: 01 Nos. | 32-152/AT/ME/College/Path/Stores/2017/522  Dated 24/8/2018 | 27.3.19 | Rs 898000/- + tax per unit | Warranty: 5 years from the date of Installation of equipment + 5 years free CMC | 5 years free CMC |
|  | Microbiology | BOD Incubator  Make: SM Scientific instruments pvt ltd  Supplier :SM Scientific instruments pvt ltd  Qty: 01 Nos. | 32212/Stores/LH MC/Micro/201 8-19/1326  Dated 22/02/2019 | 13.3.19 | Rs 106200/- | 5 years CMC | CMC  1st 1500  2nd 1800  3rd 2200  4th 2500  5th 3000 |
|  | Microbiology | AFB Stainer  Model RAI Stainer  Make : Biomerieux  Supplier: Biomerieux India Pvt Ltd  Qty: 01 Nos. | 32226/Stores/LH MC/Micro/201 8-19/21 Dated 9/04/2019 | 7.5.19 | Rs 877900/- | Warranty: 5 years from the date of Installation of equipment + 5  years CMC | CMC  1st 24000  2nd 24000  3rd 24000  4th 24000  5th 24000 |
|  | Microbiology | Nano drop spectrophotometer Cat# 840-270600  model ND-ONEC  Thermo/N  Supplier : Vision diagnostic (india) PVT. Ltd  Qty: 01 Nos. | 32234/Stores/LH MC/Micro/201 8-19/20  Dated 8/04/2019 | 8.4.19 | Rs 874500/- | Warranty: 5 years from the date of Installation of equipment + 5 years CMC | CMC  1st 20000  2nd 22000  3rd 24000  4th 26000  5th 28000 |
|  | Microbiology | Laboratory refrigerator model no. 138 LC  Make : Marco scientific  Supplier :Macro scientific works  Qty: 01 Nos. | GEMC-511687769705215 dated 24.6.19 | 26.7.19 | Rs 128600/- each unit | Warranty: 3 years from the date of Installation of equipment | -- |
|  | Microbiology | Microplate Reader Model no. RT-2100C  Make: Rayto  and Microplate washer Model no KWP100  Make: Caretium  Supplier: Matrix healthcare pvt ltd  Qty: 01 Nos.each | FNo.LHMC/Kayak alp/ 2018/SAP013 dated 10.9.18 | 8.12.18 | Rs 249570/- | Warranty: 1 years from the date of Installation of equipment | -- |
|  | Neurology | Digital Video EEG (Long Term Monitoring)  Model: NMX-32  Mfg: M/s Medicaid Systems Supplier: M/s Medtech Engineer  Qty: 01 No. | 32-95/Stores/LHMC/Neuro/2017-18/475 dt : 04/08/2017 | 26/10/2017 | Rs. 175000.00 + Tax Per Unit | Guarantee : Two years | Not Asked For |
|  | Neurology | EMG/NCV Machine  Make: Medicaid Systems  Model: NS4  Supplier: M/s Medtech Engineers  Qty: 01 No. | 32-124/Stores/LHMC/Neuro./2017-18/852 Dated 06/10/2017 | 06/03/2018 | Rs. 207500.00 + Tax | Guarantee: Five years | No CMC |
|  | Nursery | High Vacuum Noiseless Suction Machine (ALSA) Model | ALSA, MODEL # SUPERSUCTION 4/T EXP  Qty: 11 Nos. (Common)  COT: 3  ENT: 5  Nursery: 2  CB-II: 1  Supplier: M/s Manav Electronics | GEMC-511687744964457 dt. 07-03-2019 | 09/03/2019 | Rs. 220500.00 + GST extra (Per unit) | Not Mentioned | No Provision |
|  | Nursing Education Cell | Automated External Defibrillator  Model: ZOLL AED Plus  Supplier: M/s Hoxpimax Healthcare Pvt. Ltd.  Qty: 01 Nos. | 30-159/Stores/LHMC/2018-19/1035 Dated 17-12-2018 | 02-01-2019 | Rs. 2,35,200.00 Including GST Per Unit | Warranty: 5 years from the date of installation | -- |
|  | Ortho | Mobile Image Intensifier C-arm | 4/2/2010 | 07/05/2010 | 76,900 Euro | Under Warrantee for 3 Years CMC 5 Year | -- |
|  | Ortho | Arthro Pump  Qty: 1 no | 1381 dated 20.3.14 | 21.4.14 | 380531.00 | Warranty 3 years AMC 3 Years | -- |
|  | Ortho | Radio Frequency Arthroscopy System  Qty: 1 no. | 278 dated 21/06/2014 | 24/09/2014 | Rs. 602558.00 | Warranty 3 years from the date of installation.+ CMC for next 3 year | -- |
|  | Ortho | Basic Arthroscopy System  Qty: 1 no. | 277 Dated 21/06/2014 | 18/10/2014 | Rs. 3180691.00 | Warranty 5 years from the date of installation. | -- |
|  | Ortho | High End Orthopaedic & Trauma OT Table  Mfg: Eschman Holding Ltd UK  Supplier: M/s Medex India Pvt. Ltd.  Qty: 01 No. | No. 32-297/Stores/LHMC/18-19/1362 Dated 01-03-2019 | 22-04-2019 | Rs. 66,42,000.00 + Tax & Discount @5% | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC  (Per Unit)  1st 200000  2nd 200000  3rd 200000  4th 200000  5th 200000 |
|  | Pathology | Automated Haematology analyser KX-21 , S.r. No. 3457,3458  Make: Sysmex japan  2 Nos. | 14/2/2008 | 22/7/2008 | J. Yen 9,36,000 | AMC  By transasia | 24/06/2019 (AMC applied for approval) |
|  | Pathology | Automatic Cell Counter Three Part KX-21,S.r. No. 6238,6239  Make: Sysmex japan  2 Nos. | 26/8/2010 | 9/9/2010 | J. Yen 9,37,256 | AMC  By transasia | 9/11/2020 |
|  | Pathology | Automatic Cell Counter Three Part KX-21,S.r. No F 9538,9539  Make: Sysmex japan  2 nos | 4/9/2012 | 23/10/2012 | Rs. 46500 | Warranty  By transasia | 24/9/2022 |
|  | Pathology | Haematology Analyser kx-21 Sr. No. B-4751  Make: Sysmex japan  1 | 18/8/2009 | 29/8/2009 | J.Yen. 9,36,000 | AMC  By transasia | 21/07/2022 |
|  | Pathology | 5 part Haematology Analyser  Make: Sysmex japan  1 | 31/2/2009 | Feb. 2010 | Rs. 18,42,500/- | AMC  By transasia | 26/11/2019 |
|  | Pathology | HB Variant II  Make: Biorad  1 | 7/1/2010 | 5/2/2010 | Rs. 24,90,676/- | CMC  By Biorad | 07/01/2020 |
|  | Pathology | ACL 200 Coagulation Analyser is upgraded  by ACL Elite  make: Instrumentation laboratory  2 | 04/02/2014 | 29/4/2014 | Free of cost | Warranty  By  Instrumentation laboratory | 3/2/19 (AMC applied for approval) |
|  | Pathology | Flowcytometer Make: Beckman Coulter  1 | 15/11/2011 | 12/3/2012 | US $ 1,10,000 | Warranty by  Beckman Coulter | 13/03/2022 |
|  | Pathology | Penta Head Microscope with Digital Camera Model 80i  Make: Nikon Japan  2 Nos | 1/6/2009 | 21/7/2009 | J. Yen 1,25,1466 + Rs.55000/- | AMC  By  Toaoptics | 21/7/19  (AMC applied for approval) |
|  | Pathology | Nikon Penta Head (5) microscope Model 80i, antifugal type with digital camera  Make: Nikon Japan  1 | 12/2/2010 | 12/8/2010 | J. Yen 12,01,496 + Rs.55,000/- | AMC  By  Toaoptics | 09/12/2020 |
|  | Pathology | Nikon Trinocular  Microscope Model 50i with Digital Camera  Make: Nikon Japan  2 | 1/6/2009 | 21/7/2009 | J. Yen 10,81,496 + Rs. 55,000/- | AMC  By  Toaoptics | 21/7/19 |
|  | Pathology | Trinocular Research Microscope Model 50i with Projection + LCD Computer + Printer  Make: Nikon Japan  1 | 18/6/2009 | 30/6/2009 | J. Yen  23,9237 + Rs.1,66,000/- | AMC  By  Toaoptics | 30/6/19 |
|  | Pathology | Advance Fluorescence Microscope Trinocular Model 80i + Digital Camera + Computer + Printer  Make: Nikon Japan  1 | 1/6/2009 | 21/7/2009 | J. Yen 18,74,647 + Rs.55,000/- | AMC  By  Toaoptics | 30/6/19 (AMC applied for approval) |
|  | Pathology | Shandon Automatic Slide Stainer  Make: Thermo Scientific  1 | 5/5/2009 | 5/5/2009 | UK Pond – 6708 | AMC  By Micros  Instruments | 5/2020 |
|  | Pathology | Leica RM 2125 RT Microtome  Make: Leica  1 | 11/7/2004 | 8/9/2004 | 9585 Euro | AMC  By lab India | 5/2020 |
|  | Pathology | Leica RM 2255 Microtome  Make: Leica  1 | 11/7/2004 | 8/9/2004 | 9585 Euro |  | 5/2020 |
|  | Pathology | Shandon Semi Automatic  Cryostat ( Thermo Electron )  Make: Thermo Scientific  1 | 10/6/2008 | 17/6/2008 | UK Pond 6,357 | AMC  By Micros Instruments | -- |
|  | Pathology | Shandon Cytospin -4  Make: Thermo Scientific  1 | 31/12/2005 | 8/6/2006 | 3750 UK Pond | AMC  By Micros Instruments | -- |
|  | Pathology | Elisa reader with washer biorad Model 680  Make: Biorad laboratory  1 | 30/8/11 | 24/2/12 | Rs. 5,99,400 | AMC  ByBiorad laboratory | 23/2/20 |
|  | Pathology | ELISA Washer  Make: Biorad laboratory  1 | 11/8/2011 | 24/2/2012 | Rs. 2,99,700 | Warranty  ByBiorad laboratory | 24/2/015 |
|  | Pathology | Microplate shaker Make: N.BIOTEK Korea  1 | 6/12/12 | 5/1/013 | Rs. 1,02,637 | Warranty  By Krish Biomedical | 5/1/016 |
|  | Pathology | Pressure cooker for antigen retrival  Make: Bio care medical USA  1 | 2/9/013 | 25/10/13 | Rs. 3,67,500 | Warranty  By Diagnostic biosystem (DBS) | Company asked to provide papers for application of approval |
|  | Pathology | Deep Freezer Make: HAIER  1 | From NACO | 15/2/2011 | From NACO | Warranty | \_\_ |
|  | Pathology | Plasma Freezer ( vertical ) Froster 720  Make: Grabner  1 | 12/2/2008 | 9/6/2009 | Euro – 7,000 | AMC  By A.V.Enterprises | 30/6/19 |
|  | Pathology | Deioniser ( Water Purifier ) RIONS  Make: RIONS India  1 | 15/9/2008 | 1/10/2008 | Rs.3,93,750/- | CMC  By RIONS India | Renewed every year |
|  | Pathology | Helmer Refrigrator Sr. No 970632  Make: Helmer  1 | 12/7/05 | -- | U.S $ 5400 | By span health | -- |
|  | Pathology | Deep Freazer Make:Haier  1 | 2011 | NACO | -- | -- | -- |
|  | Pathology | Reagent Refrigrator Sr. No 1512015 make: terumopenpol  1 | 4/2/16 | -- | Rs. 199150 | AMC by Termopenpol Pvt,. ltd | -- |
|  | Pathology | Automated slide stainer leica  1 | 3/3/2017 | 1/9/2017 | 16005 EURO | Warranty 5 years till 2022 | CMC for 5 years after warranty |
|  | Pathology | Fully Automated Liquid Based Cytology System (Model: BD Prep Stain™ | 52  Dt. 22.4.2014 | 11/08/2015 | Rs.3360000.00 | Warranty: 5 years from the date of installation + 5 years AMC charges Rs.40000/- per year | -- |
|  | Pathology | Fully Automated Coagulation analyzer Model : STA Compact ®(230V)  Make: Stago France | 143  dt.  14.5.2012 | 18.7.2012 | Rs.1488000.00 | Warranty: 5 years from the date of installation + 5 years AMC | -- |
|  | Pathology | Automated Thin Microtome Model: CUT 60062  Qty. =2 Nos. | 1320  Dt.  31.3.2012 or 13 | 16.7.2013 | Euro 17026.00  Rs.1093920.00 | Warranty: 3 years from the date of installation + 7 years AMC | -- |
|  | Pathology | Automatic Tissue Processor Model: Microm STP 120 Spin Tissue Processor | 156  Dt.  21.5.2012 | 14/05/2013 | Euro 15113.00  Rs.971010.00 | Warranty: 3 years from the date of installation + 7 years AMC | -- |
|  | Pathology | Tissue Embedding Centre (Tissue Embedding System TES 99), Make: Medilite GmBH Germany  Qty: 01 | Stores/ME/Pathology/2014-15/86 Dated 24/04/2015 | 23/06/2015 | Rs. 949050.00 Each | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC  1st: 80000  2nd 90000  3rd 100000  4th 110000  5th 120000 |
|  | Pathology | Autopsy Saw Medizine 5000 Autopsy Saw, Model: MSYS 5000 Mfg: M/s Medizine Ltd. UK | Stores/ME/Pathology/2014-15/85 Dated 24/04/2015 | 11/08/2015 | Rs. 290000.00 Each | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC  1st: 30000  2nd 40000  3rd 500000  4th 60000  5th 700000 |
|  | Pathology | Cell Counter (3 Part Differential), Model: XP-100  Make-Sysmex Mfg:  Qty: 02 Nos. | 20-07/Stores/LHMC/HLL/Blood Bank/Sch. 56/2015-16/813 Dated 11/12/2015 | 10/02/2016 | Rs. 305828.00 Each + VAT | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC  1st: 12233  2nd 12233  3rd 12233  4th 12233  5th 12233 |
|  | Pathology | Biosealer , Model: XS1010  Make-Terumo Penpol Mfg: Terumo Penpol Pvt Ltd  Qty: 03 Nos. | 20-20/Stores/LHMC/Path/HLL/2016-17/118 Dated 11/05/2016 | 27/06/2016 | Rs. 75560.00 Each + VAT | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC/ Unit  1st 3022  2nd 3022  3rd 3022  4th 3022  5th 3022 |
|  | Pathology | Fully Automated Chemiluminescence Immunoassay Analyser, Model: DXI 600 Access Immunoassay System  Make-Beckman Coulter India Pvt Ltd Mfg: Beckman Coulter India Pvt Ltd  Qty: 01 Nos. | 19-2/Stores/LHMC/Pathology/HLL/2015-16/763 Dated 02/12/2015 | 11/02/2016 | Rs. 850000.00 Each + VAT | Warranty: 2 years from the date of installation + 5 years CMC | 5 years CMC/ Unit  1st 25000  2nd 25000  3rd 25000  4th 25000  5th 25000 |
|  | Pathology | Six Part Hematology Analyser  (XN-1000)  1 | 27/12/16 | 27/12/16 | 1236000 | 5 yr warranty | CMC for 5 year |
|  | Pathology | Hot Air Oven  Make—  Mfg: - Supplier: M/s MAV Surgimed  Qty: 02 Nos. | 32-32/Stores/Path/SQ/2017/20 Dated 11/04/2017 | 08/06/2017 | Rs. 47500.00 Each + VAT | Warranty: 1 years from the date of installation + 0 years CMC | 7 years CMC/ Unit  1st NA  2nd NA  3rd NA  4th NA  5th NA |
|  | Pathology | Electronic Blood Cell Counter with 5 Part Differential, Model: XN B3XN1000  Make-Sysmex Mfg: Sysmex  Supplier: M/s Transasia Bio Medicals Ltd.  Qty: 01 Nos. | 19-10/Stores/HLL/Path/2016-17/1047 Dated 27/12/2016 | 05/05/2017 | Rs. 1200000.00 Each + VAT | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC  1st: 24000  2nd 24000  3rd 24000  4th 24000  5th 24000 |
|  | Pathology | Tissue Processor  Model: VTP-300  Make: Unimeditrek  Supplier: M/s Unimeditrek Pvt. Ltd.  Qty: 01 No. | No. 32-162/Stores/LHMC/Path/2017-18/277 Dated 14-06-2018 | 30-07-2018 | Rs. 1325000.00 + GST extra | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC  1st 7000  2nd 7000  3rd 7000  4th 7000  5th 7000 |
|  | Pathology | PCR HOOD  Supplier: M/s Premier Trading Agencies  Qty: 02 Nos. | 32-131/Stores/LHMC/Path/23017/Sch. No. 16/200 Dated 21-05-2018 | 14-08-2018 | Rs. 246000 + GST extra each | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC  1st Free  2nd Free  3rd Free  4th Free  5th Free |
|  | Pathology | Laboratory Refrigerated Centrifuge  Supplier: M/s Premier Trading Agencies  Qty: 02 Nos. | 32-151/AT/ME/College/Path/Stores/2017/Sch. No. 17/201 Dated 21-05-2018 | 14-08-2018 | Rs. 595600.00 + GST extra each | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC  1st Free  2nd Free  3rd Free  4th Free  5th Free |
|  | Pathology | Dry Heated Bath  Supplier: M/s Premier Trading Agencies  Qty: 01 No. | 32-146/AT/ME/College/Path/Stores/2017/Sch.No. 48/179 Dated 16-05-2018 | 14-08-2018 | Rs. 95200.00 + GST extra | Warranty: 2 years from the date of installation + 3 years CMC | 3 years CMC  1st Free  2nd Free  3rd Free |
|  | Pathology | Thermal Cycler for PCR  Supplier: M/s Chemco  Qty: 01 No. | 32-180/Stores/LHMC/Path/2017-18/77 Dated 24-04-2018 | 14-08-2018 | Rs. 272000.00 + GST extra | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC  1st 4000  2nd 4000  3rd 4500  4th 4500  5th 4500 |
|  | Pathology | Laboratory Centrifuge  Supplier: M/s Vision Diagnostic (I) Pvt. Ltd. | 31-91/Stores/LHMC/Path/SQ/2018/181 Dated 17-05-2018 | 01-08-2018 | Rs. 249995.00 (18% GST Included) | Warranty 01 Year | -- |
|  | Pathology | Autoclave (Portaqble)  Supplier: M/s S.M. Scientific Instruments Pvt. Ltd.  Qty: 01 No. | 32-167/LHMC/AT/ME/College/path/Stores/2017/155 Dated 09-05-2018 | 20-07-2018 | Rs. 64000.00 + GST extra | Warranty 02 years + 5 years CMC | 5 years CMC  1st 2000  2nd 2000  3rd 2000  4th 2000  5th 2000 |
|  | Pathology | Autopsy saw  Supplier: M/s Jolly Technocrats  Qty: 02 Nos. | 32-184/Stores/LHMC/2017-18/498 Dated 27-07-2018 | 26-09-2018 | Rs. 87500 + GST extra | Warranty 05 years + 5 years CMC | 5 years CMC  1st 2500  2nd 2500  3rd 2500  4th 2500  5th 2500 |
|  | Pathology | Tissue Embedding Station  Model: TES 500  Make: Unimeditrek  Supplier: M/s M/s Unimeditrek Pvt. Ltd.  Qty: 01 Nos.  (Pathology, Anatomy)) | 32-183/Stores/LHMC/2017-18/720 Dated 28-09-2018 | 11-10-2018 | Rs. 5.75.000 + GST extra Per Unit | Warranty 05 years + 5 years CMC | 5 years CMC  1st 5000  2nd 5000  3rd 5000  4th 5000  5th 5000 |
|  | Pathology | Nanodrop UV Spectrophotometer  Model: ND 2000 with Laptop  Make: Thermo Fischer Scientific  Supplier: M/s Vision Diagnostics India Pvt. Ltd.  Qty: 01 Nos. | 32-199/Stores/LHMC/Path/2017-18/1288 Dated 12-02-2019 | 20-03-2019 | Rs. 7.00.000 + GST extra Per Unit | Warranty 05 years + 5 years CMC | 5 years CMC  1st 20000  2nd 22000  3rd 24000  4th 26000  5th 28000 |
|  | Pathology | Gel Documentation System with PC  Make: GTX  Supplier: M/s Primier Trading Agency  Qty: 01 Nos. | 32-152/AT/ME/College/Path/Stores/2017/Sch. No. 19/902 Dated 03/11/2018 | 28/03/2019 | Rs. 8,98,000.00 + Tax Per Unit | Warranty: 5 years from the date of Installation of equipment + 5 years free CMC | CMC  1st Free  2nd Free  3rd Free  4th Free  5th Free |
|  | Pathology | Vortex Mixture  Model: SMI-187  Make: Jindal  Supplier: M/s S. M. Scientific Pvt. Ltd.  Qty: 01 No. | 32-253/AT/ME/College/Biochemistry/Stores/2017/1198  Dated : 15/01/2019 | 28/03/2019 | 1,60,000.00 Each + Tax | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC/Unit  1st 3000  2nd 3750  3rd 4500  4th 5400  5th 6000 |
|  | Pathology | Hot Air Oven  Model: SMI-118  Make: Jindal  Supplier: M/s S. M. Scientific Pvt. Ltd.  Qty: 05 No. | 32-209/Stores/LHMC/Path/2018-19/1280  Dated : 08/02/2019 | 28/03/2019 | 65,000.00 Each + Tax | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC/Unit  1st 1000  2nd 1000  3rd 1000  4th 1000  5th 1500 |
|  | Pathology | Real Time PCR  Make: GTX  Supplier: M/s New Golden Enterprises  Qty: 01 Nos. | 32-183/Stores/LHMC/2017-18/1160  Dated 05/01/2019 | 22/03/2019 | Rs. 18,93,000.00 + Tax Per Unit | Warranty: 5 years from the date of Installation of equipment + 5 years free CMC | CMC  1st Free  2nd Free  3rd Free  4th Free  5th Free |
|  | Pathology | Lab Refrigerator  Model: HLR125  Mfg: Helmer  Supplier: M/s Span Healthcare Pvt. Ltd.  Qty: 01 No. | 32-402/Stores/LHMC/Path/2018-19/1422  Dated : 14/03/2019 | 15/04/2019 | 2,49,000.00 Inclusive Tax | Warranty: 2 years from the date of installation | 5 years AMC/Unit  1st 2.5%  2nd 2.5%  3rd 2.5%  4th 2.5%  5th 2.5% |
|  | Pathology | Automated Semen Analyser with All Standard Accessories  Model: SQA- Vision  Make: M/s Medical Electronic System (India) Pvt. Ltd.  Supplier: M/s H. D. Global Biosciences  Qty: 01 No. | Stores/LHMC/Prop/Path/2018-19/75  Dated : 23/04/2019 | 02/05/2019 | 22,75,000.00 + Tax | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC/Unit  1st 204750  2nd 227500  3rd 250250  4th 273000  5th 295750 |
|  | Pathology | CO2 Incubator  Model: SMI-132  Make: Jindal  Supplier: M/s S. M. Scientific Pvt. Ltd.  Qty: 01 No. | 32-170/Stores/LHMC/Path/2017-18/1278  Dated : 07/02/2019 | 07/05/2019 | 3,90,000.00 Each + Tax | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC/Unit  1st 5000  2nd 5000  3rd 5000  4th 5000  5th 5000 |
|  | Pathology | Slide Drying Hotplate  Model: SMI-182  Make: Jindal  Supplier: M/s S. M. Scientific Pvt. Ltd.  Qty: 02 No. | 32-169/Stores/LHMC/Path/2017-18/1197  Dated : 15/01/2019 | 15/01/2019 | 12,500.00 Each + Tax | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC/Unit  1st 500  2nd 500  3rd 500  4th 500  5th 500 |
|  | Pathology | Pharmaceutical/Laboratory Refrigerator (400 Ltr) (KRISH BIOMEDICALS) Model KBS 400  Qty: 02 Nos.  M/s Krish Biomedicals | GEMC-511687707348473 dt. 04-05-2019 | -- | Rs. 138500.00  Each | Warranty: 3 years  Warranty on Compressor 5 years | No Provision |
|  | Pathology | Horizontal Gel Electrophoresis with Power Pack  Supplier: M/s Genetics Biotech Asia Pvt. Ltd.  Qty: 01 No. | 32-149/AT/ME/College/Path/Stores/2017/1162  Dated : 05/01/2019 | 02/05/2019 | 1,97,000.00 Each + Tax | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC/Unit  1st Free of Cost  2nd Free of Cost  3rd Free of Cost  4th Free of Cost  5th Free of Cost |
|  | Pathology | Analytical Grade De-ionised Water System  Model: Prefil III + Type II Lab RO-DI 25LPH+ Tank 150  Supplier: M/s Rions India Lab Water System Pvt. Ltd.  Qty: 02 Nos.  Total Received 04 No.  Pharmacology: 01  Pathology: 02  Microbiology: 01 | 32-246/Stores/LHMC/2018-19/69  Dated 23/04/2019 | 13/05/2019 | Rs. 3,65,000.00 + Tax Per Unit | Warranty: 5 years from the date of Installation of equipment + 5 years free CMC | CMC  1st 10000  2nd 10000  3rd 10000  4th 10000  5th 10000 |
|  | Pharmacology | High Speed Bench Top Centrifuge | June 2005 | Aug 2005 | 4.20 lakh | -- | -- |
|  | Pharmacology | Ultra Micro Balance C-35 | June 1999 | Aug 1999 | 4.75 lakh | -- | -- |
|  | Pharmacology | Real Time PCR  Make: GTX  Supplier: M/s New Golden Enterprises  Qty: 01 Nos. | 32-183/Stores/LHMC/2017-18/1160  Dated 05/01/2019 | 26/03/2019 | Rs. 18,93,000.00 + Tax Per Unit | Warranty: 5 years from the date of Installation of equipment + 5 years free CMC | CMC  1st Free  2nd Free  3rd Free  4th Free  5th Free |
|  | Pharmacology | Analytical Grade De-ionised Water System  Model: Prefil III + Type II Lab RO-DI 25LPH+ Tank 150  Supplier: M/s Rions India Lab Water System Pvt. Ltd.  Qty: 01 Nos.  Total Received 04 No.  Pharmacology: 01  Pathology: 02  Microbiology: 01 | 32-246/Stores/LHMC/2018-19/69  Dated 23/04/2019 | 09/07/2019 | Rs. 3,65,000.00 + Tax Per Unit | Warranty: 5 years from the date of Installation of equipment + 5 years free CMC | CMC  1st 10000  2nd 10000  3rd 10000  4th 10000  5th 10000 |
|  | Physiology | Exercise Physiology System (Power Cube Ergo Cardio Pulmonary System)  01 No.  M/s Ganshorn Medizin Electronic GmbH | SO No. 70  Dated: 08/05/2009 | 05/08/2010 | Euros 26290 (FOB) | 3 Years Warrantee & 5 Years AMC | 5 Years AMC  1ST 34090  2ND 37499  3RD 41249  4TH 45374  5TH 49911  6TH 54902  7TH 60392 |
|  | Physiology | PC Based EMG/EP system with Accessories  Qty: 01 No | 602  Dt.  2.9.2013 | 15/10/2014 | Euro 18320.00  Rs.1304454.00 | Warranty: 5 years from the date of installation + 5 years AMC | -- |
|  | Physiology | ECG Machine 12 Channel  Qty: 04 No | 01/12/2017 | 04/01/2018 | Rs. 1,20,300.00 Per Unit |  |  |
|  | Community Medicine | Pulmonary Function Test Machine (Spirometer)  02 Nos | 04/12/2018 | 05/12/2018 | Rs. 68500.00 + GST extra (Per unit) | 1 Year Warrantee | -- |
|  | Psychiatry | Boyle’s Apparatus  Qty: 1 Nos. | 2007 | 2007 | Rs.  2.65.000/- | -- | -- |
|  | Psychiatry | 32 Channel Digital Video EEG system  Qty: 1 Nos. |  | 18.11.2009 | 1029000.00 | -- | -- |
|  | Psychiatry | Mediana D500 Defibrillator with Monitor  Qty: 01 (Out of 17) | Stores/LHMC/13-14/ME/Hosp/Sch1/1253 dt : 26/03/2015 | Anaesthesia  09/05/2015  Gynae  09/06/2015  Medicine  05/05/2015  Psychiatry  01/05/2015 | Rs. 458600.00 + VAT (Per Unit) | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC  1st 10200  2nd 10200  3rd 10200  4th 10200  5th 10200 |
|  | Psychiatry | Electro Convulsive Therapy Machine (ECT Machine)  Qty: 01  Supplier: M/s Medtech Engneers | 31-53/Stores/SQ/ECT Machine/ Psychiatry/2017/1267 Dated: 15/01/2018 | -- | Rs. 82000.00 + Tax | Guarantee: 01 Year | Not Asked |
|  | Radio-Diagnosis | X-RAY machine  Wipro GE Dx 525=1 | 04.02.93 | 12.09.94 | Rs.6,55,453/- | -- | AMC for Rs 69405/-  + GST  01/04/18 to 31/3/19 |
|  | Radio-Diagnosis | X-RAY machine  Wipro GE Dx- 525 =1 | 17.03.99 | 26.11.99 | Rs.6,15,000/- | -- | AMC  Rs- 59,763/- +taxes  01.08.18 to 31.07.19 |
|  | Radio-Diagnosis | X-RAY machine  Dx 525 with THX Tube=1 | 07.08.00 | 20.12.00 | Rs.5,10,000/- | -- | AMC  Rs 65,557/-+GST  01.01.19 to 31.12.19 |
|  | Radio-Diagnosis | Brilliance 40 C.T. Scan  Qty: 01 | 07/11/2006 | 20/3/08 | USD883495 + 14,70,000.00 | -- | -- |
|  | Radio-Diagnosis | Colour Doppler Toshiba Nemieo XG=1  Qty: 01 | 09.03.09 | 27.07.09 | Rs.18,57,903 |  |  |
|  | Radio-Diagnosis | High End Colour Doppler System Model Philips IU 22  Qty: 01 | 08/09/2012 | 30/04/2012 | USD 78080 | -- | Under Warrantee for 2 year 5 year CMC |
|  | Radio-Diagnosis | Mammography Machine | 04/02/2011 | 29/02/2012 | Euro 52700 | -- | -- |
|  | Radio-Diagnosis | Automatic Film Processor Promax  Qty: 01 | 18.09.2012 | 20/11/2012 | 276000.00 | -- | -- |
|  | Radio-Diagnosis | C.R. System with Local Components & Accessories | 16/11/2012 | 26/08/2013 | US $ 46805 + 750000 | -- | Under Warrantee for 2 year 5 year CMC |
|  | Radio-Diagnosis | Portable X-Ray Machine  30 CBM=1 | 05.03.13 | 3.12.13 | Rs.9,84,000/- | -- | CMC RS 49,200/- +GST  30-11-18 to 29-11-19 |
|  | Radio-Diagnosis | Portable X- Ray Machine  Qty: 02 | 08.01.14 | 07.03.14 | Rs 6,34,400/- Per Unit | -- | CMC from 07/03/18 to 06/03/19 RS/-29,975 |
|  | Radio-Diagnosis | Portable X Ray Machine  Scan Ray=1 | 31.12.15 | 07.05.16 | Rs 2,80,000 | Under warranty for 5 years | Under warranty for 5 years from DOI |
|  | Radio-Diagnosis | Whole Body Colour Doppler  model CLEARVUE 350  make PHILIPS  Qty: 03 | 06.02.17 | 23/12/17 | US $ 20,150+ US $500 +8,40,000 | Under warranty for 5 years | 5 years from date of installation |
|  | Radio-Diagnosis | Mobile X-Ray (High Frequency)  Model: SCANMOBILE  M/s Scanray Technologies Pvt. Ltd.  Qty: 01 No. | 20-40/Stores/LHMC/Radio/HLL/2015-16/1113  Dated : 21/03/2016 | 07/06/2016 | 265403.00 Each + VAT | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC/Unit  1st 16800  2nd 19600  3rd 22400  4th 25200  5th 25200 |
|  | Radio-Diagnosis | Automatic Film Processor Model: 2010 Optimax  Make: Protec HmbH & Co. KG  M/s MEX INDIA  Qty: 01 No. | 32-122/Stores/LHMC/Radio/ 2017-18/969  Dated : 31/10/2017 | 10/11/2017 | 540000.00 Each + VAT | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC/Unit  1st 27000  2nd 27000  3rd 27000  4th 27000  5th 27000 |
|  | Radio-Diagnosis | NIBP Machine Model BP868F Make: AP Mall Co. Ltd.  Korea  M/s Devyog Impex Pvt. Ltd.  Qty : 01 No. | 32-38/Stores/LHMC/Radio/2017-18/1028  dt : 16/11/2017 | 05/12/2017 | Rs. 1,70,000.00 + VAT  (Per Unit) | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC  1st 4000  2nd 250  3rd 250  4th 250  5th 250 |
|  | Radio-Diagnosis | 800mA Digital X-Ray Unit with Single Detector (Floor Mounted) Model DX-D 300 System  Make: Agfa Healthcare N. V. Mortsel Belgium  M/s Agfa Healthcare India Pvt. Ltd.  Qty : 01 No. | 32-244/Stores/LHMC/Radio/2018-19/651  dt : 10/04/2018 | 20/03/2019 | Rs. 82,32,000.00 + Including Tax  & Civil+ Electrical Work+ Furniture+ Miscellaneous Costing Extra Around Rs. 34,93,213.00 | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC  1st 400000  2nd 400000  3rd 400000  4th 400000  5th 400000 |
|  | Radio-Diagnosis | 3 Tesla MRI Model DISCOVERY MR750W with GEM SUITE3.0 TESLA MRI SCANNER  Make: M/s Wipro GE Healthcare Pvt. Ltd.  Supplier: M/s Wipro GE Healthcare Pvt. Ltd.  Qty : 01 No. Along with Complete Set of Local Supply + Diesel Generator 250 KVA + Turnkey | 32-35/Stores/LHMC/2016-17/658  dt : 12/09/2017 | 20/03/2019 | CIP Price USD 1565300  Complete Set of Local Supply  Rs. 1,26,84,100.00  Diesel Generator 250 KVA  Rs. 19,00,000.00  Turnkey  Rs. 30,50,000.00 | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC  1st 4200000  2nd 4400000  3rd 4600000  4th 5200000  5th 6400000 |
|  | Surgery | Digital three chip camera  Company- Karl Storz, Dealer – Vishal Surgical Equipment Co.  1 | 23/07/2007 | 23/07/2007 | Rs 1373000 | -- | -- |
|  | Surgery | Urological Endoscopy for upper tract calculusplit system for pneumatic lithrotripsy power supply  Dealer- International surgicare systems  Company- Karl Storz  Supply Order No- 26/Prop/s/2011-2012/136  1 | 6/8/2011 | 6/8/2011 | Rs 1500000 | -- | -- |
|  | Surgery | High definition lap camera  Company- Karl Storz, Dealer – Vishal Surgical Equipment Co.  Supply Order No- 26/Prop/S/2009-2010  1 | 30/10/2009 | 30/10/2009 | Rs 2475000 | -- | -- |
|  | Surgery | High resolution spatiotemporal manometery system- esophageal, anorectum  Company- Elbyn Medical  Dealer- Ready stock  1 | 2009 | 2009 | Rs 900000 | -- | -- |
|  | Surgery | Urodynamic equipment-mictumitery, cystometery,  Company- Elbyn Medical  Dealer- Ready stock  1 | 2009 | 2009 | Rs 850000 | -- | -- |
|  | Surgery | Urodynamic equipment- UP pro flowmetery  Company- Elbyn Medical  Dealer- Ready stock  1 | 2010 | 2010 | Rs 750000 | -- | -- |
|  | Surgery | Esophageal pH manOMetery  Company- Elbyn Medical  Dealer- Ready stock  1 | 2010 | 2010 | Rs 1300000 | -- | -- |
|  | Surgery | Esophageal pH and impedance manometery  Company- Elbyn Medical  Dealer- Ready stock  1 | 2011 | 2011 | Rs 1300000 | -- | -- |
|  | Surgery | Console Lymphapress with Upper Limb & Lower Limb /Sequential Pneumatic with accessories  1 No | 29.3.2011 | -- | Rs. 265000.00 | -- | -- |
|  | Surgery | Multi parameter vital sign monitor- Beneview T8  Qty: 5 | 1247 dated 22.3.13 | 25.11.13 | USS 6227.54 | Warranty 3 years from the date of installation. | AMC 7 years |
|  | Surgery | Defibrillator – LP-20E Basic  Qty: 2 nos | 1248 dated 22.3.13 | 7.12.13 | US$5400.00 | Warranty 3 years from the date of installation. | AMC 7 years |
|  | Surgery | Led Portable OT Light  Qty: 4 nos. | 1379 dated 20.3.14 | 30.4.14 | 140000.00 | Warranty 5 years from the date of installation. | CMC 5 years |
|  | Surgery | Motorised Hospital Bed  Qty: 4 nos. | 1380 dated 20.3.14 | 29.3.14 | 140000.00 | Warranty 5 years from the date of installation. | CMC 5 years |
|  | Surgery | Ultrasonic Cutting and Coagulating Device for open and Laparoscopic Surgery Harmonic scalpel system | 739  Dt.  9.11.2012 | 27.11.2012 | Rs.1441020.00 | Warranty: 3 years from the date of installation + 7 years AMC | -- |
|  | Surgery | Full High Definition Endoscopic Camera Set  Qty: 01 | Stores/LHMC/13-14/Hosp/Sch.6/1267  Dated 03/03/14 | 09/07/14 | Euro 41780  (CIP Value) | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC |
|  | Surgery | Electro Hydraulic Operating Table (Surgery) Model: Multistar-I  Make: Surgident  M/s A. K. Sales Corporation  Qty: 01 No. | 32-21/Stores/LHMC/Surgery /2016-17/Sch. No. 69/1157  Dated : 21/01/2017 | 24/12/2016 | 705133.00 Each + VAT | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC/Unit  1st 35256  2nd 35256  3rd 35256  4th 35256  5th 35256 |
|  | Surgery | Bariatric Operating Table Make – Eschmann Holdings Ltd (UK) Model – T20a+  01 No | 6/07/2017 | 6/07/2017 | GBP 32100 | -- | -- |
|  | Surgery | Operation Light with Camera Model XLED BG  Make : M/s Steris  Corporation, USA  01 No | 24/03/2017 | 24/03/2017 | US $ 21700 | -- | -- |
|  | Surgery | ICU Ventilators Model Newport E360T  Make Covidien  01 No | 31/03/2017 | 31/03/2017 | INR1181250 | -- | -- |
|  | Surgery | Electro Surgical Unit  Make: Gebruder Martin GmbH  Model: Combi Max MEMB3  Qty: 03 No.  Supplier: M/s Vishal Surgical Equipment Company | 32-18 /Stores/LHMC/ Surgery/2016-17/Sch No. 67/1255 Dated : 10/02/2017 | 30/03/2017 | Rs. 372000.00 + VAT | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC  1st 5000  2nd 5500  3rd 6000  4th 6500  5th 7000  The same equipment supplied to ENT has lesser amount of CMC |
|  | Surgery | High Pressure Noiseless Suction Machine  Model: Vaculine Maxi  Make: Bicakcilar  Supplier: M/s Rahul International  Qty: 03 No. | 32-1 /Stores/LHMC/Anaesh/2016-17/58 Dated : 20/04/2017 | 05/05/2017 | Rs. 159000.00 + VAT | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC  1st 4770  2nd 4770  3rd 4770  4th 4770  5th 4770 |
|  | Surgery | Electro Surgical Unit  Model: MEMB3  Make: Gebruder Martin GmbH  Supplier: M/s Vishal Surgical Equipment Company  Qty: 01 No. | 32-18 /Stores/LHMC/Surgery/2016-17/486 Dated : 08/08/2017 | 16/09/2017 | Rs. 372000.00 + Tax | Warranty: 5 years from the date of installation + 5 years CMC | 5 years CMC  1st 5000  2nd 5500  3rd 6000  4th 6500  5th 7000 |
|  | Surgery | Vital Sign Monitor  Model: Monet-512  Make: Vital Sign Medidevices  Supplier: M/s D.V. Enterprises  Qty.: 09 Nos. | No.32-56/Stores/LHMC/2016-17/1325 dated 22-01-2018 | 28/04/2018 | Rs. 229900/- + GST (Each unit) | Warranty 02 Years | 4 years CMC  (Per Unit)  1st 2000  2nd 2000  3rd 2000  4th 2000 |
|  | Surgery | Bedside Monitor Multimodular  Model: HT6  Make: Shenzhen Hwatime Medical Co.  Supplier: M/s D.V. Enterprises  Qty.: 08 Nos. | No.32-269/Stores/LHMC/2018-19/836 dated 23-01-2018 | 23/02/2019 | Rs. 260900/- + GST (Each unit) | Warranty: 5 years from the date of installation + 5 years CMC | 4 years CMC  (Per Unit)  1st 3500  2nd 3500  3rd 3500  4th 3500 |